## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-05-04 14:55

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
578 | 2024-05-04 14:53 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 26421.7992 | 50343.3565 | 5 | 64
579 | 2024-05-04 14:53 | 0.012651 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8959 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.041 | 26486.7719 | 50367.8326 | 5 | 64
580 | 2024-05-04 14:53 | 0.029496 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8648 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.057 | 26507.1082 | 50365.0427 | 5 | 64
581 | 2024-05-04 14:53 | 0.046359 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8861 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.046 | 26503.7336 | 50353.596 | 5 | 64
582 | 2024-05-04 14:53 | 0.062386 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8861 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.046 | 26514.2962 | 50363.1224 | 5 | 64
583 | 2024-05-04 14:53 | 0.07921 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 26480.3085 | 50362.3211 | 5 | 64
584 | 2024-05-04 14:53 | 0.096046 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8823 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.048 | 26506.9741 | 50364.9039 | 5 | 64
585 | 2024-05-04 14:53 | 0.11293 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9017 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.038 | 26483.1143 | 50355.2209 | 5 | 64
586 | 2024-05-04 14:53 | 0.12891 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8842 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.047 | 26463.7195 | 50356.987 | 5 | 64
587 | 2024-05-04 14:53 | 0.14577 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8823 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.048 | 26470.2725 | 50368.6291 | 5 | 64
588 | 2024-05-04 14:53 | 0.16262 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.892 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.043 | 26480.7742 | 50360.6144 | 5 | 64
589 | 2024-05-04 14:53 | 0.1795 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8594 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.049 | 26567.0739 | 50354.7581 | 5 | 64
590 | 2024-05-04 14:53 | 0.19638 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9212 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 26087.1367 | 50360.4005 | 5 | 64
591 | 2024-05-04 14:53 | 0.21236 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 25998.469 | 50365.8248 | 5 | 64
592 | 2024-05-04 14:53 | 0.22919 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9002 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 25959.3089 | 50359.3304 | 5 | 64
593 | 2024-05-04 14:53 | 0.24602 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 25965.9051 | 50360.1719 | 5 | 64
594 | 2024-05-04 14:53 | 0.26288 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9158 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 25950.688 | 50354.2215 | 5 | 64
595 | 2024-05-04 14:53 | 0.27972 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9177 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 25859.8453 | 50355.6993 | 5 | 64
596 | 2024-05-04 14:53 | 0.29571 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9075 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.035 | 25850.2854 | 50351.8416 | 5 | 64
597 | 2024-05-04 14:53 | 0.31255 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.925 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 25827.8646 | 50353.2878 | 5 | 64
598 | 2024-05-04 14:53 | 0.32941 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8769 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.04 | 25841.8149 | 50338.557 | 5 | 64
599 | 2024-05-04 14:53 | 0.34625 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9197 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 25862.2927 | 50349.1768 | 5 | 64
600 | 2024-05-04 14:53 | 0.36229 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 25868.5293 | 50353.4032 | 5 | 64
601 | 2024-05-04 14:53 | 0.37911 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8905 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.033 | 25867.342 | 50361.6284 | 5 | 64
602 | 2024-05-04 14:53 | 0.39596 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9002 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 25850.9904 | 50354.6416 | 5 | 64
603 | 2024-05-04 14:53 | 0.41283 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9017 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.038 | 25849.2573 | 50348.9332 | 5 | 64
604 | 2024-05-04 14:53 | 0.4297 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9041 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 25831.4834 | 50358.8005 | 5 | 64
605 | 2024-05-04 14:53 | 0.4457 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9216 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 25833.6717 | 50347.013 | 5 | 64
606 | 2024-05-04 14:53 | 0.46253 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.91 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 25847.6694 | 50342.188 | 5 | 64
607 | 2024-05-04 14:53 | 0.47939 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 25826.0055 | 50342.6939 | 5 | 64
608 | 2024-05-04 14:53 | 0.49621 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8944 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.031 | 25828.2051 | 50341.9084 | 5 | 64
609 | 2024-05-04 14:53 | 0.51305 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9212 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 25834.8959 | 50355.0538 | 5 | 64
610 | 2024-05-04 14:53 | 0.52906 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.91 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 25834.6904 | 50355.2235 | 5 | 64
611 | 2024-05-04 14:53 | 0.54592 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9177 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 25832.5001 | 50351.3212 | 5 | 64
612 | 2024-05-04 14:53 | 0.56278 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9372 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 25858.0756 | 50352.8099 | 5 | 64
613 | 2024-05-04 14:53 | 0.57964 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 25827.1601 | 50347.1023 | 5 | 64
614 | 2024-05-04 14:53 | 0.59562 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.925 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 25837.9941 | 50341.4387 | 5 | 64
615 | 2024-05-04 14:53 | 0.61246 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9212 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 25832.5072 | 50347.024 | 5 | 64
616 | 2024-05-04 14:53 | 0.62932 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9158 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 25834.7698 | 50339.0444 | 5 | 64
617 | 2024-05-04 14:53 | 0.64615 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9177 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 25826.9146 | 50344.7501 | 5 | 64
618 | 2024-05-04 14:53 | 0.66304 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9236 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 25835.0074 | 50342.9016 | 5 | 64
619 | 2024-05-04 14:54 | 0.67903 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 25843.3211 | 50341.1324 | 5 | 64
620 | 2024-05-04 14:54 | 0.69589 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9041 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 25850.345 | 50345.0767 | 5 | 64
621 | 2024-05-04 14:54 | 0.71273 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.91 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 25858.7083 | 50341.8828 | 5 | 64
622 | 2024-05-04 14:54 | 0.72957 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9275 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 25854.7892 | 50348.2137 | 5 | 64
623 | 2024-05-04 14:54 | 0.74639 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9289 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 25868.0079 | 50344.312 | 5 | 64
624 | 2024-05-04 14:54 | 0.76239 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9197 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 25879.9088 | 50350.8048 | 5 | 64
625 | 2024-05-04 14:54 | 0.77924 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9139 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 25874.6675 | 50349.6414 | 5 | 64
626 | 2024-05-04 14:54 | 0.79608 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9134 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.032 | 25875.5084 | 50341.6429 | 5 | 64
627 | 2024-05-04 14:54 | 0.8129 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9153 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.031 | 25877.7659 | 50345.7251 | 5 | 64
628 | 2024-05-04 14:54 | 0.82971 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9294 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 25880.9379 | 50355.6154 | 5 | 64
629 | 2024-05-04 14:54 | 0.8457 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9197 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 25886.7867 | 50350.2287 | 5 | 64
630 | 2024-05-04 14:54 | 0.86255 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9022 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 25893.913 | 50349.0893 | 5 | 64
631 | 2024-05-04 14:54 | 0.87945 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9017 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.038 | 25873.9019 | 50340.5737 | 5 | 64
632 | 2024-05-04 14:54 | 0.89627 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9426 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 25882.7567 | 50341.0792 | 5 | 64
633 | 2024-05-04 14:54 | 0.91224 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9348 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 25901.3029 | 50349.2854 | 5 | 64
634 | 2024-05-04 14:54 | 0.92908 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9158 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 25892.6297 | 50344.0288 | 5 | 64
635 | 2024-05-04 14:54 | 0.94592 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8944 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.031 | 25904.2788 | 50340.6108 | 5 | 64
636 | 2024-05-04 14:54 | 0.96279 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.91 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 25893.092 | 50348.9156 | 5 | 64
637 | 2024-05-04 14:54 | 0.97963 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 25906.8487 | 50344.1337 | 5 | 64
638 | 2024-05-04 14:54 | 0.99563 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9061 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 25929.2153 | 50344.8762 | 5 | 64
639 | 2024-05-04 14:54 | 1.0125 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9236 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 25916.3093 | 50352.6494 | 5 | 64
640 | 2024-05-04 14:54 | 1.0294 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9236 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 25933.5217 | 50341.5215 | 5 | 64
641 | 2024-05-04 14:54 | 1.0462 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9392 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 25930.8641 | 50343.6384 | 5 | 64
642 | 2024-05-04 14:54 | 1.0631 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 25937.9449 | 50344.9447 | 5 | 64
643 | 2024-05-04 14:54 | 1.0791 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.925 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 25946.5384 | 50350.728 | 5 | 64
644 | 2024-05-04 14:54 | 1.0959 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9114 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.033 | 25945.0206 | 50348.1606 | 5 | 64
645 | 2024-05-04 14:54 | 1.1128 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9075 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.035 | 25965.6725 | 50337.9426 | 5 | 64
646 | 2024-05-04 14:54 | 1.1296 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 25965.3937 | 50336.2347 | 5 | 64
647 | 2024-05-04 14:54 | 1.1456 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9022 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 25965.2795 | 50345.4323 | 5 | 64
648 | 2024-05-04 14:54 | 1.1624 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9212 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 25974.465 | 50341.6843 | 5 | 64
649 | 2024-05-04 14:54 | 1.1793 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9255 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 25975.7975 | 50340.3301 | 5 | 64
650 | 2024-05-04 14:54 | 1.1962 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9061 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 25979.8045 | 50352.5694 | 5 | 64
651 | 2024-05-04 14:54 | 1.213 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9041 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 25972.9144 | 50346.2922 | 5 | 64
652 | 2024-05-04 14:54 | 1.229 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8886 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.034 | 25973.5826 | 50343.5401 | 5 | 64
653 | 2024-05-04 14:54 | 1.2458 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8886 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.034 | 25956.6429 | 50344.9676 | 5 | 64
654 | 2024-05-04 14:54 | 1.2627 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9216 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 25944.3756 | 50330.9497 | 5 | 64
655 | 2024-05-04 14:54 | 1.2795 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9431 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 25963.7192 | 50348.1169 | 5 | 64
656 | 2024-05-04 14:54 | 1.2964 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9353 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 25959.6229 | 50347.8729 | 5 | 64
657 | 2024-05-04 14:54 | 1.3124 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8983 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 25968.4956 | 50345.3242 | 5 | 64
658 | 2024-05-04 14:54 | 1.3292 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8827 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.037 | 25975.7187 | 50340.0741 | 5 | 64
659 | 2024-05-04 14:54 | 1.3461 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9177 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 25984.7277 | 50351.2481 | 5 | 64
660 | 2024-05-04 14:54 | 1.363 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9431 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 25986.3963 | 50338.6735 | 5 | 64
661 | 2024-05-04 14:54 | 1.379 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8963 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 25985.8053 | 50349.8724 | 5 | 64
662 | 2024-05-04 14:54 | 1.3958 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9022 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 25983.7184 | 50340.3734 | 5 | 64
663 | 2024-05-04 14:54 | 1.4126 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9139 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 25980.8065 | 50337.6931 | 5 | 64
664 | 2024-05-04 14:54 | 1.4295 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8769 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.04 | 25982.8466 | 50335.3093 | 5 | 64
665 | 2024-05-04 14:54 | 1.4464 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9372 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 26000.4875 | 50340.5547 | 5 | 64
666 | 2024-05-04 14:54 | 1.4624 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.91 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 25991.934 | 50339.0305 | 5 | 64
667 | 2024-05-04 14:54 | 1.4792 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9061 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 25999.888 | 50342.4441 | 5 | 64
668 | 2024-05-04 14:54 | 1.496 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9333 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 26003.0191 | 50344.7167 | 5 | 64
669 | 2024-05-04 14:54 | 1.5128 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8847 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.036 | 26019.8644 | 50339.7258 | 5 | 64
670 | 2024-05-04 14:54 | 1.5297 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8691 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.044 | 26019.5048 | 50347.4479 | 5 | 64
671 | 2024-05-04 14:54 | 1.5457 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8788 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 26023.1931 | 50345.9802 | 5 | 64
672 | 2024-05-04 14:54 | 1.5625 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.91 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 26025.2776 | 50344.4974 | 5 | 64
673 | 2024-05-04 14:54 | 1.5794 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 26024.6024 | 50344.3503 | 5 | 64
674 | 2024-05-04 14:54 | 1.5962 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 26045.716 | 50342.3986 | 5 | 64
675 | 2024-05-04 14:54 | 1.6131 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9114 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.033 | 26034.6286 | 50334.1339 | 5 | 64
676 | 2024-05-04 14:54 | 1.6291 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 26031.4764 | 50339.7229 | 5 | 64
677 | 2024-05-04 14:54 | 1.6459 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9212 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 26018.8989 | 50342.3516 | 5 | 64
678 | 2024-05-04 14:54 | 1.6627 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 26041.5896 | 50336.9968 | 5 | 64
679 | 2024-05-04 14:55 | 1.6796 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9289 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 26036.1115 | 50345.439 | 5 | 64
680 | 2024-05-04 14:55 | 1.6956 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8861 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.046 | 26056.383 | 50338.1095 | 5 | 64
681 | 2024-05-04 14:55 | 1.7124 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9017 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.038 | 26053.156 | 50331.8921 | 5 | 64
682 | 2024-05-04 14:55 | 1.7293 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9153 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.031 | 26042.5908 | 50339.2694 | 5 | 64
683 | 2024-05-04 14:55 | 1.7462 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9114 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.033 | 26046.9912 | 50338.4615 | 5 | 64
684 | 2024-05-04 14:55 | 1.763 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8764 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.051 | 26049.3576 | 50334.946 | 5 | 64
685 | 2024-05-04 14:55 | 1.779 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9212 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 26046.6597 | 50342.0741 | 5 | 64
686 | 2024-05-04 14:55 | 1.7958 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 26050.3305 | 50343.7425 | 5 | 64
687 | 2024-05-04 14:55 | 1.8127 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8881 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.045 | 26045.4752 | 50332.9718 | 5 | 64
688 | 2024-05-04 14:55 | 1.8295 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8978 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.04 | 26044.1745 | 50339.7231 | 5 | 64
689 | 2024-05-04 14:55 | 1.8463 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 26038.8655 | 50329.9664 | 5 | 64
690 | 2024-05-04 14:55 | 1.8624 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8939 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.042 | 26035.1172 | 50335.1585 | 5 | 64
691 | 2024-05-04 14:55 | 1.8792 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9134 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.032 | 26046.2804 | 50335.8608 | 5 | 64
692 | 2024-05-04 14:55 | 1.896 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9017 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.038 | 26045.8498 | 50337.0471 | 5 | 64
693 | 2024-05-04 14:55 | 1.9129 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8939 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.042 | 26042.5735 | 50327.1501 | 5 | 64
694 | 2024-05-04 14:55 | 1.9297 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 26036.63 | 50345.4652 | 5 | 64
695 | 2024-05-04 14:55 | 1.9457 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9095 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.034 | 26024.7793 | 50339.8212 | 5 | 64
696 | 2024-05-04 14:55 | 1.9626 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9017 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.038 | 25992.7624 | 50339.2331 | 5 | 64
697 | 2024-05-04 14:55 | 1.9794 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 26069.1928 | 50332.1063 | 5 | 64
698 | 2024-05-04 14:55 | 1.9963 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 26076.1421 | 50346.8075 | 5 | 64
699 | 2024-05-04 14:55 | 2.0124 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8881 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.045 | 26084.6605 | 50335.3908 | 5 | 64
700 | 2024-05-04 14:55 | 2.0292 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9134 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.032 | 26083.3525 | 50328.183 | 5 | 64
701 | 2024-05-04 14:55 | 2.0461 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8803 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.049 | 26065.6773 | 50340.3305 | 5 | 64