## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-05-04 15:00

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
702 | 2024-05-04 14:58 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 26520.7721 | 50342.8632 | 5 | 64
703 | 2024-05-04 14:58 | 0.021905 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9933 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.991 | 26487.0046 | 50343.8088 | 5 | 64
704 | 2024-05-04 14:58 | 0.03792 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 26506.1361 | 50347.9073 | 5 | 64
705 | 2024-05-04 14:58 | 0.054771 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.007 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.984 | 25590.8176 | 50349.189 | 5 | 64
706 | 2024-05-04 14:58 | 0.071637 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0599 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.957 | 25547.2633 | 50351.6756 | 5 | 64
707 | 2024-05-04 14:58 | 0.088493 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0364 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.969 | 25566.9132 | 50340.6051 | 5 | 64
708 | 2024-05-04 14:58 | 0.10452 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0384 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.968 | 25632.0969 | 50349.6878 | 5 | 64
709 | 2024-05-04 14:58 | 0.12139 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.056 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.959 | 25679.512 | 50347.7848 | 5 | 64
710 | 2024-05-04 14:58 | 0.13821 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0423 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.966 | 25672.244 | 50347.707 | 5 | 64
711 | 2024-05-04 14:58 | 0.15508 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0541 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 25676.3576 | 50340.7207 | 5 | 64
712 | 2024-05-04 14:58 | 0.17191 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0031 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.986 | 26054.0567 | 50342.4563 | 5 | 64
713 | 2024-05-04 14:58 | 0.1879 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0305 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.972 | 26135.556 | 50346.2454 | 5 | 64
714 | 2024-05-04 14:58 | 0.20477 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0286 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.973 | 26159.8733 | 50331.1259 | 5 | 64
715 | 2024-05-04 14:58 | 0.22163 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.056 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.959 | 26168.823 | 50337.5119 | 5 | 64
716 | 2024-05-04 14:58 | 0.23846 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0403 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 26172.6968 | 50336.6642 | 5 | 64
717 | 2024-05-04 14:58 | 0.25532 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0305 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.972 | 26186.8656 | 50330.3046 | 5 | 64
718 | 2024-05-04 14:58 | 0.27131 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0678 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.953 | 25117.132 | 50330.0786 | 5 | 64
719 | 2024-05-04 14:58 | 0.28821 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0442 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.965 | 25259.5251 | 50327.8629 | 5 | 64
720 | 2024-05-04 14:58 | 0.30505 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0599 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.957 | 25363.5861 | 50335.4771 | 5 | 64
721 | 2024-05-04 14:58 | 0.32192 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0188 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 25390.9909 | 50333.5972 | 5 | 64
722 | 2024-05-04 14:58 | 0.33793 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0619 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.956 | 25407.3215 | 50345.7363 | 5 | 64
723 | 2024-05-04 14:58 | 0.3548 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0658 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 25395.8775 | 50336.4603 | 5 | 64
724 | 2024-05-04 14:58 | 0.37167 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0442 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.965 | 25411.8578 | 50330.4574 | 5 | 64
725 | 2024-05-04 14:58 | 0.38851 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0658 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 25447.065 | 50339.579 | 5 | 64
726 | 2024-05-04 14:58 | 0.40454 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0364 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.969 | 25589.4024 | 50328.8723 | 5 | 64
727 | 2024-05-04 14:58 | 0.42136 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0384 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.968 | 25643.1133 | 50334.7979 | 5 | 64
728 | 2024-05-04 14:58 | 0.43825 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0933 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.94 | 25717.2986 | 50350.3393 | 5 | 64
729 | 2024-05-04 14:58 | 0.45512 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0521 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.961 | 25728.8929 | 50325.3781 | 5 | 64
730 | 2024-05-04 14:58 | 0.47198 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0246 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.975 | 25718.322 | 50332.2869 | 5 | 64
731 | 2024-05-04 14:58 | 0.48795 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0521 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.961 | 25736.882 | 50343.0492 | 5 | 64
732 | 2024-05-04 14:58 | 0.50478 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0168 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 25721.705 | 50333.0685 | 5 | 64
733 | 2024-05-04 14:58 | 0.52162 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0403 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 25712.3069 | 50332.8316 | 5 | 64
734 | 2024-05-04 14:58 | 0.53847 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0246 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.975 | 25707.0883 | 50339.1564 | 5 | 64
735 | 2024-05-04 14:58 | 0.55451 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0737 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.95 | 25699.2046 | 50345.7439 | 5 | 64
736 | 2024-05-04 14:58 | 0.57139 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0541 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 25687.9163 | 50326.9842 | 5 | 64
737 | 2024-05-04 14:58 | 0.58825 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0325 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.971 | 25689.1233 | 50321.8396 | 5 | 64
738 | 2024-05-04 14:58 | 0.60511 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0325 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.971 | 25684.6161 | 50346.1159 | 5 | 64
739 | 2024-05-04 14:58 | 0.62193 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0894 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.942 | 25677.4277 | 50323.4663 | 5 | 64
740 | 2024-05-04 14:58 | 0.63795 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.056 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.959 | 25687.2491 | 50333.4266 | 5 | 64
741 | 2024-05-04 14:58 | 0.65477 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0541 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 25642.6402 | 50339.8368 | 5 | 64
742 | 2024-05-04 14:58 | 0.67164 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0403 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 25639.4063 | 50335.3933 | 5 | 64
743 | 2024-05-04 14:58 | 0.6885 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0698 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.952 | 25641.8816 | 50333.1795 | 5 | 64
744 | 2024-05-04 14:58 | 0.70531 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0757 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.949 | 25634.9547 | 50333.8558 | 5 | 64
745 | 2024-05-04 14:58 | 0.72134 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0521 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.961 | 25648.8656 | 50329.2427 | 5 | 64
746 | 2024-05-04 14:58 | 0.73823 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0619 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.956 | 25660.9263 | 50327.6831 | 5 | 64
747 | 2024-05-04 14:58 | 0.75504 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.056 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.959 | 25636.173 | 50332.7363 | 5 | 64
748 | 2024-05-04 14:58 | 0.77184 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0678 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.953 | 25608.9697 | 50328.8393 | 5 | 64
749 | 2024-05-04 14:58 | 0.7879 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0796 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.947 | 25580.9894 | 50336.8093 | 5 | 64
750 | 2024-05-04 14:58 | 0.80475 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0894 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.942 | 25611.7047 | 50324.6484 | 5 | 64
751 | 2024-05-04 14:58 | 0.82158 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0973 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.938 | 25579.7207 | 50341.6962 | 5 | 64
752 | 2024-05-04 14:58 | 0.83837 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0658 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 25648.7964 | 50336.6226 | 5 | 64
753 | 2024-05-04 14:58 | 0.85524 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.111 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.931 | 25621.1729 | 50332.0887 | 5 | 64
754 | 2024-05-04 14:58 | 0.87125 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0874 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.943 | 25654.3885 | 50339.2293 | 5 | 64
755 | 2024-05-04 14:58 | 0.88808 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.058 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.958 | 25646.8096 | 50320.6203 | 5 | 64
756 | 2024-05-04 14:58 | 0.90491 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0717 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 25553.1956 | 50340.4155 | 5 | 64
757 | 2024-05-04 14:58 | 0.92176 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0992 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.937 | 25622.5346 | 50337.2436 | 5 | 64
758 | 2024-05-04 14:58 | 0.9386 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0914 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.941 | 25662.8012 | 50329.6451 | 5 | 64
759 | 2024-05-04 14:58 | 0.95461 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.944 | 25675.342 | 50333.799 | 5 | 64
760 | 2024-05-04 14:59 | 0.97146 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0482 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.963 | 25659.4647 | 50337.0398 | 5 | 64
761 | 2024-05-04 14:59 | 0.98832 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0678 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.953 | 25657.4896 | 50327.9368 | 5 | 64
762 | 2024-05-04 14:59 | 1.0052 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0737 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.95 | 25684.0589 | 50331.5061 | 5 | 64
763 | 2024-05-04 14:59 | 1.0212 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1071 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.933 | 25659.0287 | 50325.7316 | 5 | 64
764 | 2024-05-04 14:59 | 1.0381 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0933 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.94 | 25666.6734 | 50330.4759 | 5 | 64
765 | 2024-05-04 14:59 | 1.0549 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0698 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.952 | 25668.9763 | 50326.5917 | 5 | 64
766 | 2024-05-04 14:59 | 1.0717 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0874 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.943 | 25668.6984 | 50328.0474 | 5 | 64
767 | 2024-05-04 14:59 | 1.0886 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0835 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.945 | 25683.0963 | 50338.2636 | 5 | 64
768 | 2024-05-04 14:59 | 1.1045 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0658 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 25678.3899 | 50329.8931 | 5 | 64
769 | 2024-05-04 14:59 | 1.1214 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0914 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.941 | 25702.3048 | 50335.5334 | 5 | 64
770 | 2024-05-04 14:59 | 1.1382 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0815 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.946 | 25696.5875 | 50330.9444 | 5 | 64
771 | 2024-05-04 14:59 | 1.155 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0599 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.957 | 25686.9572 | 50321.6499 | 5 | 64
772 | 2024-05-04 14:59 | 1.1718 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0796 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.947 | 25707.6054 | 50331.6918 | 5 | 64
773 | 2024-05-04 14:59 | 1.1878 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1012 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.936 | 25683.4545 | 50322.7337 | 5 | 64
774 | 2024-05-04 14:59 | 1.2047 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.058 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.958 | 25701.3665 | 50331.5024 | 5 | 64
775 | 2024-05-04 14:59 | 1.2214 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0953 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.939 | 25706.503 | 50329.3033 | 5 | 64
776 | 2024-05-04 14:59 | 1.2383 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1012 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.936 | 25659.6154 | 50332.1962 | 5 | 64
777 | 2024-05-04 14:59 | 1.2551 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0815 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.946 | 25671.6041 | 50326.0798 | 5 | 64
778 | 2024-05-04 14:59 | 1.2719 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1032 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.935 | 25668.4371 | 50320.0881 | 5 | 64
779 | 2024-05-04 14:59 | 1.288 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0658 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 25647.4035 | 50331.174 | 5 | 64
780 | 2024-05-04 14:59 | 1.3049 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0717 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 25667.7263 | 50326.7268 | 5 | 64
781 | 2024-05-04 14:59 | 1.3217 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1209 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.926 | 25687.5907 | 50332.3635 | 5 | 64
782 | 2024-05-04 14:59 | 1.3385 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0658 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 25670.021 | 50318.6112 | 5 | 64
783 | 2024-05-04 14:59 | 1.3545 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1091 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.932 | 25694.5249 | 50326.9854 | 5 | 64
784 | 2024-05-04 14:59 | 1.3714 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0737 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.95 | 25680.2911 | 50330.99 | 5 | 64
785 | 2024-05-04 14:59 | 1.3882 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0992 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.937 | 25703.2357 | 50324.9551 | 5 | 64
786 | 2024-05-04 14:59 | 1.405 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0757 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.949 | 25702.1089 | 50324.7081 | 5 | 64
787 | 2024-05-04 14:59 | 1.4219 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0776 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.948 | 25711.8543 | 50328.0152 | 5 | 64
788 | 2024-05-04 14:59 | 1.4379 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0639 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.955 | 25768.6162 | 50329.9279 | 5 | 64
789 | 2024-05-04 14:59 | 1.4547 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0541 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 25749.8945 | 50327.274 | 5 | 64
790 | 2024-05-04 14:59 | 1.4715 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0717 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 25750.7232 | 50323.6577 | 5 | 64
791 | 2024-05-04 14:59 | 1.4884 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.113 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.93 | 25753.7292 | 50332.4282 | 5 | 64
792 | 2024-05-04 14:59 | 1.5052 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1268 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.923 | 25745.1298 | 50325.8933 | 5 | 64
793 | 2024-05-04 14:59 | 1.5212 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.111 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.931 | 25742.9696 | 50321.4715 | 5 | 64
794 | 2024-05-04 14:59 | 1.5381 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0462 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.964 | 25750.1978 | 50329.4359 | 5 | 64
795 | 2024-05-04 14:59 | 1.555 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.113 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.93 | 25721.0932 | 50321.7627 | 5 | 64
796 | 2024-05-04 14:59 | 1.5718 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.113 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.93 | 25721.5297 | 50329.2823 | 5 | 64
797 | 2024-05-04 14:59 | 1.5886 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1209 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.926 | 25716.3572 | 50321.2222 | 5 | 64
798 | 2024-05-04 14:59 | 1.6046 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0992 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.937 | 25708.4384 | 50324.5012 | 5 | 64
799 | 2024-05-04 14:59 | 1.6215 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0973 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.938 | 25693.042 | 50328.649 | 5 | 64
800 | 2024-05-04 14:59 | 1.6384 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1051 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.934 | 25711.4344 | 50327.4065 | 5 | 64
801 | 2024-05-04 14:59 | 1.6552 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0973 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.938 | 25741.1059 | 50320.8039 | 5 | 64
802 | 2024-05-04 14:59 | 1.672 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1288 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.922 | 25771.3663 | 50332.0449 | 5 | 64
803 | 2024-05-04 14:59 | 1.688 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0953 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.939 | 25766.4045 | 50328.1694 | 5 | 64
804 | 2024-05-04 14:59 | 1.7049 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0815 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.946 | 25789.8888 | 50323.3809 | 5 | 64
805 | 2024-05-04 14:59 | 1.7217 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0914 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.941 | 25815.5605 | 50333.8464 | 5 | 64
806 | 2024-05-04 14:59 | 1.7385 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.944 | 25805.9252 | 50334.2631 | 5 | 64
807 | 2024-05-04 14:59 | 1.7545 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1091 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.932 | 25820.1422 | 50322.5237 | 5 | 64
808 | 2024-05-04 14:59 | 1.7714 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0757 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.949 | 25813.434 | 50325.1402 | 5 | 64
809 | 2024-05-04 14:59 | 1.7882 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.944 | 25801.202 | 50319.6091 | 5 | 64
810 | 2024-05-04 14:59 | 1.805 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0992 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.937 | 25816.8828 | 50327.5661 | 5 | 64
811 | 2024-05-04 14:59 | 1.8218 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0796 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.947 | 25785.2138 | 50325.352 | 5 | 64
812 | 2024-05-04 14:59 | 1.8386 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.944 | 25786.4119 | 50316.1498 | 5 | 64
813 | 2024-05-04 14:59 | 1.8546 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0933 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.94 | 25795.4986 | 50320.7074 | 5 | 64
814 | 2024-05-04 14:59 | 1.8715 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1012 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.936 | 25820.1184 | 50316.5592 | 5 | 64
815 | 2024-05-04 14:59 | 1.8883 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0717 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 25870.2394 | 50322.999 | 5 | 64
816 | 2024-05-04 14:59 | 1.9052 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1051 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.934 | 25787.5644 | 50322.7656 | 5 | 64
817 | 2024-05-04 14:59 | 1.9212 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0815 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.946 | 25762.5573 | 50318.4203 | 5 | 64
818 | 2024-05-04 14:59 | 1.9381 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0757 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.949 | 25802.7028 | 50317.4612 | 5 | 64
819 | 2024-05-04 14:59 | 1.9549 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.944 | 25799.4742 | 50324.758 | 5 | 64
820 | 2024-05-04 15:00 | 1.9718 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1012 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.936 | 25771.0153 | 50324.2371 | 5 | 64
821 | 2024-05-04 15:00 | 1.9886 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1209 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.926 | 25766.5289 | 50322.4376 | 5 | 64
822 | 2024-05-04 15:00 | 2.0046 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0796 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.947 | 25763.9766 | 50329.4016 | 5 | 64
823 | 2024-05-04 15:00 | 2.0215 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0658 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 25792.3584 | 50317.084 | 5 | 64