## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-05-04 15:06

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
824 | 2024-05-04 15:04 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 26004.41 | 50415.3606 | 5 | 64
825 | 2024-05-04 15:04 | 0.010094 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 25837.8353 | 50394.86 | 5 | 64
826 | 2024-05-04 15:04 | 0.026961 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.995 | 24253.6668 | 50367.9262 | 5 | 64
827 | 2024-05-04 15:04 | 0.043797 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 25853.5143 | 50365.3625 | 5 | 64
828 | 2024-05-04 15:04 | 0.060635 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9718 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.002 | 25730.3215 | 50361.9157 | 5 | 64
829 | 2024-05-04 15:04 | 0.077467 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0246 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.975 | 25653.8444 | 50354.6036 | 5 | 64
830 | 2024-05-04 15:04 | 0.09346 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9933 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.991 | 25586.4666 | 50361.5653 | 5 | 64
831 | 2024-05-04 15:04 | 0.1103 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9816 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.997 | 25560.5589 | 50355.6647 | 5 | 64
832 | 2024-05-04 15:04 | 0.12715 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0031 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.986 | 25474.0684 | 50344.8461 | 5 | 64
833 | 2024-05-04 15:04 | 0.14399 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0051 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.985 | 25441.5008 | 50351.8159 | 5 | 64
834 | 2024-05-04 15:04 | 0.1608 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0207 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.977 | 25416.8058 | 50351.241 | 5 | 64
835 | 2024-05-04 15:04 | 0.17679 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 25456.3732 | 50348.3508 | 5 | 64
836 | 2024-05-04 15:04 | 0.19361 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9992 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 25353.9527 | 50353.5179 | 5 | 64
837 | 2024-05-04 15:04 | 0.21048 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9992 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 25358.033 | 50348.7472 | 5 | 64
838 | 2024-05-04 15:04 | 0.2273 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 25383.6015 | 50341.4679 | 5 | 64
839 | 2024-05-04 15:04 | 0.24331 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9972 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.989 | 25391.2081 | 50347.312 | 5 | 64
840 | 2024-05-04 15:04 | 0.26016 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.007 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.984 | 25387.1418 | 50351.7919 | 5 | 64
841 | 2024-05-04 15:04 | 0.27697 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9972 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.989 | 25406.5746 | 50343.1802 | 5 | 64
842 | 2024-05-04 15:04 | 0.29383 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 25425.8084 | 50345.1712 | 5 | 64
843 | 2024-05-04 15:04 | 0.31067 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9914 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.992 | 25424.2506 | 50348.1596 | 5 | 64
844 | 2024-05-04 15:04 | 0.32669 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0207 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.977 | 25421.8117 | 50341.9933 | 5 | 64
845 | 2024-05-04 15:04 | 0.34357 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9679 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.004 | 25419.5839 | 50346.1034 | 5 | 64
846 | 2024-05-04 15:04 | 0.36044 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 25431.16 | 50342.0329 | 5 | 64
847 | 2024-05-04 15:04 | 0.37726 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0012 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 25370.6842 | 50341.7503 | 5 | 64
848 | 2024-05-04 15:04 | 0.3941 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 25334.4799 | 50338.2908 | 5 | 64
849 | 2024-05-04 15:04 | 0.41009 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9953 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 25276.6682 | 50347.608 | 5 | 64
850 | 2024-05-04 15:04 | 0.42695 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9894 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 25248.5656 | 50351.4659 | 5 | 64
851 | 2024-05-04 15:05 | 0.44379 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 25255.3532 | 50337.9763 | 5 | 64
852 | 2024-05-04 15:05 | 0.46061 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9972 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.989 | 25215.9192 | 50334.7192 | 5 | 64
853 | 2024-05-04 15:05 | 0.47745 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 25278.424 | 50338.9702 | 5 | 64
854 | 2024-05-04 15:05 | 0.49347 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0168 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 25251.6366 | 50341.7751 | 5 | 64
855 | 2024-05-04 15:05 | 0.51032 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 25289.4249 | 50339.8075 | 5 | 64
856 | 2024-05-04 15:05 | 0.52713 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9679 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.004 | 25271.5427 | 50341.2224 | 5 | 64
857 | 2024-05-04 15:05 | 0.54393 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 25265.2191 | 50337.8438 | 5 | 64
858 | 2024-05-04 15:05 | 0.56077 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 25263.1006 | 50343.7844 | 5 | 64
859 | 2024-05-04 15:05 | 0.57677 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0012 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 25256.4433 | 50336.0902 | 5 | 64
860 | 2024-05-04 15:05 | 0.59365 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0286 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.973 | 25283.4867 | 50339.1509 | 5 | 64
861 | 2024-05-04 15:05 | 0.61047 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 25322.5677 | 50342.4288 | 5 | 64
862 | 2024-05-04 15:05 | 0.6273 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0031 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.986 | 25286.2133 | 50342.8714 | 5 | 64
863 | 2024-05-04 15:05 | 0.64334 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0188 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 25278.8508 | 50338.6669 | 5 | 64
864 | 2024-05-04 15:05 | 0.66018 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.009 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.983 | 25263.7726 | 50335.5194 | 5 | 64
865 | 2024-05-04 15:05 | 0.67705 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 17.3473 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 30.081 | 27697.9256 | 50335.3109 | 5 | 64
866 | 2024-05-04 15:05 | 0.69387 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 11.9963 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 34.306 | 32807.0519 | 50342.3368 | 5 | 64
867 | 2024-05-04 15:05 | 0.71072 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 9.389 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 37.169 | 36110.2972 | 50337.6421 | 5 | 64
868 | 2024-05-04 15:05 | 0.72673 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.1847 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 38.76 | 37915.7661 | 50332.8615 | 5 | 64
869 | 2024-05-04 15:05 | 0.74358 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.5865 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 39.629 | 38916.8578 | 50340.6413 | 5 | 64
870 | 2024-05-04 15:05 | 0.76042 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.2935 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.076 | 39412.2758 | 50336.92 | 5 | 64
871 | 2024-05-04 15:05 | 0.77726 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1566 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.29 | 39676.243 | 50340.9336 | 5 | 64
872 | 2024-05-04 15:05 | 0.79412 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0889 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.397 | 39738.715 | 50346.1815 | 5 | 64
873 | 2024-05-04 15:05 | 0.81013 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0569 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.448 | 39780.9685 | 50341.1515 | 5 | 64
874 | 2024-05-04 15:05 | 0.82702 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0343 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.484 | 39824.5723 | 50336.4731 | 5 | 64
875 | 2024-05-04 15:05 | 0.84388 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0274 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.495 | 39790.1935 | 50339.6236 | 5 | 64
876 | 2024-05-04 15:05 | 0.86073 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0255 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.498 | 39876.8733 | 50342.1576 | 5 | 64
877 | 2024-05-04 15:05 | 0.87675 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0211 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.505 | 39849.7721 | 50342.6742 | 5 | 64
878 | 2024-05-04 15:05 | 0.89358 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.023 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.502 | 39770.2421 | 50335.521 | 5 | 64
879 | 2024-05-04 15:05 | 0.91044 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0287 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.493 | 39782.5081 | 50340.8872 | 5 | 64
880 | 2024-05-04 15:05 | 0.92726 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0193 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.508 | 39796.5955 | 50341.6049 | 5 | 64
881 | 2024-05-04 15:05 | 0.94332 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0205 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.506 | 39758.9543 | 50341.0288 | 5 | 64
882 | 2024-05-04 15:05 | 0.96016 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.018 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.51 | 39771.7574 | 50340.3091 | 5 | 64
883 | 2024-05-04 15:05 | 0.97696 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0224 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.503 | 39745.1146 | 50331.1426 | 5 | 64
884 | 2024-05-04 15:05 | 0.99383 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0193 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.508 | 39695.6708 | 50336.4835 | 5 | 64
885 | 2024-05-04 15:05 | 1.0107 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0161 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.513 | 39704.5158 | 50330.9697 | 5 | 64
886 | 2024-05-04 15:05 | 1.0267 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0155 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.514 | 39678.133 | 50330.5204 | 5 | 64
887 | 2024-05-04 15:05 | 1.0435 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0218 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.504 | 39684.5529 | 50339.3558 | 5 | 64
888 | 2024-05-04 15:05 | 1.0604 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0112 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.521 | 39631.0762 | 50329.9334 | 5 | 64
889 | 2024-05-04 15:05 | 1.0772 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0218 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.504 | 39601.0343 | 50337.8088 | 5 | 64
890 | 2024-05-04 15:05 | 1.0941 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0205 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.506 | 39615.8505 | 50341.7026 | 5 | 64
891 | 2024-05-04 15:05 | 1.1101 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0199 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.507 | 39541.7995 | 50336.3672 | 5 | 64
892 | 2024-05-04 15:05 | 1.127 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0155 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.514 | 39548.0835 | 50344.1557 | 5 | 64
893 | 2024-05-04 15:05 | 1.1438 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0193 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.508 | 39519.4785 | 50339.1529 | 5 | 64
894 | 2024-05-04 15:05 | 1.1606 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0193 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.508 | 39490.6446 | 50339.1537 | 5 | 64
895 | 2024-05-04 15:05 | 1.1775 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0155 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.514 | 39586.8929 | 50332.5456 | 5 | 64
896 | 2024-05-04 15:05 | 1.1935 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0174 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.511 | 39598.814 | 50341.6224 | 5 | 64
897 | 2024-05-04 15:05 | 1.2104 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0193 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.508 | 39579.6004 | 50338.3499 | 5 | 64
898 | 2024-05-04 15:05 | 1.2272 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0218 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.504 | 39621.4733 | 50338.5813 | 5 | 64
899 | 2024-05-04 15:05 | 1.2441 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0161 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.513 | 39648.7689 | 50336.1913 | 5 | 64
900 | 2024-05-04 15:05 | 1.2601 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0174 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.511 | 39611.5881 | 50339.3304 | 5 | 64
901 | 2024-05-04 15:05 | 1.2769 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0199 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.507 | 39596.3674 | 50337.5141 | 5 | 64
902 | 2024-05-04 15:05 | 1.2938 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.013 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.518 | 39562.74 | 50346.555 | 5 | 64
903 | 2024-05-04 15:05 | 1.3107 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0211 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.505 | 39579.6615 | 50334.108 | 5 | 64
904 | 2024-05-04 15:05 | 1.3267 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0218 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.504 | 39554.6175 | 50333.5038 | 5 | 64
905 | 2024-05-04 15:05 | 1.3435 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 9.9396 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 36.504 | 35140.2469 | 50332.0809 | 5 | 64
906 | 2024-05-04 15:05 | 1.3603 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 15.5707 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 31.298 | 29020.6716 | 50340.2564 | 5 | 64
907 | 2024-05-04 15:05 | 1.3771 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 18.435 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 29.395 | 26722.9514 | 50342.334 | 5 | 64
908 | 2024-05-04 15:05 | 1.394 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.7829 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.622 | 25744.3849 | 50333.7434 | 5 | 64
909 | 2024-05-04 15:05 | 1.41 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.4 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.289 | 25311.4655 | 50340.712 | 5 | 64
910 | 2024-05-04 15:05 | 1.4269 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.7145 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.124 | 25128.9351 | 50339.9797 | 5 | 64
911 | 2024-05-04 15:06 | 1.4437 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8575 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.05 | 25001.331 | 50332.0637 | 5 | 64
912 | 2024-05-04 15:06 | 1.4605 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9197 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 24971.8775 | 50335.4727 | 5 | 64
913 | 2024-05-04 15:06 | 1.4774 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9567 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 24919.0323 | 50334.4786 | 5 | 64
914 | 2024-05-04 15:06 | 1.4934 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9704 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.992 | 24904.3912 | 50330.5665 | 5 | 64
915 | 2024-05-04 15:06 | 1.5103 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9841 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.985 | 24879.0572 | 50329.7785 | 5 | 64
916 | 2024-05-04 15:06 | 1.5271 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0212 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.966 | 24834.0699 | 50325.169 | 5 | 64
917 | 2024-05-04 15:06 | 1.544 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0056 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 24831.9013 | 50331.4145 | 5 | 64
918 | 2024-05-04 15:06 | 1.56 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0227 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.976 | 24806.6738 | 50334.6955 | 5 | 64
919 | 2024-05-04 15:06 | 1.5768 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0129 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.981 | 24816.467 | 50335.4314 | 5 | 64
920 | 2024-05-04 15:06 | 1.5936 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9992 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 24802.9718 | 50326.7664 | 5 | 64
921 | 2024-05-04 15:06 | 1.6105 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0384 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.968 | 24777.4519 | 50328.6534 | 5 | 64
922 | 2024-05-04 15:06 | 1.6274 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0031 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.986 | 24804.8413 | 50334.1424 | 5 | 64
923 | 2024-05-04 15:06 | 1.6433 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.056 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.959 | 24785.5808 | 50331.6428 | 5 | 64
924 | 2024-05-04 15:06 | 1.6602 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0286 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.973 | 24772.5483 | 50321.7008 | 5 | 64
925 | 2024-05-04 15:06 | 1.6771 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0344 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.97 | 24812.7109 | 50332.2798 | 5 | 64
926 | 2024-05-04 15:06 | 1.694 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9992 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 24750.3808 | 50327.2223 | 5 | 64
927 | 2024-05-04 15:06 | 1.71 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0109 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.982 | 24777.0348 | 50316.4851 | 5 | 64
928 | 2024-05-04 15:06 | 1.7268 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0541 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 24769.5732 | 50330.973 | 5 | 64
929 | 2024-05-04 15:06 | 1.7436 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0442 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.965 | 24637.479 | 50330.5013 | 5 | 64
930 | 2024-05-04 15:06 | 1.7605 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0149 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.98 | 24655.794 | 50322.0715 | 5 | 64
931 | 2024-05-04 15:06 | 1.7773 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0266 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 24715.2873 | 50325.767 | 5 | 64
932 | 2024-05-04 15:06 | 1.7933 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0384 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.968 | 24987.4012 | 50333.6873 | 5 | 64
933 | 2024-05-04 15:06 | 1.8102 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0403 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 24849.449 | 50337.3184 | 5 | 64
934 | 2024-05-04 15:06 | 1.8271 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.056 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.959 | 24830.7961 | 50338.0899 | 5 | 64
935 | 2024-05-04 15:06 | 1.8439 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0462 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.964 | 24831.9189 | 50334.3861 | 5 | 64
936 | 2024-05-04 15:06 | 1.8608 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0266 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 24774.8766 | 50326.8681 | 5 | 64
937 | 2024-05-04 15:06 | 1.8768 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0423 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.966 | 24686.8372 | 50328.0763 | 5 | 64
938 | 2024-05-04 15:06 | 1.8936 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0266 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 24710.625 | 50319.038 | 5 | 64
939 | 2024-05-04 15:06 | 1.9104 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0325 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.971 | 24686.6247 | 50329.8126 | 5 | 64
940 | 2024-05-04 15:06 | 1.9272 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0815 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.946 | 24694.6658 | 50326.9985 | 5 | 64
941 | 2024-05-04 15:06 | 1.9441 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0344 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.97 | 24712.8765 | 50326.1471 | 5 | 64
942 | 2024-05-04 15:06 | 1.9601 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0717 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 24658.1381 | 50325.0319 | 5 | 64
943 | 2024-05-04 15:06 | 1.9769 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0835 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.945 | 24654.7878 | 50330.0765 | 5 | 64
944 | 2024-05-04 15:06 | 1.9938 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0482 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.963 | 24673.1982 | 50326.9091 | 5 | 64
945 | 2024-05-04 15:06 | 2.0106 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0639 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.955 | 24659.2907 | 50326.596 | 5 | 64