## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-05-04 15:11

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
946 | 2024-05-04 15:09 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8531 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.063 | 25833.2399 | 50332.4411 | 5 | 64
947 | 2024-05-04 15:09 | 0.023566 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9036 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.037 | 25535.7615 | 50328.7097 | 5 | 64
948 | 2024-05-04 15:09 | 0.040378 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 25778.4745 | 50344.8861 | 5 | 64
949 | 2024-05-04 15:09 | 0.057195 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 24758.3883 | 50333.1601 | 5 | 64
950 | 2024-05-04 15:09 | 0.074023 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.89 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.044 | 25131.9493 | 50332.9558 | 5 | 64
951 | 2024-05-04 15:09 | 0.09004 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9114 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.033 | 25090.1447 | 50330.0292 | 5 | 64
952 | 2024-05-04 15:09 | 0.10691 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 25093.2744 | 50338.9472 | 5 | 64
953 | 2024-05-04 15:09 | 0.12374 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8764 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.051 | 24996.7224 | 50334.2139 | 5 | 64
954 | 2024-05-04 15:09 | 0.14058 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9017 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.038 | 24946.2799 | 50329.7029 | 5 | 64
955 | 2024-05-04 15:09 | 0.15738 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9426 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 24858.6499 | 50328.1577 | 5 | 64
956 | 2024-05-04 15:09 | 0.17337 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.925 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 24812.5216 | 50326.6787 | 5 | 64
957 | 2024-05-04 15:09 | 0.19022 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8725 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.053 | 24771.4664 | 50319.1059 | 5 | 64
958 | 2024-05-04 15:09 | 0.20703 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8784 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.05 | 24783.0095 | 50326.5884 | 5 | 64
959 | 2024-05-04 15:09 | 0.22389 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24804.9151 | 50332.9698 | 5 | 64
960 | 2024-05-04 15:09 | 0.24076 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 24747.1849 | 50330.9467 | 5 | 64
961 | 2024-05-04 15:09 | 0.25673 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 24745.2475 | 50319.0766 | 5 | 64
962 | 2024-05-04 15:09 | 0.2736 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9075 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.035 | 24724.5694 | 50319.5782 | 5 | 64
963 | 2024-05-04 15:09 | 0.29045 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 24752.4144 | 50319.9451 | 5 | 64
964 | 2024-05-04 15:09 | 0.3073 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 24754.3801 | 50331.5667 | 5 | 64
965 | 2024-05-04 15:09 | 0.32329 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9134 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.032 | 24780.6612 | 50329.2313 | 5 | 64
966 | 2024-05-04 15:09 | 0.34013 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9017 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.038 | 24872.5794 | 50324.7366 | 5 | 64
967 | 2024-05-04 15:09 | 0.35703 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 24953.0065 | 50321.7998 | 5 | 64
968 | 2024-05-04 15:09 | 0.37388 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9289 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 24863.4365 | 50319.2189 | 5 | 64
969 | 2024-05-04 15:09 | 0.3907 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 24782.3335 | 50324.7085 | 5 | 64
970 | 2024-05-04 15:09 | 0.40666 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9134 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.032 | 24749.7252 | 50313.2719 | 5 | 64
971 | 2024-05-04 15:10 | 0.4235 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 24724.9198 | 50329.7877 | 5 | 64
972 | 2024-05-04 15:10 | 0.44031 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24648.0179 | 50323.5413 | 5 | 64
973 | 2024-05-04 15:10 | 0.45714 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 24673.14 | 50326.8749 | 5 | 64
974 | 2024-05-04 15:10 | 0.47398 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9212 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 24682.0972 | 50326.863 | 5 | 64
975 | 2024-05-04 15:10 | 0.48999 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9212 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 24674.4488 | 50313.2925 | 5 | 64
976 | 2024-05-04 15:10 | 0.50681 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24718.7619 | 50318.0525 | 5 | 64
977 | 2024-05-04 15:10 | 0.52365 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 24658.2265 | 50316.8505 | 5 | 64
978 | 2024-05-04 15:10 | 0.54048 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9543 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 24655.3084 | 50323.3343 | 5 | 64
979 | 2024-05-04 15:10 | 0.55731 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24586.8038 | 50318.6784 | 5 | 64
980 | 2024-05-04 15:10 | 0.57412 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 24582.7666 | 50327.3498 | 5 | 64
981 | 2024-05-04 15:10 | 0.59007 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 24634.3737 | 50320.5081 | 5 | 64
982 | 2024-05-04 15:10 | 0.60688 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 24719.8195 | 50318.7969 | 5 | 64
983 | 2024-05-04 15:10 | 0.62372 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9153 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.031 | 24667.7337 | 50317.8139 | 5 | 64
984 | 2024-05-04 15:10 | 0.64057 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 24534.9845 | 50323.4584 | 5 | 64
985 | 2024-05-04 15:10 | 0.65738 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 24469.8437 | 50318.7915 | 5 | 64
986 | 2024-05-04 15:10 | 0.67338 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 18.292 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 29.481 | 26114.9404 | 50320.2638 | 5 | 64
987 | 2024-05-04 15:10 | 0.69023 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 12.3742 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 33.933 | 31200.414 | 50310.9216 | 5 | 64
988 | 2024-05-04 15:10 | 0.70705 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 9.5272 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 36.987 | 34644.8011 | 50321.2164 | 5 | 64
989 | 2024-05-04 15:10 | 0.72389 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.1964 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 38.732 | 36692.9168 | 50315.1923 | 5 | 64
990 | 2024-05-04 15:10 | 0.74073 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.5603 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 39.657 | 37549.4054 | 50323.0489 | 5 | 64
991 | 2024-05-04 15:10 | 0.75675 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.2759 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.092 | 37949.4391 | 50316.8069 | 5 | 64
992 | 2024-05-04 15:10 | 0.77356 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1266 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.326 | 38160.7784 | 50316.7754 | 5 | 64
993 | 2024-05-04 15:10 | 0.79041 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0542 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.441 | 38225.8324 | 50314.7558 | 5 | 64
994 | 2024-05-04 15:10 | 0.80723 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0236 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.501 | 38223.047 | 50312.9536 | 5 | 64
995 | 2024-05-04 15:10 | 0.82408 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0149 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.515 | 38294.3539 | 50325.0514 | 5 | 64
996 | 2024-05-04 15:10 | 0.84008 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0087 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.525 | 38231.6784 | 50318.8825 | 5 | 64
997 | 2024-05-04 15:10 | 0.85693 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9993 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.54 | 38276.8677 | 50321.3881 | 5 | 64
998 | 2024-05-04 15:10 | 0.87378 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0024 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.535 | 38221.2301 | 50324.0409 | 5 | 64
999 | 2024-05-04 15:10 | 0.89064 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9918 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.552 | 38199.6901 | 50317.276 | 5 | 64
1000 | 2024-05-04 15:10 | 0.90661 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9924 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.551 | 38195.3023 | 50306.5896 | 5 | 64
1001 | 2024-05-04 15:10 | 0.92343 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9956 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.546 | 38226.1889 | 50324.0897 | 5 | 64
1002 | 2024-05-04 15:10 | 0.94027 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9974 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.543 | 38183.8284 | 50321.2618 | 5 | 64
1003 | 2024-05-04 15:10 | 0.9571 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9974 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.543 | 38147.4092 | 50311.0107 | 5 | 64
1004 | 2024-05-04 15:10 | 0.97399 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9924 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.551 | 38142.0287 | 50317.4779 | 5 | 64
1005 | 2024-05-04 15:10 | 0.99 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9974 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.543 | 38182.835 | 50329.6292 | 5 | 64
1006 | 2024-05-04 15:10 | 1.0068 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9962 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.545 | 38153.3252 | 50322.5644 | 5 | 64
1007 | 2024-05-04 15:10 | 1.0236 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9943 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.548 | 38083.7365 | 50313.4639 | 5 | 64
1008 | 2024-05-04 15:10 | 1.0405 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9956 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.546 | 38161.5311 | 50318.4525 | 5 | 64
1009 | 2024-05-04 15:10 | 1.0573 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9993 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.54 | 38098.0881 | 50320.2492 | 5 | 64
1010 | 2024-05-04 15:10 | 1.0733 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9962 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.545 | 38098.709 | 50313.6514 | 5 | 64
1011 | 2024-05-04 15:10 | 1.0902 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9943 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.548 | 38103.073 | 50322.9813 | 5 | 64
1012 | 2024-05-04 15:10 | 1.107 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9949 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.547 | 38077.1349 | 50316.3754 | 5 | 64
1013 | 2024-05-04 15:10 | 1.1238 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9912 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.553 | 38087.3494 | 50319.89 | 5 | 64
1014 | 2024-05-04 15:10 | 1.1407 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0024 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.535 | 38142.2492 | 50321.0914 | 5 | 64
1015 | 2024-05-04 15:10 | 1.1567 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9968 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.544 | 38110.8467 | 50319.1995 | 5 | 64
1016 | 2024-05-04 15:10 | 1.1736 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9943 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.548 | 38105.222 | 50314.095 | 5 | 64
1017 | 2024-05-04 15:10 | 1.1904 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9968 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.544 | 38180.9172 | 50317.0501 | 5 | 64
1018 | 2024-05-04 15:10 | 1.2072 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9987 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.541 | 38133.7625 | 50314.4807 | 5 | 64
1019 | 2024-05-04 15:10 | 1.2241 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9962 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.545 | 38126.8232 | 50316.7227 | 5 | 64
1020 | 2024-05-04 15:10 | 1.24 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9887 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.557 | 38045.7076 | 50309.1832 | 5 | 64
1021 | 2024-05-04 15:10 | 1.2569 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9931 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.55 | 38084.846 | 50318.576 | 5 | 64
1022 | 2024-05-04 15:10 | 1.2737 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9924 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.551 | 38086.3487 | 50315.7738 | 5 | 64
1023 | 2024-05-04 15:10 | 1.2906 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0005 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.538 | 38076.7935 | 50318.0724 | 5 | 64
1024 | 2024-05-04 15:10 | 1.3074 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9999 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.539 | 38187.7743 | 50315.3369 | 5 | 64
1025 | 2024-05-04 15:10 | 1.3234 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9931 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.55 | 38207.7355 | 50308.4991 | 5 | 64
1026 | 2024-05-04 15:10 | 1.3402 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.9779 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 37.69 | 35095.3636 | 50315.3488 | 5 | 64
1027 | 2024-05-04 15:10 | 1.357 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 15.032 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 31.699 | 28415.489 | 50309.8547 | 5 | 64
1028 | 2024-05-04 15:10 | 1.3739 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 18.1537 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 29.576 | 25915.2333 | 50317.0211 | 5 | 64
1029 | 2024-05-04 15:10 | 1.3907 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.6324 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.716 | 24909.2354 | 50321.3781 | 5 | 64
1030 | 2024-05-04 15:10 | 1.4067 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.3168 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.344 | 24482.4677 | 50316.95 | 5 | 64
1031 | 2024-05-04 15:11 | 1.4235 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.6546 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.166 | 24232.6716 | 50310.708 | 5 | 64
1032 | 2024-05-04 15:11 | 1.4403 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8183 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.081 | 24154.9866 | 50314.0245 | 5 | 64
1033 | 2024-05-04 15:11 | 1.4572 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8803 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.049 | 24110.9926 | 50315.923 | 5 | 64
1034 | 2024-05-04 15:11 | 1.474 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9095 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.034 | 24063.3319 | 50312.8378 | 5 | 64
1035 | 2024-05-04 15:11 | 1.4901 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24045.9332 | 50314.0309 | 5 | 64
1036 | 2024-05-04 15:11 | 1.5069 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 23999.0723 | 50308.0798 | 5 | 64
1037 | 2024-05-04 15:11 | 1.5238 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23967.1009 | 50312.9837 | 5 | 64
1038 | 2024-05-04 15:11 | 1.5406 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 23968.356 | 50316.9198 | 5 | 64
1039 | 2024-05-04 15:11 | 1.5566 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 23961.7732 | 50314.5871 | 5 | 64
1040 | 2024-05-04 15:11 | 1.5735 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 23972.7137 | 50315.9216 | 5 | 64
1041 | 2024-05-04 15:11 | 1.5903 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9348 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 23971.7391 | 50321.2681 | 5 | 64
1042 | 2024-05-04 15:11 | 1.6072 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 23929.4 | 50313.9229 | 5 | 64
1043 | 2024-05-04 15:11 | 1.624 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 23922.4703 | 50304.7016 | 5 | 64
1044 | 2024-05-04 15:11 | 1.64 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 23921.8641 | 50301.8981 | 5 | 64
1045 | 2024-05-04 15:11 | 1.6568 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9816 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.997 | 23901.5748 | 50312.802 | 5 | 64
1046 | 2024-05-04 15:11 | 1.6737 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 23936.2135 | 50315.3962 | 5 | 64
1047 | 2024-05-04 15:11 | 1.6905 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23910.9609 | 50305.0776 | 5 | 64
1048 | 2024-05-04 15:11 | 1.7074 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 23932.4188 | 50308.1202 | 5 | 64
1049 | 2024-05-04 15:11 | 1.7233 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9816 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.997 | 23906.0087 | 50309.3642 | 5 | 64
1050 | 2024-05-04 15:11 | 1.7402 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 23884.933 | 50313.5995 | 5 | 64
1051 | 2024-05-04 15:11 | 1.757 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 23919.8496 | 50305.1274 | 5 | 64
1052 | 2024-05-04 15:11 | 1.7739 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 23872.6295 | 50320.0421 | 5 | 64
1053 | 2024-05-04 15:11 | 1.7907 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23865.5004 | 50307.3543 | 5 | 64
1054 | 2024-05-04 15:11 | 1.8067 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 23855.8895 | 50311.863 | 5 | 64
1055 | 2024-05-04 15:11 | 1.8236 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 23863.71 | 50306.882 | 5 | 64
1056 | 2024-05-04 15:11 | 1.8405 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 23853.5278 | 50303.9745 | 5 | 64
1057 | 2024-05-04 15:11 | 1.8574 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 23842.8153 | 50298.0393 | 5 | 64
1058 | 2024-05-04 15:11 | 1.8734 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 23800.17 | 50302.6989 | 5 | 64
1059 | 2024-05-04 15:11 | 1.8902 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9953 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 23779.9332 | 50311.2195 | 5 | 64
1060 | 2024-05-04 15:11 | 1.907 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9543 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 23769.2867 | 50303.8689 | 5 | 64
1061 | 2024-05-04 15:11 | 1.9239 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.995 | 23796.4865 | 50306.4211 | 5 | 64
1062 | 2024-05-04 15:11 | 1.9408 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 23790.1292 | 50310.2956 | 5 | 64
1063 | 2024-05-04 15:11 | 1.9568 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 23780.8115 | 50319.2133 | 5 | 64
1064 | 2024-05-04 15:11 | 1.9736 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9139 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 23794.5383 | 50305.7854 | 5 | 64
1065 | 2024-05-04 15:11 | 1.9905 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9236 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 23781.8117 | 50305.5949 | 5 | 64
1066 | 2024-05-04 15:11 | 2.0073 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9626 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 23813.1397 | 50306.891 | 5 | 64
1067 | 2024-05-04 15:11 | 2.0233 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9216 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 23793.8203 | 50303.8098 | 5 | 64
1068 | 2024-05-04 15:11 | 2.0402 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 23756.025 | 50309.3213 | 5 | 64