## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-05-04 15:17

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1069 | 2024-05-04 15:15 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9744 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.58 | 40782.0032 | 50336.3501 | 5 | 64
1070 | 2024-05-04 15:15 | 0.021931 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9694 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.588 | 40739.9251 | 50328.5711 | 5 | 64
1071 | 2024-05-04 15:15 | 0.038791 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9694 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.588 | 40567.2364 | 50335.3065 | 5 | 64
1072 | 2024-05-04 15:15 | 0.055682 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9707 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.586 | 40602.3145 | 50344.8579 | 5 | 64
1073 | 2024-05-04 15:15 | 0.071696 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9775 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.575 | 40640.9355 | 50349.7906 | 5 | 64
1074 | 2024-05-04 15:15 | 0.088533 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.975 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.579 | 40676.8385 | 50342.1004 | 5 | 64
1075 | 2024-05-04 15:15 | 0.10537 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9818 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.568 | 40629.835 | 50351.0466 | 5 | 64
1076 | 2024-05-04 15:15 | 0.12223 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9856 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.562 | 40643.3492 | 50337.5552 | 5 | 64
1077 | 2024-05-04 15:15 | 0.13908 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9713 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.585 | 40624.9456 | 50344.1445 | 5 | 64
1078 | 2024-05-04 15:15 | 0.15509 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.975 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.579 | 40765.6782 | 50341.3069 | 5 | 64
1079 | 2024-05-04 15:15 | 0.17189 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9731 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.582 | 40565.1853 | 50347.7954 | 5 | 64
1080 | 2024-05-04 15:15 | 0.18875 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.559 | 40680.1019 | 50340.821 | 5 | 64
1081 | 2024-05-04 15:15 | 0.2056 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9794 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.572 | 40710.2386 | 50335.6583 | 5 | 64
1082 | 2024-05-04 15:15 | 0.22245 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9825 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.567 | 40732.7447 | 50334.5581 | 5 | 64
1083 | 2024-05-04 15:15 | 0.23841 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9787 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.573 | 40717.1276 | 50333.7038 | 5 | 64
1084 | 2024-05-04 15:15 | 0.25528 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9762 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.577 | 40547.701 | 50337.5708 | 5 | 64
1085 | 2024-05-04 15:15 | 0.2721 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9794 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.572 | 40319.0553 | 50334.5196 | 5 | 64
1086 | 2024-05-04 15:15 | 0.28895 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9893 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.556 | 40426.5132 | 50334.5191 | 5 | 64
1087 | 2024-05-04 15:15 | 0.30578 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.581 | 40573.5733 | 50331.8191 | 5 | 64
1088 | 2024-05-04 15:15 | 0.32179 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9787 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.573 | 40380.5514 | 50328.6008 | 5 | 64
1089 | 2024-05-04 15:15 | 0.33864 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9818 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.568 | 40425.8013 | 50330.1501 | 5 | 64
1090 | 2024-05-04 15:15 | 0.35548 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.985 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.563 | 40270.6636 | 50338.2648 | 5 | 64
1091 | 2024-05-04 15:15 | 0.37231 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9756 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.578 | 40139.7465 | 50333.8665 | 5 | 64
1092 | 2024-05-04 15:15 | 0.38917 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9812 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.569 | 40099.3729 | 50331.4878 | 5 | 64
1093 | 2024-05-04 15:15 | 0.40516 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.581 | 40073.1607 | 50324.4695 | 5 | 64
1094 | 2024-05-04 15:15 | 0.42199 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9887 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.557 | 40084.2362 | 50337.622 | 5 | 64
1095 | 2024-05-04 15:15 | 0.43882 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9893 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.556 | 40037.2904 | 50328.9587 | 5 | 64
1096 | 2024-05-04 15:15 | 0.45568 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9843 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.564 | 40028.0359 | 50329.5324 | 5 | 64
1097 | 2024-05-04 15:15 | 0.4717 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9856 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.562 | 39994.6327 | 50334.6959 | 5 | 64
1098 | 2024-05-04 15:15 | 0.48853 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9912 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.553 | 39978.7108 | 50328.8708 | 5 | 64
1099 | 2024-05-04 15:15 | 0.50542 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9769 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.576 | 39892.5705 | 50325.8896 | 5 | 64
1100 | 2024-05-04 15:15 | 0.52226 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9899 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.555 | 39910.1292 | 50336.7162 | 5 | 64
1101 | 2024-05-04 15:15 | 0.53908 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9899 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.555 | 39858.1664 | 50332.3088 | 5 | 64
1102 | 2024-05-04 15:15 | 0.55507 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9893 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.556 | 39862.9421 | 50333.9535 | 5 | 64
1103 | 2024-05-04 15:15 | 0.57192 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9831 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.566 | 39837.5355 | 50326.2806 | 5 | 64
1104 | 2024-05-04 15:15 | 0.58874 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9843 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.564 | 39821.6855 | 50319.3947 | 5 | 64
1105 | 2024-05-04 15:15 | 0.60556 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9893 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.556 | 39965.8594 | 50324.8585 | 5 | 64
1106 | 2024-05-04 15:15 | 0.62242 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9956 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.546 | 39945.65 | 50328.5221 | 5 | 64
1107 | 2024-05-04 15:15 | 0.6384 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9924 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.551 | 39962.7173 | 50324.8552 | 5 | 64
1108 | 2024-05-04 15:15 | 0.65524 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9868 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.56 | 40000.3902 | 50329.349 | 5 | 64
1109 | 2024-05-04 15:15 | 0.67209 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.9287 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 39.125 | 38465.5036 | 50328.5304 | 5 | 64
1110 | 2024-05-04 15:15 | 0.68893 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 14.1894 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 32.36 | 30599.8101 | 50329.7165 | 5 | 64
1111 | 2024-05-04 15:15 | 0.70578 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 17.7299 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 29.838 | 27575.7762 | 50328.9982 | 5 | 64
1112 | 2024-05-04 15:15 | 0.72175 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.3484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.875 | 26371.6326 | 50339.3281 | 5 | 64
1113 | 2024-05-04 15:15 | 0.73861 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.2101 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.401 | 25776.2432 | 50324.5781 | 5 | 64
1114 | 2024-05-04 15:15 | 0.75547 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.5743 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.208 | 25550.1006 | 50326.4889 | 5 | 64
1115 | 2024-05-04 15:15 | 0.7723 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.7237 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.13 | 25404.6874 | 50321.3036 | 5 | 64
1116 | 2024-05-04 15:15 | 0.7891 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8823 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.048 | 25364.9304 | 50321.6989 | 5 | 64
1117 | 2024-05-04 15:15 | 0.80505 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9017 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.038 | 25346.7608 | 50317.2218 | 5 | 64
1118 | 2024-05-04 15:15 | 0.8219 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 25337.7046 | 50327.1343 | 5 | 64
1119 | 2024-05-04 15:15 | 0.83874 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.892 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.043 | 25371.6317 | 50322.9092 | 5 | 64
1120 | 2024-05-04 15:15 | 0.85557 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 25360.5044 | 50320.4342 | 5 | 64
1121 | 2024-05-04 15:15 | 0.87239 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 25383.6633 | 50321.1341 | 5 | 64
1122 | 2024-05-04 15:16 | 0.8884 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 25359.9321 | 50316.2649 | 5 | 64
1123 | 2024-05-04 15:16 | 0.90527 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9836 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 25388.2985 | 50319.1287 | 5 | 64
1124 | 2024-05-04 15:16 | 0.92211 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9816 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.997 | 25371.9911 | 50325.0197 | 5 | 64
1125 | 2024-05-04 15:16 | 0.93896 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9134 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.032 | 25365.4338 | 50322.9876 | 5 | 64
1126 | 2024-05-04 15:16 | 0.95582 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 25366.9384 | 50313.3485 | 5 | 64
1127 | 2024-05-04 15:16 | 0.97185 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 25378.3888 | 50323.8966 | 5 | 64
1128 | 2024-05-04 15:16 | 0.98869 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9992 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 25363.354 | 50327.9792 | 5 | 64
1129 | 2024-05-04 15:16 | 1.0056 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 25342.8782 | 50329.1594 | 5 | 64
1130 | 2024-05-04 15:16 | 1.0224 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9289 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 25331.7944 | 50316.1126 | 5 | 64
1131 | 2024-05-04 15:16 | 1.0384 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9797 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.998 | 25364.7974 | 50324.1244 | 5 | 64
1132 | 2024-05-04 15:16 | 1.0552 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 25345.0378 | 50323.6636 | 5 | 64
1133 | 2024-05-04 15:16 | 1.0721 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 25331.1571 | 50328.4581 | 5 | 64
1134 | 2024-05-04 15:16 | 1.0889 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 25374.2746 | 50320.4829 | 5 | 64
1135 | 2024-05-04 15:16 | 1.1057 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 25369.896 | 50329.209 | 5 | 64
1136 | 2024-05-04 15:16 | 1.1218 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 25358.8184 | 50310.8748 | 5 | 64
1137 | 2024-05-04 15:16 | 1.1386 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 25383.4402 | 50314.8288 | 5 | 64
1138 | 2024-05-04 15:16 | 1.1555 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 25344.3464 | 50318.2192 | 5 | 64
1139 | 2024-05-04 15:16 | 1.1724 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9314 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 25366.1638 | 50329.6912 | 5 | 64
1140 | 2024-05-04 15:16 | 1.1883 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9606 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.997 | 25371.4235 | 50324.9029 | 5 | 64
1141 | 2024-05-04 15:16 | 1.2051 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9392 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 25347.487 | 50324.7998 | 5 | 64
1142 | 2024-05-04 15:16 | 1.222 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9333 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 25381.1711 | 50324.3428 | 5 | 64
1143 | 2024-05-04 15:16 | 1.2389 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9645 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.995 | 25400.8342 | 50324.3215 | 5 | 64
1144 | 2024-05-04 15:16 | 1.2557 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9684 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 25414.0426 | 50321.9436 | 5 | 64
1145 | 2024-05-04 15:16 | 1.2717 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9236 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 25414.64 | 50332.2113 | 5 | 64
1146 | 2024-05-04 15:16 | 1.2886 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9743 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 25396.1826 | 50312.8389 | 5 | 64
1147 | 2024-05-04 15:16 | 1.3054 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9489 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 25425.8239 | 50327.366 | 5 | 64
1148 | 2024-05-04 15:16 | 1.3222 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.986 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.984 | 25335.8084 | 50319.0544 | 5 | 64
1149 | 2024-05-04 15:16 | 1.3391 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.322 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.879 | 26373.4527 | 50321.9229 | 5 | 64
1150 | 2024-05-04 15:16 | 1.3551 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 13.2031 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 33.18 | 31616.5329 | 50321.4384 | 5 | 64
1151 | 2024-05-04 15:16 | 1.3719 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 9.9449 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 36.486 | 35601.3163 | 50317.251 | 5 | 64
1152 | 2024-05-04 15:16 | 1.3888 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.3979 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 38.452 | 37925.565 | 50319.7942 | 5 | 64
1153 | 2024-05-04 15:16 | 1.4056 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.6491 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 39.524 | 39135.9861 | 50316.7969 | 5 | 64
1154 | 2024-05-04 15:16 | 1.4224 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.3133 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.034 | 39745.55 | 50312.3107 | 5 | 64
1155 | 2024-05-04 15:16 | 1.4385 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1647 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.266 | 40015.8377 | 50318.2865 | 5 | 64
1156 | 2024-05-04 15:16 | 1.4553 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0793 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.401 | 40191.4981 | 50323.5338 | 5 | 64
1157 | 2024-05-04 15:16 | 1.4722 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.05 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.459 | 40221.3733 | 50319.4798 | 5 | 64
1158 | 2024-05-04 15:16 | 1.489 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0293 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.492 | 40278.6021 | 50336.7279 | 5 | 64
1159 | 2024-05-04 15:16 | 1.505 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0224 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.503 | 40294.0103 | 50322.801 | 5 | 64
1160 | 2024-05-04 15:16 | 1.5219 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0155 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.514 | 40357.6646 | 50315.9305 | 5 | 64
1161 | 2024-05-04 15:16 | 1.5387 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0105 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.522 | 40361.3567 | 50326.2384 | 5 | 64
1162 | 2024-05-04 15:16 | 1.5556 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0112 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.521 | 40356.6427 | 50327.0099 | 5 | 64
1163 | 2024-05-04 15:16 | 1.5724 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0118 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.52 | 40425.0834 | 50327.029 | 5 | 64
1164 | 2024-05-04 15:16 | 1.5884 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0055 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.53 | 40406.6337 | 50333.3546 | 5 | 64
1165 | 2024-05-04 15:16 | 1.6053 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0093 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.524 | 40447.646 | 50323.8597 | 5 | 64
1166 | 2024-05-04 15:16 | 1.6221 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0049 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.531 | 40417.8483 | 50327.2899 | 5 | 64
1167 | 2024-05-04 15:16 | 1.639 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0068 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.528 | 40412.9366 | 50325.9823 | 5 | 64
1168 | 2024-05-04 15:16 | 1.655 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0074 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.527 | 40423.9307 | 50324.1805 | 5 | 64
1169 | 2024-05-04 15:16 | 1.6718 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0068 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.528 | 40417.8591 | 50315.9767 | 5 | 64
1170 | 2024-05-04 15:16 | 1.6887 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0043 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.532 | 40450.0281 | 50327.8927 | 5 | 64
1171 | 2024-05-04 15:16 | 1.7055 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0149 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.515 | 40429.1824 | 50331.162 | 5 | 64
1172 | 2024-05-04 15:16 | 1.7223 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0099 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.523 | 40488.1845 | 50322.2032 | 5 | 64
1173 | 2024-05-04 15:16 | 1.7391 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0105 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.522 | 40448.2834 | 50317.2733 | 5 | 64
1174 | 2024-05-04 15:16 | 1.7551 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0068 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.528 | 40461.1911 | 50324.4116 | 5 | 64
1175 | 2024-05-04 15:16 | 1.772 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0049 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.531 | 40480.4571 | 50324.3022 | 5 | 64
1176 | 2024-05-04 15:16 | 1.7888 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0055 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.53 | 40428.094 | 50313.7071 | 5 | 64
1177 | 2024-05-04 15:16 | 1.8057 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.003 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.534 | 40433.961 | 50314.4559 | 5 | 64
1178 | 2024-05-04 15:16 | 1.8217 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.008 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.526 | 40485.1673 | 50328.9456 | 5 | 64
1179 | 2024-05-04 15:16 | 1.8386 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0118 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.52 | 40430.1611 | 50323.4475 | 5 | 64
1180 | 2024-05-04 15:16 | 1.8554 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0068 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.528 | 40406.6547 | 50321.0687 | 5 | 64
1181 | 2024-05-04 15:16 | 1.8722 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0149 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.515 | 40407.3304 | 50318.0469 | 5 | 64
1182 | 2024-05-04 15:17 | 1.889 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0124 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.519 | 40445.5758 | 50323.2003 | 5 | 64
1183 | 2024-05-04 15:17 | 1.905 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0018 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.536 | 40414.2168 | 50321.2921 | 5 | 64
1184 | 2024-05-04 15:17 | 1.9218 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0093 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.524 | 40454.0485 | 50323.2198 | 5 | 64
1185 | 2024-05-04 15:17 | 1.9387 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0093 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.524 | 40493.7604 | 50321.9936 | 5 | 64
1186 | 2024-05-04 15:17 | 1.9556 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0062 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.529 | 40519.5907 | 50315.6629 | 5 | 64
1187 | 2024-05-04 15:17 | 1.9724 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0161 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.513 | 40554.5618 | 50319.4383 | 5 | 64
1188 | 2024-05-04 15:17 | 1.9884 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0068 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.528 | 40549.1455 | 50320.646 | 5 | 64
1189 | 2024-05-04 15:17 | 2.0053 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0068 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.528 | 40558.007 | 50325.9432 | 5 | 64
1190 | 2024-05-04 15:17 | 2.0221 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0037 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.533 | 40593.2543 | 50330.282 | 5 | 64