## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-05-04 15:21

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1191 | 2024-05-04 15:19 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9843 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.564 | 38744.7214 | 50307.9407 | 5 | 64
1192 | 2024-05-04 15:19 | 0.013475 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9924 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.551 | 38757.9191 | 50331.2614 | 5 | 64
1193 | 2024-05-04 15:19 | 0.029482 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9725 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.583 | 38768.5867 | 50329.9719 | 5 | 64
1194 | 2024-05-04 15:19 | 0.046322 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9818 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.568 | 38777.0581 | 50338.5551 | 5 | 64
1195 | 2024-05-04 15:19 | 0.063192 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9794 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.572 | 38778.216 | 50334.1608 | 5 | 64
1196 | 2024-05-04 15:19 | 0.080029 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9787 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.573 | 38791.5489 | 50332.8272 | 5 | 64
1197 | 2024-05-04 15:19 | 0.09686 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9931 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.55 | 38800.358 | 50331.7583 | 5 | 64
1198 | 2024-05-04 15:19 | 0.11282 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9806 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.57 | 38809.4912 | 50332.3887 | 5 | 64
1199 | 2024-05-04 15:19 | 0.12967 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9856 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.562 | 38785.1091 | 50330.0324 | 5 | 64
1200 | 2024-05-04 15:19 | 0.1465 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9843 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.564 | 38814.844 | 50336.305 | 5 | 64
1201 | 2024-05-04 15:19 | 0.16335 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9825 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.567 | 38791.415 | 50322.7162 | 5 | 64
1202 | 2024-05-04 15:19 | 0.18021 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9806 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.57 | 38776.9544 | 50323.3087 | 5 | 64
1203 | 2024-05-04 15:19 | 0.1962 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9756 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.578 | 38798.9729 | 50322.4714 | 5 | 64
1204 | 2024-05-04 15:19 | 0.21307 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9806 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.57 | 38798.1798 | 50312.4483 | 5 | 64
1205 | 2024-05-04 15:19 | 0.22993 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9825 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.567 | 38797.0292 | 50312.9835 | 5 | 64
1206 | 2024-05-04 15:19 | 0.24676 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9818 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.568 | 38782.6227 | 50315.4224 | 5 | 64
1207 | 2024-05-04 15:20 | 0.26357 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.559 | 38773.9074 | 50330.2185 | 5 | 64
1208 | 2024-05-04 15:20 | 0.27956 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9893 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.556 | 38793.0784 | 50326.5837 | 5 | 64
1209 | 2024-05-04 15:20 | 0.29638 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9794 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.572 | 38768.5961 | 50318.5689 | 5 | 64
1210 | 2024-05-04 15:20 | 0.31325 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9887 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.557 | 38777.2661 | 50313.5056 | 5 | 64
1211 | 2024-05-04 15:20 | 0.33009 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9843 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.564 | 38786.9993 | 50316.0269 | 5 | 64
1212 | 2024-05-04 15:20 | 0.34612 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9924 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.551 | 38798.1113 | 50323.0749 | 5 | 64
1213 | 2024-05-04 15:20 | 0.36292 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9831 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.566 | 38819.1052 | 50327.6519 | 5 | 64
1214 | 2024-05-04 15:20 | 0.37976 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.559 | 38798.8614 | 50330.5858 | 5 | 64
1215 | 2024-05-04 15:20 | 0.3966 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9887 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.557 | 38794.3025 | 50327.2215 | 5 | 64
1216 | 2024-05-04 15:20 | 0.4134 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.998 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.542 | 38800.351 | 50315.6264 | 5 | 64
1217 | 2024-05-04 15:20 | 0.4302 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9837 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.565 | 38798.3632 | 50312.3996 | 5 | 64
1218 | 2024-05-04 15:20 | 0.4462 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9906 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.554 | 38807.2927 | 50323.3715 | 5 | 64
1219 | 2024-05-04 15:20 | 0.46306 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9924 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.551 | 38822.4651 | 50327.0822 | 5 | 64
1220 | 2024-05-04 15:20 | 0.47992 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.985 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.563 | 38837.9222 | 50311.0106 | 5 | 64
1221 | 2024-05-04 15:20 | 0.49678 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9912 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.553 | 38824.0477 | 50316.3143 | 5 | 64
1222 | 2024-05-04 15:20 | 0.51278 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9956 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.546 | 38850.965 | 50308.5762 | 5 | 64
1223 | 2024-05-04 15:20 | 0.52958 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9881 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.558 | 38812.2668 | 50324.772 | 5 | 64
1224 | 2024-05-04 15:20 | 0.54642 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9899 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.555 | 38801.3715 | 50322.2621 | 5 | 64
1225 | 2024-05-04 15:20 | 0.56328 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9937 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.549 | 38812.5083 | 50318.3659 | 5 | 64
1226 | 2024-05-04 15:20 | 0.58014 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9893 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.556 | 38852.5172 | 50322.004 | 5 | 64
1227 | 2024-05-04 15:20 | 0.59616 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9887 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.557 | 38835.8483 | 50318.8926 | 5 | 64
1228 | 2024-05-04 15:20 | 0.61297 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9918 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.552 | 38827.3311 | 50323.0943 | 5 | 64
1229 | 2024-05-04 15:20 | 0.62986 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9943 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.548 | 38844.7663 | 50321.365 | 5 | 64
1230 | 2024-05-04 15:20 | 0.64668 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9881 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.558 | 38855.4201 | 50317.8799 | 5 | 64
1231 | 2024-05-04 15:20 | 0.66354 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9762 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.577 | 38882.1607 | 50322.452 | 5 | 64
1232 | 2024-05-04 15:20 | 0.67958 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 11.1075 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 35.205 | 32991.7188 | 50317.0594 | 5 | 64
1233 | 2024-05-04 15:20 | 0.69643 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 16.1445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 30.888 | 28001.7861 | 50316.118 | 5 | 64
1234 | 2024-05-04 15:20 | 0.71329 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 18.6606 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 29.272 | 26070.2085 | 50315.1551 | 5 | 64
1235 | 2024-05-04 15:20 | 0.73015 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.8464 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.598 | 25251.1889 | 50312.817 | 5 | 64
1236 | 2024-05-04 15:20 | 0.74615 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.3959 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.302 | 24898.3668 | 50312.2543 | 5 | 64
1237 | 2024-05-04 15:20 | 0.76299 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.6642 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.161 | 24701.9992 | 50306.8968 | 5 | 64
1238 | 2024-05-04 15:20 | 0.77986 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8473 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.066 | 24618.3457 | 50307.6532 | 5 | 64
1239 | 2024-05-04 15:20 | 0.79669 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9134 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.032 | 24587.4339 | 50308.508 | 5 | 64
1240 | 2024-05-04 15:20 | 0.81355 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24572.0275 | 50311.8499 | 5 | 64
1241 | 2024-05-04 15:20 | 0.82957 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 24565.7646 | 50307.9153 | 5 | 64
1242 | 2024-05-04 15:20 | 0.8464 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9426 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 24555.3375 | 50316.6108 | 5 | 64
1243 | 2024-05-04 15:20 | 0.86328 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9543 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 24554.1898 | 50307.8751 | 5 | 64
1244 | 2024-05-04 15:20 | 0.88017 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9289 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 24571.1755 | 50304.6018 | 5 | 64
1245 | 2024-05-04 15:20 | 0.89619 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9679 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.004 | 24551.8548 | 50314.0959 | 5 | 64
1246 | 2024-05-04 15:20 | 0.91304 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 24560.4869 | 50313.5613 | 5 | 64
1247 | 2024-05-04 15:20 | 0.92985 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 24558.5882 | 50316.1171 | 5 | 64
1248 | 2024-05-04 15:20 | 0.94665 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 24550.7317 | 50316.5664 | 5 | 64
1249 | 2024-05-04 15:20 | 0.96351 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24546.0937 | 50304.6038 | 5 | 64
1250 | 2024-05-04 15:20 | 0.97951 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 24538.5755 | 50310.0045 | 5 | 64
1251 | 2024-05-04 15:20 | 0.99633 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 24521.6174 | 50307.6524 | 5 | 64
1252 | 2024-05-04 15:20 | 1.0132 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24506.6808 | 50312.1839 | 5 | 64
1253 | 2024-05-04 15:20 | 1.03 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24580.7847 | 50314.1205 | 5 | 64
1254 | 2024-05-04 15:20 | 1.0468 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24579.0599 | 50310.8268 | 5 | 64
1255 | 2024-05-04 15:20 | 1.0628 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 24586.6792 | 50317.5091 | 5 | 64
1256 | 2024-05-04 15:20 | 1.0797 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 24520.9244 | 50315.2959 | 5 | 64
1257 | 2024-05-04 15:20 | 1.0965 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9836 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 24477.9768 | 50312.4722 | 5 | 64
1258 | 2024-05-04 15:20 | 1.1134 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 24539.3933 | 50306.6258 | 5 | 64
1259 | 2024-05-04 15:20 | 1.1294 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0051 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.985 | 24545.7376 | 50312.4761 | 5 | 64
1260 | 2024-05-04 15:20 | 1.1462 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 24518.469 | 50310.2979 | 5 | 64
1261 | 2024-05-04 15:20 | 1.1631 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24502.4778 | 50315.0105 | 5 | 64
1262 | 2024-05-04 15:20 | 1.1799 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9816 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.997 | 24495.9942 | 50318.5294 | 5 | 64
1263 | 2024-05-04 15:20 | 1.1968 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 24502.8175 | 50311.7776 | 5 | 64
1264 | 2024-05-04 15:20 | 1.2128 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 24478.2513 | 50310.9852 | 5 | 64
1265 | 2024-05-04 15:20 | 1.2297 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 24471.8061 | 50314.9094 | 5 | 64
1266 | 2024-05-04 15:20 | 1.2465 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 24494.457 | 50305.2668 | 5 | 64
1267 | 2024-05-04 15:21 | 1.2633 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0051 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.985 | 24478.9535 | 50308.9777 | 5 | 64
1268 | 2024-05-04 15:21 | 1.2802 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9953 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 24506.2969 | 50315.6508 | 5 | 64
1269 | 2024-05-04 15:21 | 1.2962 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 24490.3287 | 50309.6719 | 5 | 64
1270 | 2024-05-04 15:21 | 1.313 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 24510.6135 | 50314.1435 | 5 | 64
1271 | 2024-05-04 15:21 | 1.3299 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 24538.0893 | 50308.1962 | 5 | 64
1272 | 2024-05-04 15:21 | 1.3468 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 15.8532 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 31.094 | 28055.2548 | 50305.2705 | 5 | 64
1273 | 2024-05-04 15:21 | 1.3628 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 11.405 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 34.896 | 32516.8139 | 50304.4795 | 5 | 64
1274 | 2024-05-04 15:21 | 1.3796 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 9.1078 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 37.523 | 35532.7258 | 50313.1691 | 5 | 64
1275 | 2024-05-04 15:21 | 1.3965 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.0176 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 38.997 | 37147.1193 | 50309.7631 | 5 | 64
1276 | 2024-05-04 15:21 | 1.4133 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.495 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 39.767 | 38010.7065 | 50316.1601 | 5 | 64
1277 | 2024-05-04 15:21 | 1.4302 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.2511 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.142 | 38423.7931 | 50308.0364 | 5 | 64
1278 | 2024-05-04 15:21 | 1.4462 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1325 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.328 | 38630.0497 | 50314.8326 | 5 | 64
1279 | 2024-05-04 15:21 | 1.463 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0656 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.434 | 38727.1662 | 50308.2933 | 5 | 64
1280 | 2024-05-04 15:21 | 1.4799 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0412 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.473 | 38777.0287 | 50315.4201 | 5 | 64
1281 | 2024-05-04 15:21 | 1.4967 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0218 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.504 | 38786.8705 | 50307.7958 | 5 | 64
1282 | 2024-05-04 15:21 | 1.5135 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.018 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.51 | 38787.8571 | 50311.8722 | 5 | 64
1283 | 2024-05-04 15:21 | 1.5296 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0112 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.521 | 38823.3085 | 50308.7037 | 5 | 64
1284 | 2024-05-04 15:21 | 1.5464 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0174 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.511 | 38803.2495 | 50316.5392 | 5 | 64
1285 | 2024-05-04 15:21 | 1.5632 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0124 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.519 | 38798.7373 | 50308.757 | 5 | 64
1286 | 2024-05-04 15:21 | 1.5801 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0005 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.538 | 38758.3379 | 50299.6491 | 5 | 64
1287 | 2024-05-04 15:21 | 1.5961 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0143 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.516 | 38781.3105 | 50316.1078 | 5 | 64
1288 | 2024-05-04 15:21 | 1.613 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0174 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.511 | 38741.1383 | 50309.6126 | 5 | 64
1289 | 2024-05-04 15:21 | 1.6298 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0037 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.533 | 38769.9739 | 50312.5623 | 5 | 64
1290 | 2024-05-04 15:21 | 1.6467 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0112 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.521 | 38777.3662 | 50314.8289 | 5 | 64
1291 | 2024-05-04 15:21 | 1.6635 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0062 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.529 | 38739.5003 | 50311.0384 | 5 | 64
1292 | 2024-05-04 15:21 | 1.6795 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0018 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.536 | 38721.2172 | 50311.2699 | 5 | 64
1293 | 2024-05-04 15:21 | 1.6963 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0055 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.53 | 38769.4494 | 50321.2499 | 5 | 64
1294 | 2024-05-04 15:21 | 1.7132 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0037 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.533 | 38750.4088 | 50303.7158 | 5 | 64
1295 | 2024-05-04 15:21 | 1.7301 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0018 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.536 | 38752.8783 | 50302.5744 | 5 | 64
1296 | 2024-05-04 15:21 | 1.7469 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0043 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.532 | 38749.5461 | 50315.3045 | 5 | 64
1297 | 2024-05-04 15:21 | 1.7629 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0093 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.524 | 38743.1212 | 50309.8723 | 5 | 64
1298 | 2024-05-04 15:21 | 1.7797 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0093 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.524 | 38764.7064 | 50311.2379 | 5 | 64
1299 | 2024-05-04 15:21 | 1.7966 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0193 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.508 | 38763.3489 | 50309.3823 | 5 | 64
1300 | 2024-05-04 15:21 | 1.8134 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0105 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.522 | 38780.6212 | 50310.0822 | 5 | 64
1301 | 2024-05-04 15:21 | 1.8302 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0155 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.514 | 38776.2885 | 50310.932 | 5 | 64
1302 | 2024-05-04 15:21 | 1.8462 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0024 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.535 | 38754.3545 | 50302.9398 | 5 | 64
1303 | 2024-05-04 15:21 | 1.863 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0199 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.507 | 38748.6519 | 50310.7064 | 5 | 64
1304 | 2024-05-04 15:21 | 1.8799 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0093 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.524 | 38753.5793 | 50306.7342 | 5 | 64
1305 | 2024-05-04 15:21 | 1.8967 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0062 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.529 | 38787.4779 | 50301.8506 | 5 | 64
1306 | 2024-05-04 15:21 | 1.9135 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0112 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.521 | 38765.0806 | 50312.5932 | 5 | 64
1307 | 2024-05-04 15:21 | 1.9295 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.008 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.526 | 38742.5665 | 50317.1098 | 5 | 64
1308 | 2024-05-04 15:21 | 1.9464 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9993 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.54 | 38712.1653 | 50317.4706 | 5 | 64
1309 | 2024-05-04 15:21 | 1.9633 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0087 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.525 | 38677.9079 | 50308.8699 | 5 | 64
1310 | 2024-05-04 15:21 | 1.9801 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0136 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.517 | 38641.5174 | 50303.9799 | 5 | 64
1311 | 2024-05-04 15:21 | 1.9961 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0093 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.524 | 38640.2461 | 50318.4174 | 5 | 64
1312 | 2024-05-04 15:21 | 2.013 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0043 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.532 | 38679.233 | 50307.4009 | 5 | 64
1313 | 2024-05-04 15:21 | 2.0298 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.008 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.526 | 38643.9902 | 50310.4432 | 5 | 64