## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-06-08 17:32

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1439 | 2024-06-08 17:30 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9914 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.992 | 23510.684 | 50398.7277 | 5 | 64
1440 | 2024-06-08 17:30 | 0.0092592 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9289 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 23571.5157 | 50399.1421 | 5 | 64
1441 | 2024-06-08 17:30 | 0.026108 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9914 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.992 | 23610.7253 | 50414.8771 | 5 | 64
1442 | 2024-06-08 17:30 | 0.042959 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 23526.0184 | 50414.086 | 5 | 64
1443 | 2024-06-08 17:30 | 0.059824 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9426 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 23531.2392 | 50410.0754 | 5 | 64
1444 | 2024-06-08 17:30 | 0.076714 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 23531.1202 | 50412.4684 | 5 | 64
1445 | 2024-06-08 17:30 | 0.09269 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 23522.4239 | 50408.4374 | 5 | 64
1446 | 2024-06-08 17:30 | 0.10952 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9953 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 23516.6361 | 50406.4171 | 5 | 64
1447 | 2024-06-08 17:30 | 0.12635 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 23533.2328 | 50411.9912 | 5 | 64
1448 | 2024-06-08 17:30 | 0.14318 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0012 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 23544.1447 | 50407.8873 | 5 | 64
1449 | 2024-06-08 17:30 | 0.16004 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 23537.9119 | 50405.7173 | 5 | 64
1450 | 2024-06-08 17:30 | 0.17604 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9543 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 23551.071 | 50410.2536 | 5 | 64
1451 | 2024-06-08 17:30 | 0.19286 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 23530.0135 | 50407.4103 | 5 | 64
1452 | 2024-06-08 17:30 | 0.20972 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9933 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.991 | 23498.7763 | 50395.6911 | 5 | 64
1453 | 2024-06-08 17:30 | 0.22656 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9679 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.004 | 23516.3775 | 50399.4572 | 5 | 64
1454 | 2024-06-08 17:30 | 0.24338 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 23500.3407 | 50394.7328 | 5 | 64
1455 | 2024-06-08 17:30 | 0.25938 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9543 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 23493.188 | 50402.1475 | 5 | 64
1456 | 2024-06-08 17:30 | 0.27625 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9894 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 23502.6453 | 50408.1071 | 5 | 64
1457 | 2024-06-08 17:30 | 0.29308 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 23488.5819 | 50394.5877 | 5 | 64
1458 | 2024-06-08 17:30 | 0.3099 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0012 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 23499.383 | 50396.6342 | 5 | 64
1459 | 2024-06-08 17:31 | 0.32591 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 23496.2778 | 50394.6755 | 5 | 64
1460 | 2024-06-08 17:31 | 0.34275 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 23514.3936 | 50399.3445 | 5 | 64
1461 | 2024-06-08 17:31 | 0.35958 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 23520.3302 | 50393.6919 | 5 | 64
1462 | 2024-06-08 17:31 | 0.37641 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0012 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 23502.0481 | 50391.6778 | 5 | 64
1463 | 2024-06-08 17:31 | 0.39326 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 23496.7542 | 50390.1313 | 5 | 64
1464 | 2024-06-08 17:31 | 0.40931 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9836 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 23521.5146 | 50390.2575 | 5 | 64
1465 | 2024-06-08 17:31 | 0.42613 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0149 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.98 | 23485.8156 | 50399.398 | 5 | 64
1466 | 2024-06-08 17:31 | 0.443 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.995 | 23494.3536 | 50398.3057 | 5 | 64
1467 | 2024-06-08 17:31 | 0.45983 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.995 | 23482.6849 | 50400.7215 | 5 | 64
1468 | 2024-06-08 17:31 | 0.4767 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0051 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.985 | 23499.1815 | 50396.2292 | 5 | 64
1469 | 2024-06-08 17:31 | 0.4927 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 23487.4636 | 50387.1063 | 5 | 64
1470 | 2024-06-08 17:31 | 0.50953 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0012 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 23520.0588 | 50392.0917 | 5 | 64
1471 | 2024-06-08 17:31 | 0.52639 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0129 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.981 | 23493.3266 | 50387.5721 | 5 | 64
1472 | 2024-06-08 17:31 | 0.54326 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0207 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.977 | 23522.7096 | 50391.9631 | 5 | 64
1473 | 2024-06-08 17:31 | 0.55925 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0051 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.985 | 23551.5216 | 50380.3851 | 5 | 64
1474 | 2024-06-08 17:31 | 0.5761 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0012 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 23502.0162 | 50383.5709 | 5 | 64
1475 | 2024-06-08 17:31 | 0.59295 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9894 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 23478.0139 | 50382.0023 | 5 | 64
1476 | 2024-06-08 17:31 | 0.60978 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.995 | 23445.6886 | 50381.0033 | 5 | 64
1477 | 2024-06-08 17:31 | 0.62664 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.007 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.984 | 23413.014 | 50379.3224 | 5 | 64
1478 | 2024-06-08 17:31 | 0.64265 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.007 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.984 | 23408.4096 | 50383.1254 | 5 | 64
1479 | 2024-06-08 17:31 | 0.65948 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0109 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.982 | 23393.2651 | 50390.1347 | 5 | 64
1480 | 2024-06-08 17:31 | 0.67634 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 17.1605 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 30.202 | 25820.4275 | 50387.2554 | 5 | 64
1481 | 2024-06-08 17:31 | 0.69319 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 11.8126 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 34.486 | 30612.9896 | 50389.3417 | 5 | 64
1482 | 2024-06-08 17:31 | 0.71002 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 9.2848 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 37.299 | 33677.3398 | 50373.6647 | 5 | 64
1483 | 2024-06-08 17:31 | 0.72599 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.1407 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 38.822 | 35292.5849 | 50390.7121 | 5 | 64
1484 | 2024-06-08 17:31 | 0.74283 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.5586 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 39.671 | 36157.4539 | 50383.1638 | 5 | 64
1485 | 2024-06-08 17:31 | 0.75967 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.2884 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.084 | 36552.456 | 50384.5383 | 5 | 64
1486 | 2024-06-08 17:31 | 0.77655 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1566 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.29 | 36718.0394 | 50382.8429 | 5 | 64
1487 | 2024-06-08 17:31 | 0.79339 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1041 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.373 | 36863.91 | 50389.2696 | 5 | 64
1488 | 2024-06-08 17:31 | 0.80938 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0732 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.422 | 36863.834 | 50378.4129 | 5 | 64
1489 | 2024-06-08 17:31 | 0.82619 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0619 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.44 | 36895.6288 | 50387.4462 | 5 | 64
1490 | 2024-06-08 17:31 | 0.84304 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0437 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.469 | 36909.079 | 50381.8355 | 5 | 64
1491 | 2024-06-08 17:31 | 0.85993 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.05 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.459 | 36902.6425 | 50388.1921 | 5 | 64
1492 | 2024-06-08 17:31 | 0.87591 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0424 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.471 | 36971.308 | 50379.7335 | 5 | 64
1493 | 2024-06-08 17:31 | 0.89277 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0449 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.467 | 36916.2522 | 50383.5378 | 5 | 64
1494 | 2024-06-08 17:31 | 0.90961 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0343 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.484 | 36918.1441 | 50387.5637 | 5 | 64
1495 | 2024-06-08 17:31 | 0.92644 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0481 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.462 | 36912.6596 | 50384.7178 | 5 | 64
1496 | 2024-06-08 17:31 | 0.9433 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0468 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.464 | 36885.0473 | 50381.1102 | 5 | 64
1497 | 2024-06-08 17:31 | 0.95933 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0456 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.466 | 36920.9377 | 50381.3813 | 5 | 64
1498 | 2024-06-08 17:31 | 0.97619 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0437 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.469 | 36935.1466 | 50373.1462 | 5 | 64
1499 | 2024-06-08 17:31 | 0.99305 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0531 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.454 | 36917.6986 | 50388.302 | 5 | 64
1500 | 2024-06-08 17:31 | 1.0099 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0537 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.453 | 36927.1123 | 50385.9454 | 5 | 64
1501 | 2024-06-08 17:31 | 1.0259 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.055 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.451 | 36928.4326 | 50385.5509 | 5 | 64
1502 | 2024-06-08 17:31 | 1.0428 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0324 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.487 | 36930.1842 | 50386.0876 | 5 | 64
1503 | 2024-06-08 17:31 | 1.0596 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0462 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.465 | 36956.265 | 50372.8744 | 5 | 64
1504 | 2024-06-08 17:31 | 1.0765 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0431 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.47 | 36964.19 | 50378.2951 | 5 | 64
1505 | 2024-06-08 17:31 | 1.0934 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0424 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.471 | 36991.562 | 50386.9434 | 5 | 64
1506 | 2024-06-08 17:31 | 1.1093 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0449 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.467 | 36977.6807 | 50379.6173 | 5 | 64
1507 | 2024-06-08 17:31 | 1.1262 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0487 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.461 | 36988.6045 | 50383.777 | 5 | 64
1508 | 2024-06-08 17:31 | 1.143 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.038 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.478 | 36940.3288 | 50382.0364 | 5 | 64
1509 | 2024-06-08 17:31 | 1.1599 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0443 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.468 | 36961.595 | 50387.8529 | 5 | 64
1510 | 2024-06-08 17:31 | 1.1759 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0431 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.47 | 36958.5395 | 50385.6662 | 5 | 64
1511 | 2024-06-08 17:31 | 1.1927 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0399 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.475 | 36892.7931 | 50370.4582 | 5 | 64
1512 | 2024-06-08 17:31 | 1.2096 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.474 | 36908.5736 | 50380.907 | 5 | 64
1513 | 2024-06-08 17:31 | 1.2266 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.474 | 36927.5415 | 50384.0594 | 5 | 64
1514 | 2024-06-08 17:31 | 1.2433 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0362 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.481 | 36927.4887 | 50370.2541 | 5 | 64
1515 | 2024-06-08 17:31 | 1.2593 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.05 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.459 | 36924.9383 | 50382.8542 | 5 | 64
1516 | 2024-06-08 17:31 | 1.2762 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0481 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.462 | 36910.0358 | 50379.431 | 5 | 64
1517 | 2024-06-08 17:31 | 1.293 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0512 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.457 | 36900.5626 | 50381.2058 | 5 | 64
1518 | 2024-06-08 17:31 | 1.3099 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0493 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.46 | 36877.1452 | 50377.0636 | 5 | 64
1519 | 2024-06-08 17:32 | 1.3267 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0575 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.447 | 36871.8691 | 50376.239 | 5 | 64
1520 | 2024-06-08 17:32 | 1.3427 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 9.7516 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 36.727 | 32974.173 | 50371.1309 | 5 | 64
1521 | 2024-06-08 17:32 | 1.3596 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 15.5625 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 31.304 | 27104.1468 | 50382.4918 | 5 | 64
1522 | 2024-06-08 17:32 | 1.3764 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 18.4937 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 29.371 | 24919.8936 | 50372.9269 | 5 | 64
1523 | 2024-06-08 17:32 | 1.3932 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.8866 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.576 | 24034.8219 | 50372.3851 | 5 | 64
1524 | 2024-06-08 17:32 | 1.4101 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.5019 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.246 | 23661.328 | 50378.2065 | 5 | 64
1525 | 2024-06-08 17:32 | 1.4261 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.7758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.103 | 23479.3068 | 50376.7684 | 5 | 64
1526 | 2024-06-08 17:32 | 1.4429 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 23405.8376 | 50378.8313 | 5 | 64
1527 | 2024-06-08 17:32 | 1.4598 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 23350.9354 | 50371.1111 | 5 | 64
1528 | 2024-06-08 17:32 | 1.4766 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0364 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.969 | 23317.58 | 50380.4804 | 5 | 64
1529 | 2024-06-08 17:32 | 1.4926 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0482 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.963 | 23290.4889 | 50375.1898 | 5 | 64
1530 | 2024-06-08 17:32 | 1.5095 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0384 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.968 | 23296.9025 | 50378.3525 | 5 | 64
1531 | 2024-06-08 17:32 | 1.5263 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0442 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.965 | 23301.4694 | 50375.1701 | 5 | 64
1532 | 2024-06-08 17:32 | 1.5431 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0305 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.972 | 23296.443 | 50374.8798 | 5 | 64
1533 | 2024-06-08 17:32 | 1.56 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0207 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.977 | 23275.5751 | 50366.4725 | 5 | 64
1534 | 2024-06-08 17:32 | 1.576 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0953 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.939 | 23272.357 | 50370.8173 | 5 | 64
1535 | 2024-06-08 17:32 | 1.5929 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0619 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.956 | 23252.3634 | 50372.4583 | 5 | 64
1536 | 2024-06-08 17:32 | 1.6097 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0423 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.966 | 23247.5061 | 50363.2333 | 5 | 64
1537 | 2024-06-08 17:32 | 1.6265 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0639 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.955 | 23254.1069 | 50369.0282 | 5 | 64
1538 | 2024-06-08 17:32 | 1.6434 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0619 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.956 | 23266.4158 | 50372.8206 | 5 | 64
1539 | 2024-06-08 17:32 | 1.6594 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0521 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.961 | 23264.234 | 50374.3185 | 5 | 64
1540 | 2024-06-08 17:32 | 1.6762 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0462 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.964 | 23258.0018 | 50373.4623 | 5 | 64
1541 | 2024-06-08 17:32 | 1.693 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0874 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.943 | 23239.0319 | 50372.7613 | 5 | 64
1542 | 2024-06-08 17:32 | 1.7099 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0776 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.948 | 23236.0192 | 50369.2321 | 5 | 64
1543 | 2024-06-08 17:32 | 1.7267 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0521 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.961 | 23235.2673 | 50369.8549 | 5 | 64
1544 | 2024-06-08 17:32 | 1.7427 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0698 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.952 | 23263.8409 | 50370.0106 | 5 | 64
1545 | 2024-06-08 17:32 | 1.7595 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0737 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.95 | 23252.3648 | 50366.4462 | 5 | 64
1546 | 2024-06-08 17:32 | 1.7764 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0658 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 23266.9711 | 50368.9248 | 5 | 64
1547 | 2024-06-08 17:32 | 1.7932 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0619 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.956 | 23266.8114 | 50364.4515 | 5 | 64
1548 | 2024-06-08 17:32 | 1.8101 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0737 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.95 | 23262.6824 | 50368.7512 | 5 | 64
1549 | 2024-06-08 17:32 | 1.826 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0501 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.962 | 23259.9758 | 50364.5381 | 5 | 64
1550 | 2024-06-08 17:32 | 1.8429 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0815 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.946 | 23217.5777 | 50366.9713 | 5 | 64
1551 | 2024-06-08 17:32 | 1.8598 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0678 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.953 | 23238.6222 | 50373.434 | 5 | 64
1552 | 2024-06-08 17:32 | 1.8766 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0717 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 23240.9269 | 50369.1473 | 5 | 64
1553 | 2024-06-08 17:32 | 1.8926 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0757 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.949 | 23300.5617 | 50364.6694 | 5 | 64
1554 | 2024-06-08 17:32 | 1.9094 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0619 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.956 | 23301.8391 | 50365.4424 | 5 | 64
1555 | 2024-06-08 17:32 | 1.9263 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0835 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.945 | 23270.2747 | 50357.8399 | 5 | 64
1556 | 2024-06-08 17:32 | 1.9431 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.058 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.958 | 23284.3154 | 50364.4574 | 5 | 64
1557 | 2024-06-08 17:32 | 1.96 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0698 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.952 | 23272.8897 | 50366.7025 | 5 | 64
1558 | 2024-06-08 17:32 | 1.976 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.944 | 23274.3293 | 50365.0557 | 5 | 64
1559 | 2024-06-08 17:32 | 1.9928 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0599 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.957 | 23307.648 | 50365.0092 | 5 | 64
1560 | 2024-06-08 17:32 | 2.0096 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0482 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.963 | 23316.3814 | 50366.3327 | 5 | 64
1561 | 2024-06-08 17:32 | 2.0265 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0874 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.943 | 23300.5601 | 50360.4185 | 5 | 64
1562 | 2024-06-08 17:32 | 2.0433 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0815 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.946 | 23293.1668 | 50361.3637 | 5 | 64