## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-06-08 17:44

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1687 | 2024-06-08 17:41 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0018 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.536 | 40199.5247 | 50313.3127 | 5 | 64
1688 | 2024-06-08 17:41 | 0.018522 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9956 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.546 | 40256.5073 | 50304.7123 | 5 | 64
1689 | 2024-06-08 17:41 | 0.035338 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9993 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.54 | 40213.5931 | 50313.3112 | 5 | 64
1690 | 2024-06-08 17:41 | 0.051352 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9937 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.549 | 40186.3883 | 50304.6773 | 5 | 64
1691 | 2024-06-08 17:41 | 0.068202 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9974 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.543 | 40191.4563 | 50308.9011 | 5 | 64
1692 | 2024-06-08 17:41 | 0.085064 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9987 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.541 | 40137.9098 | 50316.926 | 5 | 64
1693 | 2024-06-08 17:42 | 0.10195 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0024 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.535 | 40102.9418 | 50321.6704 | 5 | 64
1694 | 2024-06-08 17:42 | 0.11876 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0005 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.538 | 40118.6026 | 50315.6425 | 5 | 64
1695 | 2024-06-08 17:42 | 0.13477 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0049 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.531 | 40055.2875 | 50315.6423 | 5 | 64
1696 | 2024-06-08 17:42 | 0.15162 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9987 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.541 | 40072.1446 | 50313.4573 | 5 | 64
1697 | 2024-06-08 17:42 | 0.16847 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.003 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.534 | 40091.4008 | 50305.0848 | 5 | 64
1698 | 2024-06-08 17:42 | 0.18533 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0055 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.53 | 40105.9397 | 50311.3076 | 5 | 64
1699 | 2024-06-08 17:42 | 0.20217 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0043 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.532 | 40122.5162 | 50307.2077 | 5 | 64
1700 | 2024-06-08 17:42 | 0.21819 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9962 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.545 | 40188.7372 | 50313.1079 | 5 | 64
1701 | 2024-06-08 17:42 | 0.23502 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0112 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.521 | 40152.1789 | 50309.4792 | 5 | 64
1702 | 2024-06-08 17:42 | 0.25184 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.013 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.518 | 40133.1582 | 50309.8464 | 5 | 64
1703 | 2024-06-08 17:42 | 0.26866 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0043 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.532 | 40177.864 | 50301.3092 | 5 | 64
1704 | 2024-06-08 17:42 | 0.28551 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0037 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.533 | 40114.989 | 50302.4149 | 5 | 64
1705 | 2024-06-08 17:42 | 0.30152 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.008 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.526 | 40147.9174 | 50307.7428 | 5 | 64
1706 | 2024-06-08 17:42 | 0.31836 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.003 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.534 | 40077.6261 | 50298.5845 | 5 | 64
1707 | 2024-06-08 17:42 | 0.33524 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0018 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.536 | 40058.2817 | 50296.9832 | 5 | 64
1708 | 2024-06-08 17:42 | 0.35207 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0037 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.533 | 40081.1482 | 50297.5106 | 5 | 64
1709 | 2024-06-08 17:42 | 0.36805 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0037 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.533 | 40016.0122 | 50292.8741 | 5 | 64
1710 | 2024-06-08 17:42 | 0.38488 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0043 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.532 | 40035.9199 | 50303.7853 | 5 | 64
1711 | 2024-06-08 17:42 | 0.40176 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0118 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.52 | 39976.6281 | 50303.961 | 5 | 64
1712 | 2024-06-08 17:42 | 0.4186 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0055 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.53 | 39990.6543 | 50303.4936 | 5 | 64
1713 | 2024-06-08 17:42 | 0.43545 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0124 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.519 | 39974.1564 | 50304.9957 | 5 | 64
1714 | 2024-06-08 17:42 | 0.45142 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0105 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.522 | 39968.7223 | 50288.4267 | 5 | 64
1715 | 2024-06-08 17:42 | 0.46831 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0062 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.529 | 39964.0949 | 50295.9029 | 5 | 64
1716 | 2024-06-08 17:42 | 0.48515 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0124 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.519 | 39956.1537 | 50299.3993 | 5 | 64
1717 | 2024-06-08 17:42 | 0.502 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0087 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.525 | 39964.3848 | 50294.6438 | 5 | 64
1718 | 2024-06-08 17:42 | 0.51879 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 6.9993 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.54 | 39987.5674 | 50291.9299 | 5 | 64
1719 | 2024-06-08 17:42 | 0.53474 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.013 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.518 | 40006.4161 | 50296.1284 | 5 | 64
1720 | 2024-06-08 17:42 | 0.55166 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0149 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.515 | 40020.2161 | 50295.1508 | 5 | 64
1721 | 2024-06-08 17:42 | 0.56848 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0087 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.525 | 39998.1568 | 50298.6634 | 5 | 64
1722 | 2024-06-08 17:42 | 0.58527 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.018 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.51 | 40017.1162 | 50297.5107 | 5 | 64
1723 | 2024-06-08 17:42 | 0.6021 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0143 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.516 | 40010.4715 | 50297.9342 | 5 | 64
1724 | 2024-06-08 17:42 | 0.6181 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0105 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.522 | 40006.4215 | 50298.275 | 5 | 64
1725 | 2024-06-08 17:42 | 0.63495 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0093 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.524 | 40004.9343 | 50304.6779 | 5 | 64
1726 | 2024-06-08 17:42 | 0.65182 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0112 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.521 | 39993.1052 | 50291.3563 | 5 | 64
1727 | 2024-06-08 17:42 | 0.66863 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.3699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 39.958 | 39371.3976 | 50292.0898 | 5 | 64
1728 | 2024-06-08 17:42 | 0.6855 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 13.4921 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 32.941 | 31327.9818 | 50289.6829 | 5 | 64
1729 | 2024-06-08 17:42 | 0.7015 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 17.2235 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 30.161 | 27972.8023 | 50293.7701 | 5 | 64
1730 | 2024-06-08 17:42 | 0.71836 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.1881 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.966 | 26517.3336 | 50294.8032 | 5 | 64
1731 | 2024-06-08 17:42 | 0.73519 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.117 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.451 | 25858.4966 | 50301.2807 | 5 | 64
1732 | 2024-06-08 17:42 | 0.75201 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.4886 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.253 | 25565.3344 | 50292.2829 | 5 | 64
1733 | 2024-06-08 17:42 | 0.76802 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.7372 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.123 | 25443.0213 | 50296.6809 | 5 | 64
1734 | 2024-06-08 17:42 | 0.78482 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8551 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.062 | 25356.6681 | 50288.0444 | 5 | 64
1735 | 2024-06-08 17:42 | 0.80171 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8978 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.04 | 25327.6396 | 50295.1958 | 5 | 64
1736 | 2024-06-08 17:42 | 0.81855 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 25307.6363 | 50282.378 | 5 | 64
1737 | 2024-06-08 17:42 | 0.83541 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 25311.2873 | 50299.3344 | 5 | 64
1738 | 2024-06-08 17:42 | 0.85147 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 25293.9298 | 50289.6619 | 5 | 64
1739 | 2024-06-08 17:42 | 0.86832 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 25286.6022 | 50295.1237 | 5 | 64
1740 | 2024-06-08 17:42 | 0.88515 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0109 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.982 | 25309.0561 | 50303.3246 | 5 | 64
1741 | 2024-06-08 17:42 | 0.90199 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 25332.6402 | 50294.6577 | 5 | 64
1742 | 2024-06-08 17:42 | 0.91883 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 25312.5092 | 50295.0746 | 5 | 64
1743 | 2024-06-08 17:42 | 0.93489 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 25309.3997 | 50286.9566 | 5 | 64
1744 | 2024-06-08 17:42 | 0.95174 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 25308.4408 | 50286.2383 | 5 | 64
1745 | 2024-06-08 17:42 | 0.96858 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 25304.6893 | 50287.7807 | 5 | 64
1746 | 2024-06-08 17:42 | 0.98544 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 25293.3875 | 50290.6047 | 5 | 64
1747 | 2024-06-08 17:42 | 1.0015 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 25295.5266 | 50281.8894 | 5 | 64
1748 | 2024-06-08 17:42 | 1.0183 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 25290.6229 | 50288.7146 | 5 | 64
1749 | 2024-06-08 17:42 | 1.0351 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 25281.3822 | 50287.8781 | 5 | 64
1750 | 2024-06-08 17:42 | 1.052 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 25264.0797 | 50288.0197 | 5 | 64
1751 | 2024-06-08 17:42 | 1.068 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 25234.7649 | 50289.9098 | 5 | 64
1752 | 2024-06-08 17:42 | 1.0849 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 25240.8946 | 50279.678 | 5 | 64
1753 | 2024-06-08 17:43 | 1.1017 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 25197.4808 | 50289.7013 | 5 | 64
1754 | 2024-06-08 17:43 | 1.1185 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 25201.4109 | 50279.1474 | 5 | 64
1755 | 2024-06-08 17:43 | 1.1354 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9816 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.997 | 25184.5717 | 50296.8605 | 5 | 64
1756 | 2024-06-08 17:43 | 1.1514 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 25157.9541 | 50279.685 | 5 | 64
1757 | 2024-06-08 17:43 | 1.1683 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9797 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.998 | 25180.5381 | 50285.4854 | 5 | 64
1758 | 2024-06-08 17:43 | 1.1851 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 25166.9802 | 50286.5947 | 5 | 64
1759 | 2024-06-08 17:43 | 1.2019 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.995 | 25164.3106 | 50294.0123 | 5 | 64
1760 | 2024-06-08 17:43 | 1.2188 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 25168.0702 | 50278.324 | 5 | 64
1761 | 2024-06-08 17:43 | 1.2348 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 25156.1434 | 50296.4334 | 5 | 64
1762 | 2024-06-08 17:43 | 1.2516 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9797 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.998 | 25156.2736 | 50286.6068 | 5 | 64
1763 | 2024-06-08 17:43 | 1.2684 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 25150.1214 | 50285.575 | 5 | 64
1764 | 2024-06-08 17:43 | 1.2853 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0188 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 25164.1561 | 50280.2861 | 5 | 64
1765 | 2024-06-08 17:43 | 1.3021 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 25154.9082 | 50289.0545 | 5 | 64
1766 | 2024-06-08 17:43 | 1.3181 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.007 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.984 | 25149.2472 | 50286.7372 | 5 | 64
1767 | 2024-06-08 17:43 | 1.3349 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.6776 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.154 | 25315.3649 | 50288.9872 | 5 | 64
1768 | 2024-06-08 17:43 | 1.3517 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 14.1943 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 32.356 | 30354.8383 | 50293.7248 | 5 | 64
1769 | 2024-06-08 17:43 | 1.3686 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 10.4541 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 35.914 | 34569.4258 | 50280.1004 | 5 | 64
1770 | 2024-06-08 17:43 | 1.3854 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.6676 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 38.098 | 37062.0172 | 50286.7356 | 5 | 64
1771 | 2024-06-08 17:43 | 1.4014 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.8385 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 39.256 | 38371.4443 | 50289.8642 | 5 | 64
1772 | 2024-06-08 17:43 | 1.4183 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.4221 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 39.878 | 39080.8355 | 50293.2613 | 5 | 64
1773 | 2024-06-08 17:43 | 1.4351 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.2216 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.188 | 39393.6008 | 50284.7633 | 5 | 64
1774 | 2024-06-08 17:43 | 1.452 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1249 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.34 | 39574.9308 | 50286.3997 | 5 | 64
1775 | 2024-06-08 17:43 | 1.468 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0845 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.404 | 39658.2854 | 50290.4419 | 5 | 64
1776 | 2024-06-08 17:43 | 1.4849 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0625 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.439 | 39688.4081 | 50282.3919 | 5 | 64
1777 | 2024-06-08 17:43 | 1.5017 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0474 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.463 | 39707.5463 | 50279.751 | 5 | 64
1778 | 2024-06-08 17:43 | 1.5186 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.477 | 39723.7477 | 50276.2943 | 5 | 64
1779 | 2024-06-08 17:43 | 1.5354 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0437 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.469 | 39728.4563 | 50285.7547 | 5 | 64
1780 | 2024-06-08 17:43 | 1.5515 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.028 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.494 | 39744.4242 | 50290.2424 | 5 | 64
1781 | 2024-06-08 17:43 | 1.5683 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0362 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.481 | 39737.5656 | 50288.2383 | 5 | 64
1782 | 2024-06-08 17:43 | 1.5852 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0393 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.476 | 39733.5925 | 50282.2312 | 5 | 64
1783 | 2024-06-08 17:43 | 1.602 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.477 | 39744.267 | 50286.0065 | 5 | 64
1784 | 2024-06-08 17:43 | 1.6188 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.028 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.494 | 39724.3937 | 50274.4439 | 5 | 64
1785 | 2024-06-08 17:43 | 1.6348 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0274 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.495 | 39736.4343 | 50276.8125 | 5 | 64
1786 | 2024-06-08 17:43 | 1.6516 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0224 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.503 | 39724.6813 | 50283.6606 | 5 | 64
1787 | 2024-06-08 17:43 | 1.6685 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0368 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.48 | 39731.7932 | 50283.2415 | 5 | 64
1788 | 2024-06-08 17:43 | 1.6854 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0368 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.48 | 39763.683 | 50284.4146 | 5 | 64
1789 | 2024-06-08 17:43 | 1.7014 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.028 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.494 | 39742.8928 | 50272.7619 | 5 | 64
1790 | 2024-06-08 17:43 | 1.7182 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0343 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.484 | 39641.378 | 50284.4471 | 5 | 64
1791 | 2024-06-08 17:43 | 1.7351 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0299 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.491 | 39715.9084 | 50285.5394 | 5 | 64
1792 | 2024-06-08 17:43 | 1.7519 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.038 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.478 | 39712.5205 | 50280.7993 | 5 | 64
1793 | 2024-06-08 17:43 | 1.7688 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0293 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.492 | 39610.0084 | 50282.6055 | 5 | 64
1794 | 2024-06-08 17:43 | 1.7848 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0293 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.492 | 39610.5175 | 50277.3853 | 5 | 64
1795 | 2024-06-08 17:43 | 1.8016 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0374 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.479 | 39585.2532 | 50285.534 | 5 | 64
1796 | 2024-06-08 17:43 | 1.8185 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0424 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.471 | 39598.2626 | 50281.0781 | 5 | 64
1797 | 2024-06-08 17:43 | 1.8353 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0368 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.48 | 39602.8099 | 50282.0491 | 5 | 64
1798 | 2024-06-08 17:43 | 1.8521 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0399 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.475 | 39621.3965 | 50283.8928 | 5 | 64
1799 | 2024-06-08 17:43 | 1.8681 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0349 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.483 | 39613.9269 | 50285.2182 | 5 | 64
1800 | 2024-06-08 17:43 | 1.885 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.028 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.494 | 39615.4262 | 50283.3481 | 5 | 64
1801 | 2024-06-08 17:43 | 1.9018 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0305 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.49 | 39596.4306 | 50282.2208 | 5 | 64
1802 | 2024-06-08 17:43 | 1.9187 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0412 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.473 | 39604.0931 | 50273.5283 | 5 | 64
1803 | 2024-06-08 17:43 | 1.9347 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0418 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.472 | 39610.3282 | 50276.6948 | 5 | 64
1804 | 2024-06-08 17:43 | 1.9515 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0362 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.481 | 39601.3298 | 50276.1449 | 5 | 64
1805 | 2024-06-08 17:43 | 1.9683 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0287 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.493 | 39594.7582 | 50282.6917 | 5 | 64
1806 | 2024-06-08 17:43 | 1.9852 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0343 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.484 | 39610.6979 | 50287.097 | 5 | 64
1807 | 2024-06-08 17:43 | 2.0021 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0349 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.483 | 39615.8556 | 50282.0127 | 5 | 64
1808 | 2024-06-08 17:43 | 2.0181 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0274 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.495 | 39676.1271 | 50274.627 | 5 | 64
1809 | 2024-06-08 17:43 | 2.0349 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0355 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.482 | 39676.8372 | 50278.9006 | 5 | 64
1810 | 2024-06-08 17:43 | 2.0517 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0293 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.492 | 39624.4005 | 50272.166 | 5 | 64