## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-06-08 17:48

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1811 | 2024-06-08 17:46 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0043 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.532 | 38734.7491 | 50285.2942 | 5 | 64
1812 | 2024-06-08 17:46 | 0.010099 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0143 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.516 | 38778.6849 | 50298.7414 | 5 | 64
1813 | 2024-06-08 17:46 | 0.026964 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0136 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.517 | 38940.3798 | 50296.4016 | 5 | 64
1814 | 2024-06-08 17:46 | 0.043808 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0155 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.514 | 38835.8597 | 50278.6147 | 5 | 64
1815 | 2024-06-08 17:46 | 0.059783 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0168 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.512 | 38864.145 | 50277.6592 | 5 | 64
1816 | 2024-06-08 17:46 | 0.076672 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0118 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.52 | 38730.4831 | 50282.6221 | 5 | 64
1817 | 2024-06-08 17:46 | 0.093577 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0168 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.512 | 38871.6865 | 50278.5089 | 5 | 64
1818 | 2024-06-08 17:46 | 0.11038 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0112 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.521 | 39029.7567 | 50279.0616 | 5 | 64
1819 | 2024-06-08 17:46 | 0.12722 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0143 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.516 | 39068.7345 | 50275.8409 | 5 | 64
1820 | 2024-06-08 17:46 | 0.14325 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0105 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.522 | 39040.6764 | 50286.688 | 5 | 64
1821 | 2024-06-08 17:46 | 0.16008 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0112 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.521 | 38962.682 | 50277.7911 | 5 | 64
1822 | 2024-06-08 17:46 | 0.17691 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0168 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.512 | 39068.7026 | 50272.7313 | 5 | 64
1823 | 2024-06-08 17:46 | 0.19372 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0124 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.519 | 39086.281 | 50279.6085 | 5 | 64
1824 | 2024-06-08 17:46 | 0.20975 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0199 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.507 | 39094.3794 | 50276.2148 | 5 | 64
1825 | 2024-06-08 17:46 | 0.22655 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0136 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.517 | 39180.4067 | 50272.6113 | 5 | 64
1826 | 2024-06-08 17:46 | 0.2434 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0155 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.514 | 39165.9321 | 50276.6117 | 5 | 64
1827 | 2024-06-08 17:46 | 0.26026 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0087 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.525 | 39210.1964 | 50288.4583 | 5 | 64
1828 | 2024-06-08 17:46 | 0.27711 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0074 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.527 | 39165.1404 | 50274.4619 | 5 | 64
1829 | 2024-06-08 17:46 | 0.29309 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0155 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.514 | 39111.2525 | 50268.3544 | 5 | 64
1830 | 2024-06-08 17:46 | 0.30998 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.013 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.518 | 39179.8904 | 50267.0777 | 5 | 64
1831 | 2024-06-08 17:46 | 0.32683 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0087 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.525 | 39182.1166 | 50271.6168 | 5 | 64
1832 | 2024-06-08 17:46 | 0.34367 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0124 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.519 | 39196.5227 | 50277.7238 | 5 | 64
1833 | 2024-06-08 17:46 | 0.36051 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.018 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.51 | 39130.4956 | 50266.8943 | 5 | 64
1834 | 2024-06-08 17:46 | 0.37653 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0118 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.52 | 39224.9548 | 50274.8993 | 5 | 64
1835 | 2024-06-08 17:46 | 0.39334 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.013 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.518 | 39248.4135 | 50265.1269 | 5 | 64
1836 | 2024-06-08 17:46 | 0.41022 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0099 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.523 | 39230.6169 | 50270.0624 | 5 | 64
1837 | 2024-06-08 17:46 | 0.42711 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0193 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.508 | 39249.5361 | 50272.7474 | 5 | 64
1838 | 2024-06-08 17:46 | 0.4439 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0161 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.513 | 39333.5809 | 50265.4912 | 5 | 64
1839 | 2024-06-08 17:46 | 0.45991 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0161 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.513 | 39283.497 | 50273.3512 | 5 | 64
1840 | 2024-06-08 17:46 | 0.4767 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.008 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.526 | 39226.9907 | 50251.8801 | 5 | 64
1841 | 2024-06-08 17:46 | 0.49356 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0099 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.523 | 39178.1706 | 50267.9815 | 5 | 64
1842 | 2024-06-08 17:46 | 0.51037 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0168 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.512 | 39243.4582 | 50270.453 | 5 | 64
1843 | 2024-06-08 17:46 | 0.52721 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0174 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.511 | 39138.0063 | 50258.929 | 5 | 64
1844 | 2024-06-08 17:46 | 0.54323 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0055 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.53 | 39192.2532 | 50267.3698 | 5 | 64
1845 | 2024-06-08 17:46 | 0.56008 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0124 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.519 | 39222.0517 | 50268.7398 | 5 | 64
1846 | 2024-06-08 17:46 | 0.5769 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0218 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.504 | 39186.668 | 50261.6538 | 5 | 64
1847 | 2024-06-08 17:46 | 0.59372 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0155 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.514 | 39286.9433 | 50270.5359 | 5 | 64
1848 | 2024-06-08 17:46 | 0.60974 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0186 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.509 | 39230.0229 | 50264.3424 | 5 | 64
1849 | 2024-06-08 17:46 | 0.62655 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0199 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.507 | 39244.7235 | 50270.1126 | 5 | 64
1850 | 2024-06-08 17:46 | 0.64343 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0168 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.512 | 39206.579 | 50267.124 | 5 | 64
1851 | 2024-06-08 17:46 | 0.66029 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0168 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.512 | 39277.4276 | 50264.5778 | 5 | 64
1852 | 2024-06-08 17:46 | 0.67717 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 10.6144 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 35.736 | 33993.7296 | 50262.529 | 5 | 64
1853 | 2024-06-08 17:46 | 0.69318 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 15.667 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 31.228 | 28738.2285 | 50269.5722 | 5 | 64
1854 | 2024-06-08 17:46 | 0.71005 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 18.4351 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 29.406 | 26578.2805 | 50263.8292 | 5 | 64
1855 | 2024-06-08 17:46 | 0.72693 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.7354 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.659 | 25556.0713 | 50265.0364 | 5 | 64
1856 | 2024-06-08 17:47 | 0.74376 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.3789 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.311 | 25168.3622 | 50266.7388 | 5 | 64
1857 | 2024-06-08 17:47 | 0.75977 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.6699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.158 | 25015.197 | 50263.2521 | 5 | 64
1858 | 2024-06-08 17:47 | 0.7766 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.828 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.076 | 24898.3614 | 50261.9782 | 5 | 64
1859 | 2024-06-08 17:47 | 0.79347 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9095 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.034 | 24876.0185 | 50266.064 | 5 | 64
1860 | 2024-06-08 17:47 | 0.81031 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9679 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.004 | 24835.5652 | 50258.9805 | 5 | 64
1861 | 2024-06-08 17:47 | 0.82716 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9309 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 24832.5183 | 50263.4566 | 5 | 64
1862 | 2024-06-08 17:47 | 0.84318 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.925 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 24814.5263 | 50265.6516 | 5 | 64
1863 | 2024-06-08 17:47 | 0.86004 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24815.7424 | 50261.706 | 5 | 64
1864 | 2024-06-08 17:47 | 0.87687 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 24839.2235 | 50261.4343 | 5 | 64
1865 | 2024-06-08 17:47 | 0.89368 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 24821.5611 | 50265.2909 | 5 | 64
1866 | 2024-06-08 17:47 | 0.91053 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 24805.5957 | 50267.0839 | 5 | 64
1867 | 2024-06-08 17:47 | 0.92651 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9679 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.004 | 24826.6191 | 50256.7043 | 5 | 64
1868 | 2024-06-08 17:47 | 0.94337 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 24856.8383 | 50260.0725 | 5 | 64
1869 | 2024-06-08 17:47 | 0.96019 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 24848.8954 | 50250.684 | 5 | 64
1870 | 2024-06-08 17:47 | 0.97704 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24856.3347 | 50269.0297 | 5 | 64
1871 | 2024-06-08 17:47 | 0.9939 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 24841.7923 | 50252.3297 | 5 | 64
1872 | 2024-06-08 17:47 | 1.0099 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9348 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 24863.6962 | 50266.4076 | 5 | 64
1873 | 2024-06-08 17:47 | 1.0267 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 24880.2223 | 50261.2934 | 5 | 64
1874 | 2024-06-08 17:47 | 1.0436 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9797 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.998 | 24867.7127 | 50260.6303 | 5 | 64
1875 | 2024-06-08 17:47 | 1.0604 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0031 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.986 | 24879.8504 | 50258.906 | 5 | 64
1876 | 2024-06-08 17:47 | 1.0765 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9914 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.992 | 24887.6339 | 50264.0325 | 5 | 64
1877 | 2024-06-08 17:47 | 1.0933 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 24872.537 | 50254.9016 | 5 | 64
1878 | 2024-06-08 17:47 | 1.1102 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24899.2102 | 50254.2649 | 5 | 64
1879 | 2024-06-08 17:47 | 1.127 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9836 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 24897.5879 | 50261.0665 | 5 | 64
1880 | 2024-06-08 17:47 | 1.1438 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9718 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.002 | 24914.9964 | 50270.4879 | 5 | 64
1881 | 2024-06-08 17:47 | 1.1598 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 24932.6415 | 50262.887 | 5 | 64
1882 | 2024-06-08 17:47 | 1.1766 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9914 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.992 | 24925.1556 | 50262.131 | 5 | 64
1883 | 2024-06-08 17:47 | 1.1935 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24934.8797 | 50268.7868 | 5 | 64
1884 | 2024-06-08 17:47 | 1.2104 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0168 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 24881.3634 | 50266.5244 | 5 | 64
1885 | 2024-06-08 17:47 | 1.2272 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9894 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 24878.296 | 50246.8702 | 5 | 64
1886 | 2024-06-08 17:47 | 1.2433 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9797 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.998 | 24904.5392 | 50254.6471 | 5 | 64
1887 | 2024-06-08 17:47 | 1.2601 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 24933.1647 | 50262.1668 | 5 | 64
1888 | 2024-06-08 17:47 | 1.2769 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.995 | 24897.2052 | 50249.1749 | 5 | 64
1889 | 2024-06-08 17:47 | 1.2937 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24918.4054 | 50248.4884 | 5 | 64
1890 | 2024-06-08 17:47 | 1.3106 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 24914.1424 | 50248.5796 | 5 | 64
1891 | 2024-06-08 17:47 | 1.3266 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 24939.1757 | 50258.9997 | 5 | 64
1892 | 2024-06-08 17:47 | 1.3434 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 17.2235 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 30.161 | 27486.0498 | 50260.0801 | 5 | 64
1893 | 2024-06-08 17:47 | 1.3602 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 11.9276 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 34.373 | 32470.5015 | 50251.1797 | 5 | 64
1894 | 2024-06-08 17:47 | 1.3771 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 9.3777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 37.183 | 35739.6597 | 50268.0185 | 5 | 64
1895 | 2024-06-08 17:47 | 1.3939 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.1506 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 38.808 | 37513.5125 | 50255.9966 | 5 | 64
1896 | 2024-06-08 17:47 | 1.4099 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.5938 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 39.618 | 38444.1846 | 50264.4761 | 5 | 64
1897 | 2024-06-08 17:47 | 1.4267 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.3006 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.065 | 38923.4005 | 50260.4766 | 5 | 64
1898 | 2024-06-08 17:47 | 1.4435 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1585 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.287 | 39174.9648 | 50250.5869 | 5 | 64
1899 | 2024-06-08 17:47 | 1.4604 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0864 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.401 | 39317.554 | 50246.4038 | 5 | 64
1900 | 2024-06-08 17:47 | 1.4772 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0537 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.453 | 39347.086 | 50257.6216 | 5 | 64
1901 | 2024-06-08 17:47 | 1.4932 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.05 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.459 | 39390.5973 | 50263.05 | 5 | 64
1902 | 2024-06-08 17:47 | 1.51 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.033 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.486 | 39399.4843 | 50259.0634 | 5 | 64
1903 | 2024-06-08 17:47 | 1.5269 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0362 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.481 | 39392.6483 | 50262.5907 | 5 | 64
1904 | 2024-06-08 17:47 | 1.5437 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0262 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.497 | 39389.2581 | 50263.3229 | 5 | 64
1905 | 2024-06-08 17:47 | 1.5606 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0312 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.489 | 39364.7049 | 50249.0593 | 5 | 64
1906 | 2024-06-08 17:47 | 1.5765 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0255 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.498 | 39375.0953 | 50252.8794 | 5 | 64
1907 | 2024-06-08 17:47 | 1.5934 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0218 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.504 | 39412.8096 | 50242.1708 | 5 | 64
1908 | 2024-06-08 17:47 | 1.6102 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0343 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.484 | 39439.9454 | 50260.5097 | 5 | 64
1909 | 2024-06-08 17:47 | 1.6271 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0262 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.497 | 39454.9796 | 50244.425 | 5 | 64
1910 | 2024-06-08 17:47 | 1.6439 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0318 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.488 | 39436.7389 | 50254.4135 | 5 | 64
1911 | 2024-06-08 17:47 | 1.6599 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0318 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.488 | 39415.4675 | 50267.3431 | 5 | 64
1912 | 2024-06-08 17:47 | 1.6767 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0236 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.501 | 39420.779 | 50250.7649 | 5 | 64
1913 | 2024-06-08 17:47 | 1.6936 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0287 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.493 | 39448.2572 | 50260.9664 | 5 | 64
1914 | 2024-06-08 17:47 | 1.7104 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0243 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.5 | 39431.0625 | 50256.9702 | 5 | 64
1915 | 2024-06-08 17:47 | 1.7272 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0168 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.512 | 39469.568 | 50260.3758 | 5 | 64
1916 | 2024-06-08 17:48 | 1.7432 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0293 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.492 | 39450.5111 | 50257.8255 | 5 | 64
1917 | 2024-06-08 17:48 | 1.7601 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0255 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.498 | 39467.8037 | 50256.7703 | 5 | 64
1918 | 2024-06-08 17:48 | 1.7769 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0337 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.485 | 39473.1418 | 50259.5068 | 5 | 64
1919 | 2024-06-08 17:48 | 1.7937 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.028 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.494 | 39502.5338 | 50260.0127 | 5 | 64
1920 | 2024-06-08 17:48 | 1.8098 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0305 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.49 | 39505.9403 | 50260.311 | 5 | 64
1921 | 2024-06-08 17:48 | 1.8266 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0211 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.505 | 39501.2438 | 50258.7904 | 5 | 64
1922 | 2024-06-08 17:48 | 1.8434 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0299 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.491 | 39519.9563 | 50257.1952 | 5 | 64
1923 | 2024-06-08 17:48 | 1.8603 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.028 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.494 | 39512.3544 | 50254.0908 | 5 | 64
1924 | 2024-06-08 17:48 | 1.8771 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0218 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.504 | 39450.8177 | 50251.2368 | 5 | 64
1925 | 2024-06-08 17:48 | 1.8931 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0293 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.492 | 39416.9489 | 50259.5343 | 5 | 64
1926 | 2024-06-08 17:48 | 1.91 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0293 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.492 | 39408.6753 | 50260.4624 | 5 | 64
1927 | 2024-06-08 17:48 | 1.9269 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0211 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.505 | 39336.3519 | 50258.2866 | 5 | 64
1928 | 2024-06-08 17:48 | 1.9437 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0243 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.5 | 39310.6779 | 50260.8873 | 5 | 64
1929 | 2024-06-08 17:48 | 1.9605 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.023 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.502 | 39290.4205 | 50260.3901 | 5 | 64
1930 | 2024-06-08 17:48 | 1.9765 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0224 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.503 | 39306.4613 | 50252.3678 | 5 | 64
1931 | 2024-06-08 17:48 | 1.9934 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0193 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.508 | 39324.4435 | 50256.0055 | 5 | 64
1932 | 2024-06-08 17:48 | 2.0102 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0224 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.503 | 39287.1158 | 50248.252 | 5 | 64
1933 | 2024-06-08 17:48 | 2.0271 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0293 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 40.492 | 39344.6978 | 50260.7333 | 5 | 64