## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-06-08 17:54

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1934 | 2024-06-08 17:52 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9212 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 24841.2809 | 50238.6503 | 5 | 64
1935 | 2024-06-08 17:52 | 0.016018 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 24892.8836 | 50247.4895 | 5 | 64
1936 | 2024-06-08 17:52 | 0.032858 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 24881.1751 | 50258.1403 | 5 | 64
1937 | 2024-06-08 17:52 | 0.049691 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 24811.1738 | 50255.0072 | 5 | 64
1938 | 2024-06-08 17:52 | 0.066525 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8861 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.046 | 24764.5161 | 50251.1449 | 5 | 64
1939 | 2024-06-08 17:52 | 0.082558 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 24903.7124 | 50253.6512 | 5 | 64
1940 | 2024-06-08 17:52 | 0.099382 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 24913.054 | 50258.741 | 5 | 64
1941 | 2024-06-08 17:52 | 0.11628 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 24315.7695 | 50233.349 | 5 | 64
1942 | 2024-06-08 17:52 | 0.13307 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 24255.8744 | 50249.2509 | 5 | 64
1943 | 2024-06-08 17:52 | 0.14906 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8997 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.039 | 24361.8751 | 50251.6163 | 5 | 64
1944 | 2024-06-08 17:52 | 0.16591 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24455.2254 | 50245.4488 | 5 | 64
1945 | 2024-06-08 17:52 | 0.18274 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 24397.8664 | 50241.4193 | 5 | 64
1946 | 2024-06-08 17:52 | 0.19957 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24428.0508 | 50244.4265 | 5 | 64
1947 | 2024-06-08 17:52 | 0.21641 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24407.2943 | 50249.9217 | 5 | 64
1948 | 2024-06-08 17:52 | 0.23242 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8842 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.047 | 24389.0553 | 50256.0045 | 5 | 64
1949 | 2024-06-08 17:52 | 0.24933 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 24400.7592 | 50249.3989 | 5 | 64
1950 | 2024-06-08 17:52 | 0.26618 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9309 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 24417.306 | 50244.9083 | 5 | 64
1951 | 2024-06-08 17:52 | 0.28301 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9095 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.034 | 24409.6645 | 50240.2938 | 5 | 64
1952 | 2024-06-08 17:52 | 0.29986 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9036 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.037 | 24411.121 | 50238.4857 | 5 | 64
1953 | 2024-06-08 17:52 | 0.31585 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9309 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 24415.9358 | 50253.8302 | 5 | 64
1954 | 2024-06-08 17:52 | 0.33266 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 24419.0228 | 50247.2095 | 5 | 64
1955 | 2024-06-08 17:52 | 0.34955 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8959 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.041 | 24350.3741 | 50237.5185 | 5 | 64
1956 | 2024-06-08 17:52 | 0.36639 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.925 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 24348.9014 | 50233.3614 | 5 | 64
1957 | 2024-06-08 17:52 | 0.38241 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9056 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.036 | 24389.9399 | 50232.4458 | 5 | 64
1958 | 2024-06-08 17:52 | 0.39923 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9114 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.033 | 24393.3157 | 50227.7057 | 5 | 64
1959 | 2024-06-08 17:52 | 0.41608 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24412.3667 | 50240.1389 | 5 | 64
1960 | 2024-06-08 17:52 | 0.43292 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24394.4021 | 50238.2118 | 5 | 64
1961 | 2024-06-08 17:52 | 0.44973 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9056 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.036 | 24413.2162 | 50235.5234 | 5 | 64
1962 | 2024-06-08 17:52 | 0.46578 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9153 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.031 | 24422.3963 | 50241.3273 | 5 | 64
1963 | 2024-06-08 17:52 | 0.48261 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9075 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.035 | 24424.3324 | 50228.9485 | 5 | 64
1964 | 2024-06-08 17:52 | 0.49945 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24453.7784 | 50234.3939 | 5 | 64
1965 | 2024-06-08 17:52 | 0.51626 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9036 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.037 | 24443.9776 | 50235.142 | 5 | 64
1966 | 2024-06-08 17:52 | 0.53308 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 24468.6159 | 50242.0577 | 5 | 64
1967 | 2024-06-08 17:52 | 0.54913 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 24442.1898 | 50234.2651 | 5 | 64
1968 | 2024-06-08 17:52 | 0.56598 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9153 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.031 | 24460.3405 | 50236.6635 | 5 | 64
1969 | 2024-06-08 17:52 | 0.58283 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 24465.0424 | 50237.3408 | 5 | 64
1970 | 2024-06-08 17:52 | 0.59967 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 24479.5625 | 50237.3396 | 5 | 64
1971 | 2024-06-08 17:52 | 0.61649 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.89 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.044 | 24477.1588 | 50223.9785 | 5 | 64
1972 | 2024-06-08 17:52 | 0.63248 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 24497.7132 | 50237.4865 | 5 | 64
1973 | 2024-06-08 17:52 | 0.64929 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 24475.9184 | 50239.5623 | 5 | 64
1974 | 2024-06-08 17:52 | 0.66613 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9309 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 24491.5562 | 50237.0615 | 5 | 64
1975 | 2024-06-08 17:52 | 0.683 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24517.8203 | 50228.2682 | 5 | 64
1976 | 2024-06-08 17:52 | 0.69982 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9212 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 24513.2109 | 50238.2436 | 5 | 64
1977 | 2024-06-08 17:52 | 0.71583 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 24537.0274 | 50239.4379 | 5 | 64
1978 | 2024-06-08 17:52 | 0.73267 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9134 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.032 | 24584.7233 | 50238.9313 | 5 | 64
1979 | 2024-06-08 17:52 | 0.7495 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.925 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 24554.3717 | 50238.9353 | 5 | 64
1980 | 2024-06-08 17:52 | 0.76636 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 24564.4757 | 50235.6971 | 5 | 64
1981 | 2024-06-08 17:52 | 0.78318 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24573.8697 | 50229.217 | 5 | 64
1982 | 2024-06-08 17:52 | 0.79916 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24554.8789 | 50234.4512 | 5 | 64
1983 | 2024-06-08 17:52 | 0.81599 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9075 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.035 | 24603.452 | 50232.4152 | 5 | 64
1984 | 2024-06-08 17:52 | 0.8328 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9017 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.038 | 24619.2973 | 50225.7862 | 5 | 64
1985 | 2024-06-08 17:52 | 0.84963 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9289 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 24648.1991 | 50233.3212 | 5 | 64
1986 | 2024-06-08 17:52 | 0.86647 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9212 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 24642.4651 | 50237.3226 | 5 | 64
1987 | 2024-06-08 17:52 | 0.88248 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 24650.3495 | 50231.3406 | 5 | 64
1988 | 2024-06-08 17:52 | 0.8993 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24617.8027 | 50242.3342 | 5 | 64
1989 | 2024-06-08 17:52 | 0.91616 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9309 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 24556.3865 | 50234.5833 | 5 | 64
1990 | 2024-06-08 17:52 | 0.93299 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 24578.3886 | 50241.4612 | 5 | 64
1991 | 2024-06-08 17:53 | 0.94983 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.925 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 24557.3806 | 50233.3521 | 5 | 64
1992 | 2024-06-08 17:53 | 0.96581 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.925 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 24546.8609 | 50228.4785 | 5 | 64
1993 | 2024-06-08 17:53 | 0.98269 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 24572.0642 | 50232.9009 | 5 | 64
1994 | 2024-06-08 17:53 | 0.99951 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 24501.0623 | 50225.9185 | 5 | 64
1995 | 2024-06-08 17:53 | 1.0163 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9114 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.033 | 24559.6572 | 50230.4033 | 5 | 64
1996 | 2024-06-08 17:53 | 1.0332 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 24580.5249 | 50234.2033 | 5 | 64
1997 | 2024-06-08 17:53 | 1.0492 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24580.8817 | 50225.2542 | 5 | 64
1998 | 2024-06-08 17:53 | 1.066 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9289 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 24597.0092 | 50233.9082 | 5 | 64
1999 | 2024-06-08 17:53 | 1.0829 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9543 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 24609.1661 | 50239.874 | 5 | 64
2000 | 2024-06-08 17:53 | 1.0997 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 24620.2146 | 50238.0267 | 5 | 64
2001 | 2024-06-08 17:53 | 1.1165 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9289 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 24609.7556 | 50227.4441 | 5 | 64
2002 | 2024-06-08 17:53 | 1.1325 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 24612.469 | 50232.1989 | 5 | 64
2003 | 2024-06-08 17:53 | 1.1493 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24634.7396 | 50225.3187 | 5 | 64
2004 | 2024-06-08 17:53 | 1.1662 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24646.2732 | 50233.8802 | 5 | 64
2005 | 2024-06-08 17:53 | 1.183 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9036 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.037 | 24648.4039 | 50234.2534 | 5 | 64
2006 | 2024-06-08 17:53 | 1.1998 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 24628.3804 | 50221.1367 | 5 | 64
2007 | 2024-06-08 17:53 | 1.2158 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9426 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 24630.0215 | 50241.3527 | 5 | 64
2008 | 2024-06-08 17:53 | 1.2326 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24621.4163 | 50235.9469 | 5 | 64
2009 | 2024-06-08 17:53 | 1.2495 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9679 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.004 | 24625.0639 | 50232.6405 | 5 | 64
2010 | 2024-06-08 17:53 | 1.2663 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 24601.4855 | 50232.8928 | 5 | 64
2011 | 2024-06-08 17:53 | 1.2831 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24611.3581 | 50244.0398 | 5 | 64
2012 | 2024-06-08 17:53 | 1.2991 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 24622.7098 | 50239.2015 | 5 | 64
2013 | 2024-06-08 17:53 | 1.316 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 24609.777 | 50225.3368 | 5 | 64
2014 | 2024-06-08 17:53 | 1.3328 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 24610.6921 | 50230.575 | 5 | 64
2015 | 2024-06-08 17:53 | 1.3496 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24607.8005 | 50225.1653 | 5 | 64
2016 | 2024-06-08 17:53 | 1.3665 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9426 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 24587.6517 | 50236.363 | 5 | 64
2017 | 2024-06-08 17:53 | 1.3824 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 24586.1776 | 50234.013 | 5 | 64
2018 | 2024-06-08 17:53 | 1.3993 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 24589.6938 | 50229.1809 | 5 | 64
2019 | 2024-06-08 17:53 | 1.4162 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 24563.8336 | 50228.9574 | 5 | 64
2020 | 2024-06-08 17:53 | 1.4331 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9289 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 24569.4306 | 50237.0582 | 5 | 64
2021 | 2024-06-08 17:53 | 1.4499 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 24578.8629 | 50231.7542 | 5 | 64
2022 | 2024-06-08 17:53 | 1.4659 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 24575.4931 | 50228.7008 | 5 | 64
2023 | 2024-06-08 17:53 | 1.4828 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24576.969 | 50230.2633 | 5 | 64
2024 | 2024-06-08 17:53 | 1.4996 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24571.0015 | 50227.3942 | 5 | 64
2025 | 2024-06-08 17:53 | 1.5165 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 24570.2808 | 50224.6268 | 5 | 64
2026 | 2024-06-08 17:53 | 1.5325 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9679 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.004 | 24559.5478 | 50222.2511 | 5 | 64
2027 | 2024-06-08 17:53 | 1.5493 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 24555.1862 | 50230.3999 | 5 | 64
2028 | 2024-06-08 17:53 | 1.5662 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 24543.6814 | 50234.394 | 5 | 64
2029 | 2024-06-08 17:53 | 1.583 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 24542.0301 | 50230.3237 | 5 | 64
2030 | 2024-06-08 17:53 | 1.5998 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 24560.4624 | 50224.6887 | 5 | 64
2031 | 2024-06-08 17:53 | 1.6159 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 24553.7517 | 50225.3397 | 5 | 64
2032 | 2024-06-08 17:53 | 1.6327 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24559.7556 | 50225.2158 | 5 | 64
2033 | 2024-06-08 17:53 | 1.6496 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 24554.2271 | 50234.3749 | 5 | 64
2034 | 2024-06-08 17:53 | 1.6665 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 24564.153 | 50232.5996 | 5 | 64
2035 | 2024-06-08 17:53 | 1.6824 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 24582.6737 | 50236.8649 | 5 | 64
2036 | 2024-06-08 17:53 | 1.6993 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9816 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.997 | 24595.8503 | 50230.4602 | 5 | 64
2037 | 2024-06-08 17:53 | 1.7161 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9718 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.002 | 24554.3138 | 50226.1163 | 5 | 64
2038 | 2024-06-08 17:53 | 1.7329 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 24580.7556 | 50225.025 | 5 | 64
2039 | 2024-06-08 17:53 | 1.7498 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24600.9135 | 50234.3207 | 5 | 64
2040 | 2024-06-08 17:53 | 1.7658 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 24564.3476 | 50228.6562 | 5 | 64
2041 | 2024-06-08 17:53 | 1.7826 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 24581.7664 | 50223.0404 | 5 | 64
2042 | 2024-06-08 17:53 | 1.7995 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24573.567 | 50231.0747 | 5 | 64
2043 | 2024-06-08 17:53 | 1.8164 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 24545.3173 | 50226.9605 | 5 | 64
2044 | 2024-06-08 17:53 | 1.8332 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24551.9874 | 50227.6079 | 5 | 64
2045 | 2024-06-08 17:53 | 1.8492 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24548.9183 | 50224.8753 | 5 | 64
2046 | 2024-06-08 17:53 | 1.8661 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 24523.3803 | 50227.6291 | 5 | 64
2047 | 2024-06-08 17:53 | 1.8829 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 24543.4731 | 50223.6833 | 5 | 64
2048 | 2024-06-08 17:53 | 1.8997 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 24552.4119 | 50229.2041 | 5 | 64
2049 | 2024-06-08 17:53 | 1.9158 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24545.5288 | 50223.0894 | 5 | 64
2050 | 2024-06-08 17:53 | 1.9326 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 24562.2872 | 50221.7762 | 5 | 64
2051 | 2024-06-08 17:54 | 1.9495 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9914 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.992 | 24566.6332 | 50225.3018 | 5 | 64
2052 | 2024-06-08 17:54 | 1.9663 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24561.548 | 50227.6496 | 5 | 64
2053 | 2024-06-08 17:54 | 1.9832 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 24585.1155 | 50236.9679 | 5 | 64
2054 | 2024-06-08 17:54 | 1.9992 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 24547.5192 | 50234.4922 | 5 | 64
2055 | 2024-06-08 17:54 | 2.016 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 24542.4138 | 50233.6772 | 5 | 64
2056 | 2024-06-08 17:54 | 2.0329 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24587.9058 | 50226.3658 | 5 | 64