## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-06-08 17:58

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2057 | 2024-06-08 17:56 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24487.4631 | 50212.9057 | 5 | 64
2058 | 2024-06-08 17:56 | 0.021063 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 24501.8226 | 50229.925 | 5 | 64
2059 | 2024-06-08 17:56 | 0.037093 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 24435.8077 | 50225.4627 | 5 | 64
2060 | 2024-06-08 17:56 | 0.053937 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9114 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.033 | 24441.5723 | 50236.8899 | 5 | 64
2061 | 2024-06-08 17:56 | 0.070756 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9309 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 24440.3788 | 50236.0523 | 5 | 64
2062 | 2024-06-08 17:56 | 0.087586 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 24324.8449 | 50243.3312 | 5 | 64
2063 | 2024-06-08 17:56 | 0.10361 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 24343.7907 | 50227.369 | 5 | 64
2064 | 2024-06-08 17:56 | 0.12046 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24279.7282 | 50228.0847 | 5 | 64
2065 | 2024-06-08 17:56 | 0.13731 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9309 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 24294.9728 | 50231.5493 | 5 | 64
2066 | 2024-06-08 17:56 | 0.15412 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 24309.9397 | 50237.8322 | 5 | 64
2067 | 2024-06-08 17:56 | 0.17099 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 24388.9907 | 50240.938 | 5 | 64
2068 | 2024-06-08 17:56 | 0.18699 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24404.75 | 50231.101 | 5 | 64
2069 | 2024-06-08 17:56 | 0.20382 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 24447.4437 | 50229.2114 | 5 | 64
2070 | 2024-06-08 17:56 | 0.22069 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24455.6063 | 50229.3628 | 5 | 64
2071 | 2024-06-08 17:56 | 0.23753 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9348 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 24452.1859 | 50231.9297 | 5 | 64
2072 | 2024-06-08 17:56 | 0.25435 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 24456.3332 | 50234.5853 | 5 | 64
2073 | 2024-06-08 17:56 | 0.27036 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 24477.7931 | 50233.0723 | 5 | 64
2074 | 2024-06-08 17:56 | 0.2872 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 24449.0986 | 50238.8951 | 5 | 64
2075 | 2024-06-08 17:56 | 0.30403 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24433.0528 | 50235.3855 | 5 | 64
2076 | 2024-06-08 17:56 | 0.32092 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24439.0587 | 50238.608 | 5 | 64
2077 | 2024-06-08 17:56 | 0.33773 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 24433.1745 | 50227.7035 | 5 | 64
2078 | 2024-06-08 17:56 | 0.35369 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 24415.346 | 50228.7074 | 5 | 64
2079 | 2024-06-08 17:56 | 0.37055 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 24428.3837 | 50232.2515 | 5 | 64
2080 | 2024-06-08 17:56 | 0.3874 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24437.7488 | 50227.365 | 5 | 64
2081 | 2024-06-08 17:56 | 0.40424 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9875 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 24451.2107 | 50225.7182 | 5 | 64
2082 | 2024-06-08 17:56 | 0.42108 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9718 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.002 | 24462.3287 | 50228.1388 | 5 | 64
2083 | 2024-06-08 17:56 | 0.43711 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24470.0038 | 50234.2553 | 5 | 64
2084 | 2024-06-08 17:56 | 0.45395 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9426 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 24446.8753 | 50226.7381 | 5 | 64
2085 | 2024-06-08 17:57 | 0.47084 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 24491.5871 | 50229.4816 | 5 | 64
2086 | 2024-06-08 17:57 | 0.48767 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24501.8625 | 50231.9372 | 5 | 64
2087 | 2024-06-08 17:57 | 0.50368 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 24501.3576 | 50230.4619 | 5 | 64
2088 | 2024-06-08 17:57 | 0.52057 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 24496.5754 | 50239.6638 | 5 | 64
2089 | 2024-06-08 17:57 | 0.53744 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 24513.7158 | 50228.4027 | 5 | 64
2090 | 2024-06-08 17:57 | 0.55428 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 24492.0589 | 50230.9363 | 5 | 64
2091 | 2024-06-08 17:57 | 0.5703 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9173 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 24485.102 | 50221.3494 | 5 | 64
2092 | 2024-06-08 17:57 | 0.58718 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24502.5992 | 50215.2392 | 5 | 64
2093 | 2024-06-08 17:57 | 0.60403 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 24498.5563 | 50226.2695 | 5 | 64
2094 | 2024-06-08 17:57 | 0.62089 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 24518.1771 | 50229.0669 | 5 | 64
2095 | 2024-06-08 17:57 | 0.63776 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 24511.5507 | 50224.1782 | 5 | 64
2096 | 2024-06-08 17:57 | 0.65375 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9367 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 24499.9185 | 50217.6207 | 5 | 64
2097 | 2024-06-08 17:57 | 0.67058 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 24502.8436 | 50225.6982 | 5 | 64
2098 | 2024-06-08 17:57 | 0.68744 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24483.4966 | 50224.7042 | 5 | 64
2099 | 2024-06-08 17:57 | 0.70425 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9348 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 24463.9313 | 50230.5343 | 5 | 64
2100 | 2024-06-08 17:57 | 0.72027 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 24512.3679 | 50223.1843 | 5 | 64
2101 | 2024-06-08 17:57 | 0.73711 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24465.6751 | 50220.1807 | 5 | 64
2102 | 2024-06-08 17:57 | 0.75398 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9953 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 24473.8733 | 50222.7985 | 5 | 64
2103 | 2024-06-08 17:57 | 0.77083 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24465.1808 | 50225.1634 | 5 | 64
2104 | 2024-06-08 17:57 | 0.78769 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24489.0421 | 50223.6975 | 5 | 64
2105 | 2024-06-08 17:57 | 0.80371 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24513.4013 | 50221.132 | 5 | 64
2106 | 2024-06-08 17:57 | 0.82059 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9134 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.032 | 24511.2744 | 50224.9082 | 5 | 64
2107 | 2024-06-08 17:57 | 0.83751 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24521.4677 | 50231.3893 | 5 | 64
2108 | 2024-06-08 17:57 | 0.85436 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24503.0156 | 50215.547 | 5 | 64
2109 | 2024-06-08 17:57 | 0.8704 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 24505.0032 | 50223.0341 | 5 | 64
2110 | 2024-06-08 17:57 | 0.88731 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 24537.2169 | 50218.7025 | 5 | 64
2111 | 2024-06-08 17:57 | 0.90419 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9426 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 24551.6188 | 50222.6692 | 5 | 64
2112 | 2024-06-08 17:57 | 0.92027 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9445 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 24541.1983 | 50223.8855 | 5 | 64
2113 | 2024-06-08 17:57 | 0.93722 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24549.069 | 50223.4275 | 5 | 64
2114 | 2024-06-08 17:57 | 0.95417 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9309 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 24578.0167 | 50223.4962 | 5 | 64
2115 | 2024-06-08 17:57 | 0.97025 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9582 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 24571.1746 | 50235.1748 | 5 | 64
2116 | 2024-06-08 17:57 | 0.98721 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24576.2124 | 50222.7022 | 5 | 64
2117 | 2024-06-08 17:57 | 1.0042 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9328 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 24592.2448 | 50219.2115 | 5 | 64
2118 | 2024-06-08 17:57 | 1.0203 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 24610.642 | 50222.4728 | 5 | 64
2119 | 2024-06-08 17:57 | 1.0371 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24627.7959 | 50227.3367 | 5 | 64
2120 | 2024-06-08 17:57 | 1.054 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 24607.1369 | 50220.9141 | 5 | 64
2121 | 2024-06-08 17:57 | 1.071 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9348 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 24609.4856 | 50216.166 | 5 | 64
2122 | 2024-06-08 17:57 | 1.0871 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 24638.6243 | 50224.0514 | 5 | 64
2123 | 2024-06-08 17:57 | 1.104 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24612.9528 | 50214.9817 | 5 | 64
2124 | 2024-06-08 17:57 | 1.1209 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9192 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 24634.4353 | 50220.1995 | 5 | 64
2125 | 2024-06-08 17:57 | 1.1369 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9543 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 24649.4793 | 50223.1319 | 5 | 64
2126 | 2024-06-08 17:57 | 1.1538 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24642.0128 | 50207.6088 | 5 | 64
2127 | 2024-06-08 17:57 | 1.1708 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24645.8377 | 50223.2953 | 5 | 64
2128 | 2024-06-08 17:57 | 1.1877 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9231 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.027 | 24657.9579 | 50230.5179 | 5 | 64
2129 | 2024-06-08 17:57 | 1.2038 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24644.0156 | 50221.9337 | 5 | 64
2130 | 2024-06-08 17:57 | 1.2208 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9153 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.031 | 24647.781 | 50217.3107 | 5 | 64
2131 | 2024-06-08 17:57 | 1.2377 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9543 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 24643.1572 | 50217.5891 | 5 | 64
2132 | 2024-06-08 17:57 | 1.2537 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.925 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 24657.225 | 50213.4057 | 5 | 64
2133 | 2024-06-08 17:57 | 1.2706 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.927 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 24669.6891 | 50222.2486 | 5 | 64
2134 | 2024-06-08 17:57 | 1.2875 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 24679.1672 | 50218.7159 | 5 | 64
2135 | 2024-06-08 17:57 | 1.3044 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9679 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.004 | 24679.6473 | 50221.4739 | 5 | 64
2136 | 2024-06-08 17:57 | 1.3204 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 24675.6563 | 50216.3483 | 5 | 64
2137 | 2024-06-08 17:57 | 1.3374 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24682.6531 | 50222.923 | 5 | 64
2138 | 2024-06-08 17:57 | 1.3542 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9562 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 24675.2962 | 50223.8113 | 5 | 64
2139 | 2024-06-08 17:57 | 1.3703 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 24677.1806 | 50217.866 | 5 | 64
2140 | 2024-06-08 17:57 | 1.3871 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9484 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 24668.767 | 50216.9569 | 5 | 64
2141 | 2024-06-08 17:57 | 1.4039 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 24663.0327 | 50228.9055 | 5 | 64
2142 | 2024-06-08 17:57 | 1.4208 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 24673.8002 | 50211.9117 | 5 | 64
2143 | 2024-06-08 17:57 | 1.4377 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24690.9128 | 50221.7984 | 5 | 64
2144 | 2024-06-08 17:57 | 1.4537 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9758 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28 | 24680.2789 | 50215.3307 | 5 | 64
2145 | 2024-06-08 17:58 | 1.4705 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9894 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 24690.3372 | 50217.0166 | 5 | 64
2146 | 2024-06-08 17:58 | 1.4873 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9406 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 24687.45 | 50223.5535 | 5 | 64
2147 | 2024-06-08 17:58 | 1.5042 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 24668.2861 | 50208.9905 | 5 | 64
2148 | 2024-06-08 17:58 | 1.521 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9816 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.997 | 24689.3571 | 50214.132 | 5 | 64
2149 | 2024-06-08 17:58 | 1.537 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 24666.9919 | 50211.8562 | 5 | 64
2150 | 2024-06-08 17:58 | 1.5538 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24689.3731 | 50218.7478 | 5 | 64
2151 | 2024-06-08 17:58 | 1.5707 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9953 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 24694.8995 | 50225.8674 | 5 | 64
2152 | 2024-06-08 17:58 | 1.5875 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9523 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 24698.2555 | 50229.9575 | 5 | 64
2153 | 2024-06-08 17:58 | 1.6043 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9348 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 24694.9927 | 50222.664 | 5 | 64
2154 | 2024-06-08 17:58 | 1.6203 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.995 | 24694.6874 | 50224.4008 | 5 | 64
2155 | 2024-06-08 17:58 | 1.6372 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24699.3231 | 50225.3738 | 5 | 64
2156 | 2024-06-08 17:58 | 1.6541 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9601 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 24694.6884 | 50212.6737 | 5 | 64
2157 | 2024-06-08 17:58 | 1.6709 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9718 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.002 | 24693.7745 | 50222.0811 | 5 | 64
2158 | 2024-06-08 17:58 | 1.6869 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9504 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 24683.7124 | 50208.2494 | 5 | 64
2159 | 2024-06-08 17:58 | 1.7038 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9621 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.007 | 24676.4317 | 50223.8226 | 5 | 64
2160 | 2024-06-08 17:58 | 1.7206 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9836 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 24677.546 | 50224.3945 | 5 | 64
2161 | 2024-06-08 17:58 | 1.7374 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9543 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 24661.4958 | 50205.5119 | 5 | 64
2162 | 2024-06-08 17:58 | 1.7542 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9836 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 24659.4558 | 50214.8855 | 5 | 64
2163 | 2024-06-08 17:58 | 1.7703 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.966 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 24661.7073 | 50207.2947 | 5 | 64
2164 | 2024-06-08 17:58 | 1.7871 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9738 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 24660.9955 | 50220.86 | 5 | 64
2165 | 2024-06-08 17:58 | 1.804 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9679 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.004 | 24661.6832 | 50217.11 | 5 | 64
2166 | 2024-06-08 17:58 | 1.8208 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9289 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 24667.1494 | 50211.0561 | 5 | 64
2167 | 2024-06-08 17:58 | 1.8376 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9855 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.995 | 24639.3417 | 50209.9488 | 5 | 64
2168 | 2024-06-08 17:58 | 1.8536 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9718 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.002 | 24658.6989 | 50214.0082 | 5 | 64
2169 | 2024-06-08 17:58 | 1.8705 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9699 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 24651.3992 | 50205.2984 | 5 | 64
2170 | 2024-06-08 17:58 | 1.8873 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9718 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.002 | 24676.4896 | 50218.893 | 5 | 64
2171 | 2024-06-08 17:58 | 1.9042 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.964 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 24685.6109 | 50226.0684 | 5 | 64
2172 | 2024-06-08 17:58 | 1.921 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9387 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 24671.8763 | 50224.1697 | 5 | 64
2173 | 2024-06-08 17:58 | 1.937 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9465 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 24679.0728 | 50213.6332 | 5 | 64
2174 | 2024-06-08 17:58 | 1.9539 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9797 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.998 | 24682.8631 | 50218.4734 | 5 | 64
2175 | 2024-06-08 17:58 | 1.9708 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.007 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.984 | 24676.651 | 50218.3975 | 5 | 64
2176 | 2024-06-08 17:58 | 1.9876 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9777 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 24687.462 | 50220.4646 | 5 | 64
2177 | 2024-06-08 17:58 | 2.0036 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9797 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.998 | 24687.6417 | 50217.4288 | 5 | 64
2178 | 2024-06-08 17:58 | 2.0204 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9797 | %O2 | 21 | °C | 0.986 | atm | Dry | 0 | 0 |  | 0 | 27.998 | 24696.5953 | 50217.9162 | 5 | 64