## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-07-15 16:24

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2568 | 2024-07-15 16:21 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0504 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.447 | 33776.5923 | 50428.63 | 5 | 64
2569 | 2024-07-15 16:21 | 0.015138 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0323 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.476 | 33716.0167 | 50444.0817 | 5 | 64
2570 | 2024-07-15 16:21 | 0.031161 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0554 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.439 | 33790.5191 | 50459.3919 | 5 | 64
2571 | 2024-07-15 16:21 | 0.048039 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0542 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.441 | 33858.8239 | 50464.4209 | 5 | 64
2572 | 2024-07-15 16:21 | 0.064825 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0504 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.447 | 33920.0156 | 50455.3771 | 5 | 64
2573 | 2024-07-15 16:21 | 0.081632 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0517 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.445 | 33925.6738 | 50452.2793 | 5 | 64
2574 | 2024-07-15 16:21 | 0.098484 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0561 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.438 | 33916.3447 | 50458.2129 | 5 | 64
2575 | 2024-07-15 16:21 | 0.11447 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0598 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.432 | 33891.7974 | 50459.5851 | 5 | 64
2576 | 2024-07-15 16:21 | 0.13131 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0598 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.432 | 33922.7417 | 50438.9371 | 5 | 64
2577 | 2024-07-15 16:21 | 0.14814 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0624 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.428 | 33907.0564 | 50441.8088 | 5 | 64
2578 | 2024-07-15 16:22 | 0.16498 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0586 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.434 | 33844.9351 | 50443.645 | 5 | 64
2579 | 2024-07-15 16:22 | 0.18181 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0554 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.439 | 33808.0259 | 50447.5223 | 5 | 64
2580 | 2024-07-15 16:22 | 0.19781 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0567 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.437 | 33794.4433 | 50442.9269 | 5 | 64
2581 | 2024-07-15 16:22 | 0.21467 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0561 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.438 | 33754.2785 | 50445.0913 | 5 | 64
2582 | 2024-07-15 16:22 | 0.23153 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0636 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.426 | 33823.8634 | 50445.4045 | 5 | 64
2583 | 2024-07-15 16:22 | 0.24836 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0598 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.432 | 33761.3647 | 50440.051 | 5 | 64
2584 | 2024-07-15 16:22 | 0.26515 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0554 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.439 | 33736.1156 | 50444.9039 | 5 | 64
2585 | 2024-07-15 16:22 | 0.28111 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0649 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.424 | 33709.5029 | 50449.4178 | 5 | 64
2586 | 2024-07-15 16:22 | 0.29792 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0554 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.439 | 33667.5073 | 50425.4853 | 5 | 64
2587 | 2024-07-15 16:22 | 0.31478 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0705 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.415 | 33688.2963 | 50441.8386 | 5 | 64
2588 | 2024-07-15 16:22 | 0.33162 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0711 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.414 | 33701.681 | 50435.0739 | 5 | 64
2589 | 2024-07-15 16:22 | 0.34844 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.068 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.419 | 33720.6525 | 50438.0031 | 5 | 64
2590 | 2024-07-15 16:22 | 0.36442 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0603 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.42 | 33723.4264 | 50437.6421 | 5 | 64
2591 | 2024-07-15 16:22 | 0.38126 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0559 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.427 | 33737.4281 | 50439.4796 | 5 | 64
2592 | 2024-07-15 16:22 | 0.39811 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.066 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.411 | 33731.1421 | 50437.5554 | 5 | 64
2593 | 2024-07-15 16:22 | 0.41494 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0609 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.419 | 33763.2079 | 50432.0507 | 5 | 64
2594 | 2024-07-15 16:22 | 0.4318 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0628 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.416 | 33765.6725 | 50443.7438 | 5 | 64
2595 | 2024-07-15 16:22 | 0.44781 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0578 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.424 | 33744.3191 | 50439.1186 | 5 | 64
2596 | 2024-07-15 16:22 | 0.46464 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0559 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.427 | 33714.4662 | 50429.8942 | 5 | 64
2597 | 2024-07-15 16:22 | 0.48147 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0553 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.428 | 33727.9759 | 50431.0961 | 5 | 64
2598 | 2024-07-15 16:22 | 0.49834 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0603 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.42 | 33706.1592 | 50440.8882 | 5 | 64
2599 | 2024-07-15 16:22 | 0.51517 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0515 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.434 | 33707.1423 | 50434.0727 | 5 | 64
2600 | 2024-07-15 16:22 | 0.53114 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0666 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.41 | 33710.9427 | 50437.2969 | 5 | 64
2601 | 2024-07-15 16:22 | 0.54793 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0597 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.421 | 33651.1122 | 50433.7386 | 5 | 64
2602 | 2024-07-15 16:22 | 0.56478 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.049 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.438 | 33646.6029 | 50431.6828 | 5 | 64
2603 | 2024-07-15 16:22 | 0.58159 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0578 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.424 | 33642.9996 | 50432.9261 | 5 | 64
2604 | 2024-07-15 16:22 | 0.59847 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0774 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.404 | 33661.6546 | 50439.0774 | 5 | 64
2605 | 2024-07-15 16:22 | 0.61444 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.068 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.419 | 33613.0413 | 50429.6777 | 5 | 64
2606 | 2024-07-15 16:22 | 0.63126 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0567 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.437 | 33593.6571 | 50425.4658 | 5 | 64
2607 | 2024-07-15 16:22 | 0.6481 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0523 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.444 | 33699.2399 | 50427.2732 | 5 | 64
2608 | 2024-07-15 16:22 | 0.66499 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0605 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.431 | 33628.4809 | 50436.5921 | 5 | 64
2609 | 2024-07-15 16:22 | 0.68183 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 10.4732 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 35.881 | 29356.5703 | 50430.8623 | 5 | 64
2610 | 2024-07-15 16:22 | 0.69786 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 15.5729 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 31.285 | 24760.4027 | 50436.3972 | 5 | 64
2611 | 2024-07-15 16:22 | 0.71466 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 18.365 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 29.437 | 22819.544 | 50423.2568 | 5 | 64
2612 | 2024-07-15 16:22 | 0.73153 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.7538 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.638 | 22017.964 | 50438.4613 | 5 | 64
2613 | 2024-07-15 16:22 | 0.74838 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.3831 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.298 | 21644.6124 | 50430.0484 | 5 | 64
2614 | 2024-07-15 16:22 | 0.7644 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.703 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.13 | 21478.6169 | 50431.8265 | 5 | 64
2615 | 2024-07-15 16:22 | 0.78122 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9158 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 21395.2963 | 50431.4873 | 5 | 64
2616 | 2024-07-15 16:22 | 0.79803 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9431 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 21359.8293 | 50420.5866 | 5 | 64
2617 | 2024-07-15 16:22 | 0.81486 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0291 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.962 | 21332.2827 | 50436.6964 | 5 | 64
2618 | 2024-07-15 16:22 | 0.83168 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9978 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 21325.4149 | 50431.0179 | 5 | 64
2619 | 2024-07-15 16:22 | 0.8477 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0036 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.975 | 21306.8551 | 50425.7077 | 5 | 64
2620 | 2024-07-15 16:22 | 0.86456 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0134 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.97 | 21319.6373 | 50428.8418 | 5 | 64
2621 | 2024-07-15 16:22 | 0.8814 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0507 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 21333.7149 | 50426.3173 | 5 | 64
2622 | 2024-07-15 16:22 | 0.89826 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0056 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 21317.2636 | 50430.0037 | 5 | 64
2623 | 2024-07-15 16:22 | 0.91507 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0428 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.955 | 21318.4997 | 50421.8606 | 5 | 64
2624 | 2024-07-15 16:22 | 0.93106 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0056 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 21298.5168 | 50416.6412 | 5 | 64
2625 | 2024-07-15 16:22 | 0.94789 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0369 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.958 | 21306.1324 | 50419.9122 | 5 | 64
2626 | 2024-07-15 16:22 | 0.96471 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0056 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 21293.6372 | 50428.3531 | 5 | 64
2627 | 2024-07-15 16:22 | 0.98155 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.035 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.959 | 21295.7355 | 50431.3813 | 5 | 64
2628 | 2024-07-15 16:22 | 0.99844 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9958 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 21257.0694 | 50428.5917 | 5 | 64
2629 | 2024-07-15 16:22 | 1.0145 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0075 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.973 | 21253.7752 | 50426.5071 | 5 | 64
2630 | 2024-07-15 16:22 | 1.0313 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0173 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.968 | 21239.6398 | 50426.9871 | 5 | 64
2631 | 2024-07-15 16:22 | 1.0482 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9997 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.977 | 21278.9839 | 50427.962 | 5 | 64
2632 | 2024-07-15 16:22 | 1.0651 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9938 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.98 | 21250.3808 | 50416.8316 | 5 | 64
2633 | 2024-07-15 16:22 | 1.081 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0036 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.975 | 21249.9309 | 50417.0681 | 5 | 64
2634 | 2024-07-15 16:22 | 1.0979 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9802 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 21242.5559 | 50431.4568 | 5 | 64
2635 | 2024-07-15 16:22 | 1.1147 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0134 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.97 | 21243.7545 | 50429.5202 | 5 | 64
2636 | 2024-07-15 16:22 | 1.1315 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.033 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 21257.9249 | 50427.4826 | 5 | 64
2637 | 2024-07-15 16:22 | 1.1483 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0115 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.971 | 21259.8637 | 50412.358 | 5 | 64
2638 | 2024-07-15 16:23 | 1.1651 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0115 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.971 | 21273.3057 | 50412.807 | 5 | 64
2639 | 2024-07-15 16:23 | 1.1811 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0507 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 21288.5691 | 50420.6279 | 5 | 64
2640 | 2024-07-15 16:23 | 1.1979 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0173 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.968 | 21291.3151 | 50425.0286 | 5 | 64
2641 | 2024-07-15 16:23 | 1.2148 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.988 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.983 | 21276.9823 | 50406.0771 | 5 | 64
2642 | 2024-07-15 16:23 | 1.2316 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9782 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 21293.4242 | 50414.6486 | 5 | 64
2643 | 2024-07-15 16:23 | 1.2484 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0154 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.969 | 21298.0045 | 50422.435 | 5 | 64
2644 | 2024-07-15 16:23 | 1.2644 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.031 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.961 | 21293.8166 | 50421.2162 | 5 | 64
2645 | 2024-07-15 16:23 | 1.2813 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0271 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.963 | 21293.7611 | 50420.407 | 5 | 64
2646 | 2024-07-15 16:23 | 1.2981 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.033 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 21318.6202 | 50422.8411 | 5 | 64
2647 | 2024-07-15 16:23 | 1.315 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0369 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.958 | 21296.3753 | 50417.7742 | 5 | 64
2648 | 2024-07-15 16:23 | 1.3318 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9938 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.98 | 21289.7872 | 50417.9162 | 5 | 64
2649 | 2024-07-15 16:23 | 1.3478 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 17.0684 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 30.251 | 23548.9465 | 50421.0293 | 5 | 64
2650 | 2024-07-15 16:23 | 1.3647 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 11.9146 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 34.374 | 27730.4738 | 50417.6647 | 5 | 64
2651 | 2024-07-15 16:23 | 1.3816 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 9.4049 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 37.126 | 30476.6766 | 50418.7904 | 5 | 64
2652 | 2024-07-15 16:23 | 1.3984 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.2039 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 38.71 | 32020.5086 | 50428.7863 | 5 | 64
2653 | 2024-07-15 16:23 | 1.4144 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.6468 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 39.516 | 32781.6758 | 50426.0022 | 5 | 64
2654 | 2024-07-15 16:23 | 1.4313 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.3494 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 39.967 | 33171.8616 | 50414.7702 | 5 | 64
2655 | 2024-07-15 16:23 | 1.4481 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.2123 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.18 | 33388.3563 | 50434.0009 | 5 | 64
2656 | 2024-07-15 16:23 | 1.465 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1347 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.302 | 33454.0154 | 50421.4179 | 5 | 64
2657 | 2024-07-15 16:23 | 1.4818 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1094 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.342 | 33514.6707 | 50424.9501 | 5 | 64
2658 | 2024-07-15 16:23 | 1.4978 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0899 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.373 | 33553.2183 | 50417.6024 | 5 | 64
2659 | 2024-07-15 16:23 | 1.5146 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0697 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.405 | 33538.4399 | 50417.71 | 5 | 64
2660 | 2024-07-15 16:23 | 1.5315 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.071 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.403 | 33587.1242 | 50420.3452 | 5 | 64
2661 | 2024-07-15 16:23 | 1.5483 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0666 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.41 | 33565.4015 | 50425.377 | 5 | 64
2662 | 2024-07-15 16:23 | 1.5652 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0628 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.416 | 33560.997 | 50417.0234 | 5 | 64
2663 | 2024-07-15 16:23 | 1.5811 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0718 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.413 | 33526.8468 | 50420.2747 | 5 | 64
2664 | 2024-07-15 16:23 | 1.598 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0705 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.415 | 33552.6248 | 50408.3471 | 5 | 64
2665 | 2024-07-15 16:23 | 1.6148 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0611 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.43 | 33585.3716 | 50417.4163 | 5 | 64
2666 | 2024-07-15 16:23 | 1.6316 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0781 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.403 | 33565.3589 | 50420.6718 | 5 | 64
2667 | 2024-07-15 16:23 | 1.6484 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.068 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.419 | 33605.291 | 50417.7036 | 5 | 64
2668 | 2024-07-15 16:23 | 1.6645 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0586 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.434 | 33605.665 | 50423.1564 | 5 | 64
2669 | 2024-07-15 16:23 | 1.6813 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0586 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.434 | 33587.1466 | 50418.1139 | 5 | 64
2670 | 2024-07-15 16:23 | 1.6981 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0711 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.414 | 33568.9263 | 50420.8368 | 5 | 64
2671 | 2024-07-15 16:23 | 1.715 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0649 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.424 | 33563.9494 | 50408.628 | 5 | 64
2672 | 2024-07-15 16:23 | 1.7318 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0711 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.414 | 33570.1491 | 50417.938 | 5 | 64
2673 | 2024-07-15 16:23 | 1.7478 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0605 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.431 | 33529.2362 | 50410.6228 | 5 | 64
2674 | 2024-07-15 16:23 | 1.7646 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0636 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.426 | 33554.5247 | 50423.4249 | 5 | 64
2675 | 2024-07-15 16:23 | 1.7815 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0617 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.429 | 33544.1361 | 50401.6595 | 5 | 64
2676 | 2024-07-15 16:23 | 1.7983 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0598 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.432 | 33556.4975 | 50423.2399 | 5 | 64
2677 | 2024-07-15 16:23 | 1.8151 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0561 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.438 | 33555.0532 | 50420.3314 | 5 | 64
2678 | 2024-07-15 16:23 | 1.8311 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0605 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.431 | 33544.7152 | 50421.1522 | 5 | 64
2679 | 2024-07-15 16:23 | 1.8479 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0598 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.432 | 33507.295 | 50419.1445 | 5 | 64
2680 | 2024-07-15 16:23 | 1.8647 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0592 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.433 | 33491.1593 | 50404.3729 | 5 | 64
2681 | 2024-07-15 16:23 | 1.8815 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0624 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.428 | 33468.2789 | 50408.2672 | 5 | 64
2682 | 2024-07-15 16:23 | 1.8984 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0554 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.439 | 33451.4927 | 50415.0892 | 5 | 64
2683 | 2024-07-15 16:23 | 1.9152 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0592 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.433 | 33443.6072 | 50414.0415 | 5 | 64
2684 | 2024-07-15 16:23 | 1.9312 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0649 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.424 | 33412.6813 | 50416.5857 | 5 | 64
2685 | 2024-07-15 16:23 | 1.948 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0661 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.422 | 33399.5657 | 50409.3561 | 5 | 64
2686 | 2024-07-15 16:23 | 1.9648 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.058 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.435 | 33416.5225 | 50419.4663 | 5 | 64
2687 | 2024-07-15 16:23 | 1.9816 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0693 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.417 | 33421.9603 | 50412.629 | 5 | 64
2688 | 2024-07-15 16:23 | 1.9985 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0642 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.425 | 33383.6788 | 50420.6342 | 5 | 64
2689 | 2024-07-15 16:23 | 2.0145 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0649 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.424 | 33412.6975 | 50416.124 | 5 | 64
2690 | 2024-07-15 16:23 | 2.0313 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0542 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.441 | 33249.5514 | 50408.0872 | 5 | 64
2691 | 2024-07-15 16:23 | 2.0482 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0611 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.43 | 33282.7351 | 50420.7514 | 5 | 64