## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-07-15 16:31

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2692 | 2024-07-15 16:29 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0273 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.484 | 37529.7325 | 50382.9034 | 5 | 64
2693 | 2024-07-15 16:29 | 0.02018 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0341 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.473 | 37629 | 50401.7449 | 5 | 64
2694 | 2024-07-15 16:29 | 0.036149 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0185 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.498 | 37627.0301 | 50398.3361 | 5 | 64
2695 | 2024-07-15 16:29 | 0.053021 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0335 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.474 | 37624.7727 | 50398.2128 | 5 | 64
2696 | 2024-07-15 16:29 | 0.06988 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0241 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.489 | 37612.1349 | 50398.5419 | 5 | 64
2697 | 2024-07-15 16:29 | 0.086738 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0329 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.475 | 37635.6052 | 50402.3304 | 5 | 64
2698 | 2024-07-15 16:29 | 0.10274 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0341 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.473 | 37616.6404 | 50390.6428 | 5 | 64
2699 | 2024-07-15 16:29 | 0.11953 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.031 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.478 | 37614.8202 | 50392.7487 | 5 | 64
2700 | 2024-07-15 16:29 | 0.13633 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0373 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.468 | 37622.4673 | 50402.123 | 5 | 64
2701 | 2024-07-15 16:29 | 0.1532 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0373 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.468 | 37613.563 | 50397.6316 | 5 | 64
2702 | 2024-07-15 16:29 | 0.17003 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0385 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.466 | 37617.2922 | 50404.5607 | 5 | 64
2703 | 2024-07-15 16:29 | 0.18687 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0354 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.471 | 37645.7376 | 50404.8878 | 5 | 64
2704 | 2024-07-15 16:29 | 0.20286 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0323 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.476 | 37639.5294 | 50395.2077 | 5 | 64
2705 | 2024-07-15 16:29 | 0.21972 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0341 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.473 | 37599.2082 | 50390.7312 | 5 | 64
2706 | 2024-07-15 16:29 | 0.23652 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0385 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.466 | 37609.1206 | 50405.1957 | 5 | 64
2707 | 2024-07-15 16:29 | 0.25335 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0435 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.458 | 37608.6169 | 50393.9336 | 5 | 64
2708 | 2024-07-15 16:29 | 0.27022 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0398 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.464 | 37583.5871 | 50396.0157 | 5 | 64
2709 | 2024-07-15 16:29 | 0.28625 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0354 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.471 | 37582.7171 | 50390.9027 | 5 | 64
2710 | 2024-07-15 16:29 | 0.3031 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.031 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.478 | 37561.6851 | 50374.9167 | 5 | 64
2711 | 2024-07-15 16:29 | 0.31989 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0354 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.471 | 37559.4272 | 50391.8012 | 5 | 64
2712 | 2024-07-15 16:29 | 0.33674 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0366 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.469 | 37569.7004 | 50396.234 | 5 | 64
2713 | 2024-07-15 16:29 | 0.35355 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0335 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.474 | 37587.6207 | 50393.2669 | 5 | 64
2714 | 2024-07-15 16:29 | 0.36959 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0435 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.458 | 37555.4079 | 50395.3486 | 5 | 64
2715 | 2024-07-15 16:29 | 0.38643 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0377 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.456 | 37585.5803 | 50385.9661 | 5 | 64
2716 | 2024-07-15 16:29 | 0.4033 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0265 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.474 | 37604.189 | 50375.0751 | 5 | 64
2717 | 2024-07-15 16:29 | 0.42013 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0302 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.468 | 37561.0458 | 50386.3673 | 5 | 64
2718 | 2024-07-15 16:29 | 0.43613 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0415 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.45 | 37560.1781 | 50395.2439 | 5 | 64
2719 | 2024-07-15 16:29 | 0.45295 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.034 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.462 | 37562.4958 | 50399.1801 | 5 | 64
2720 | 2024-07-15 16:29 | 0.46975 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0321 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.465 | 37527.6176 | 50382.6696 | 5 | 64
2721 | 2024-07-15 16:29 | 0.4866 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0377 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.456 | 37541.248 | 50392.6115 | 5 | 64
2722 | 2024-07-15 16:29 | 0.50346 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0352 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.46 | 37430.2517 | 50376.158 | 5 | 64
2723 | 2024-07-15 16:29 | 0.51943 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.029 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.47 | 37455.5794 | 50398.9075 | 5 | 64
2724 | 2024-07-15 16:29 | 0.53628 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0334 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.463 | 37401.2456 | 50391.9068 | 5 | 64
2725 | 2024-07-15 16:29 | 0.55315 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.034 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.462 | 37395.216 | 50389.1501 | 5 | 64
2726 | 2024-07-15 16:29 | 0.56999 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0334 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.463 | 37361.7422 | 50387.1886 | 5 | 64
2727 | 2024-07-15 16:29 | 0.58681 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0327 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.464 | 37320.8468 | 50400.1718 | 5 | 64
2728 | 2024-07-15 16:29 | 0.60278 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0379 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.467 | 37319.3088 | 50386.3869 | 5 | 64
2729 | 2024-07-15 16:29 | 0.61963 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0398 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.464 | 37323.4634 | 50395.2363 | 5 | 64
2730 | 2024-07-15 16:29 | 0.63649 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0435 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.458 | 37233.1837 | 50380.5605 | 5 | 64
2731 | 2024-07-15 16:29 | 0.65336 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0423 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.46 | 37325.7795 | 50391.9198 | 5 | 64
2732 | 2024-07-15 16:29 | 0.67017 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.3906 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 39.915 | 36685.6594 | 50392.0383 | 5 | 64
2733 | 2024-07-15 16:29 | 0.68615 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 13.1406 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 33.235 | 29546.7109 | 50388.0969 | 5 | 64
2734 | 2024-07-15 16:29 | 0.70299 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 17.1173 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 30.219 | 26080.0968 | 50387.3991 | 5 | 64
2735 | 2024-07-15 16:29 | 0.71987 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.106 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 29.002 | 24701.0097 | 50377.1655 | 5 | 64
2736 | 2024-07-15 16:29 | 0.7367 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.0599 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.471 | 24077.6562 | 50385.0105 | 5 | 64
2737 | 2024-07-15 16:29 | 0.75274 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.5061 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.233 | 23745.5328 | 50380.3088 | 5 | 64
2738 | 2024-07-15 16:29 | 0.76958 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.7415 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.11 | 23618.4504 | 50387.7398 | 5 | 64
2739 | 2024-07-15 16:29 | 0.78643 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8245 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.067 | 23518.5211 | 50379.2121 | 5 | 64
2740 | 2024-07-15 16:29 | 0.80325 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.91 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 23558.8478 | 50374.1722 | 5 | 64
2741 | 2024-07-15 16:29 | 0.8201 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9333 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 23508.9705 | 50383.904 | 5 | 64
2742 | 2024-07-15 16:29 | 0.83609 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.945 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23430.4684 | 50379.8412 | 5 | 64
2743 | 2024-07-15 16:29 | 0.85292 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9743 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 23424.754 | 50380.1241 | 5 | 64
2744 | 2024-07-15 16:29 | 0.86975 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.945 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23401.8804 | 50380.5335 | 5 | 64
2745 | 2024-07-15 16:29 | 0.8866 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9938 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.98 | 23402.7051 | 50385.4544 | 5 | 64
2746 | 2024-07-15 16:29 | 0.90346 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9919 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.981 | 23407.0266 | 50376.864 | 5 | 64
2747 | 2024-07-15 16:29 | 0.91949 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9626 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 23437.6943 | 50380.6 | 5 | 64
2748 | 2024-07-15 16:30 | 0.93636 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9587 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.998 | 23402.561 | 50381.147 | 5 | 64
2749 | 2024-07-15 16:30 | 0.95323 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9372 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 23397.1186 | 50386.2023 | 5 | 64
2750 | 2024-07-15 16:30 | 0.97011 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9978 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 23395.2994 | 50382.81 | 5 | 64
2751 | 2024-07-15 16:30 | 0.98612 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9899 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.982 | 23422.4217 | 50382.3078 | 5 | 64
2752 | 2024-07-15 16:30 | 1.0029 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0017 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.976 | 23391.1187 | 50380.3525 | 5 | 64
2753 | 2024-07-15 16:30 | 1.0198 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9802 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 23405.1017 | 50388.4925 | 5 | 64
2754 | 2024-07-15 16:30 | 1.0366 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0017 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.976 | 23421.7559 | 50385.7157 | 5 | 64
2755 | 2024-07-15 16:30 | 1.0535 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9665 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 23445.1044 | 50387.813 | 5 | 64
2756 | 2024-07-15 16:30 | 1.0695 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9665 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 23460.204 | 50380.6357 | 5 | 64
2757 | 2024-07-15 16:30 | 1.0863 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9665 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 23436.3653 | 50382.3378 | 5 | 64
2758 | 2024-07-15 16:30 | 1.1032 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9768 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 23405.6686 | 50373.1476 | 5 | 64
2759 | 2024-07-15 16:30 | 1.12 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9651 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.984 | 23401.9996 | 50376.9306 | 5 | 64
2760 | 2024-07-15 16:30 | 1.1368 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9514 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.991 | 23405.6907 | 50376.6783 | 5 | 64
2761 | 2024-07-15 16:30 | 1.1528 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9631 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.985 | 23357.7687 | 50370.4161 | 5 | 64
2762 | 2024-07-15 16:30 | 1.1697 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9572 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 23352.1975 | 50387.1041 | 5 | 64
2763 | 2024-07-15 16:30 | 1.1865 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0022 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.965 | 23341.9215 | 50378.1137 | 5 | 64
2764 | 2024-07-15 16:30 | 1.2034 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9748 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 23325.2551 | 50372.758 | 5 | 64
2765 | 2024-07-15 16:30 | 1.2202 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9807 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.976 | 23335.6362 | 50381.5754 | 5 | 64
2766 | 2024-07-15 16:30 | 1.2362 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9612 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.986 | 23349.4299 | 50381.4663 | 5 | 64
2767 | 2024-07-15 16:30 | 1.253 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9885 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.972 | 23381.121 | 50382.4743 | 5 | 64
2768 | 2024-07-15 16:30 | 1.2699 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9455 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 23362.798 | 50378.5359 | 5 | 64
2769 | 2024-07-15 16:30 | 1.2867 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0042 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.964 | 23373.5114 | 50377.5442 | 5 | 64
2770 | 2024-07-15 16:30 | 1.3036 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9958 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 23356.4226 | 50377.1747 | 5 | 64
2771 | 2024-07-15 16:30 | 1.3196 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0154 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.969 | 23347.3391 | 50389.6545 | 5 | 64
2772 | 2024-07-15 16:30 | 1.3364 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.4189 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.279 | 23667.7805 | 50382.7633 | 5 | 64
2773 | 2024-07-15 16:30 | 1.3533 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 13.9831 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 32.517 | 28349.1849 | 50377.4118 | 5 | 64
2774 | 2024-07-15 16:30 | 1.3702 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 10.4151 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 35.946 | 32147.015 | 50374.4313 | 5 | 64
2775 | 2024-07-15 16:30 | 1.3862 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.7529 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 37.973 | 34338.2882 | 50379.7661 | 5 | 64
2776 | 2024-07-15 16:30 | 1.403 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.8952 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 39.162 | 35548.4437 | 50371.748 | 5 | 64
2777 | 2024-07-15 16:30 | 1.4198 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.4678 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 39.797 | 36208.143 | 50377.255 | 5 | 64
2778 | 2024-07-15 16:30 | 1.4367 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.2624 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.113 | 36524.3365 | 50386.8865 | 5 | 64
2779 | 2024-07-15 16:30 | 1.4535 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1602 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.273 | 36716.4401 | 50386.7051 | 5 | 64
2780 | 2024-07-15 16:30 | 1.4694 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1108 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.351 | 36781.2864 | 50377.4814 | 5 | 64
2781 | 2024-07-15 16:30 | 1.4863 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0894 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.385 | 36812.1846 | 50383.6869 | 5 | 64
2782 | 2024-07-15 16:30 | 1.5031 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0774 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.404 | 36839.0076 | 50383.0155 | 5 | 64
2783 | 2024-07-15 16:30 | 1.5199 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0655 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.423 | 36837.2569 | 50381.3889 | 5 | 64
2784 | 2024-07-15 16:30 | 1.5368 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0605 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.431 | 36801.836 | 50369.9582 | 5 | 64
2785 | 2024-07-15 16:30 | 1.5528 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0548 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.44 | 36827.191 | 50378.2959 | 5 | 64
2786 | 2024-07-15 16:30 | 1.5696 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0548 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.44 | 36807.9552 | 50381.9935 | 5 | 64
2787 | 2024-07-15 16:30 | 1.5865 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0699 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.416 | 36888.0757 | 50378.9798 | 5 | 64
2788 | 2024-07-15 16:30 | 1.6033 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0624 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.428 | 36854.5867 | 50372.6308 | 5 | 64
2789 | 2024-07-15 16:30 | 1.6202 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0617 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.429 | 36850.9512 | 50385.6851 | 5 | 64
2790 | 2024-07-15 16:30 | 1.6362 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.058 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.435 | 36836.3663 | 50378.8435 | 5 | 64
2791 | 2024-07-15 16:30 | 1.653 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.058 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.435 | 36816.2298 | 50371.1338 | 5 | 64
2792 | 2024-07-15 16:30 | 1.6699 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0598 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.432 | 36810.5042 | 50377.7811 | 5 | 64
2793 | 2024-07-15 16:30 | 1.6867 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0592 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.433 | 36834.2232 | 50376.1923 | 5 | 64
2794 | 2024-07-15 16:30 | 1.7035 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0636 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.426 | 36777.7121 | 50378.6059 | 5 | 64
2795 | 2024-07-15 16:30 | 1.7195 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0636 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.426 | 36832.9648 | 50385.8294 | 5 | 64
2796 | 2024-07-15 16:30 | 1.7363 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0605 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.431 | 36867.4536 | 50384.4232 | 5 | 64
2797 | 2024-07-15 16:30 | 1.7531 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0699 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.416 | 36855.2883 | 50376.4271 | 5 | 64
2798 | 2024-07-15 16:30 | 1.7699 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0636 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.426 | 36888.6133 | 50387.5888 | 5 | 64
2799 | 2024-07-15 16:30 | 1.7868 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0554 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.439 | 36819.1788 | 50376.7081 | 5 | 64
2800 | 2024-07-15 16:30 | 1.8028 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0649 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.424 | 36811.5593 | 50378.0274 | 5 | 64
2801 | 2024-07-15 16:30 | 1.8196 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0605 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.431 | 36836.6951 | 50365.8374 | 5 | 64
2802 | 2024-07-15 16:30 | 1.8364 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0655 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.423 | 36803.8159 | 50378.5863 | 5 | 64
2803 | 2024-07-15 16:30 | 1.8533 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0636 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.426 | 36830.2752 | 50377.9673 | 5 | 64
2804 | 2024-07-15 16:30 | 1.8702 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0554 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.439 | 36860.3958 | 50377.352 | 5 | 64
2805 | 2024-07-15 16:30 | 1.8862 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0624 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.428 | 36913.3321 | 50374.5066 | 5 | 64
2806 | 2024-07-15 16:30 | 1.903 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0611 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.43 | 36998.6681 | 50376.6154 | 5 | 64
2807 | 2024-07-15 16:30 | 1.9198 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0586 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.434 | 37034.5618 | 50366.3262 | 5 | 64
2808 | 2024-07-15 16:31 | 1.9367 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0661 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.422 | 37005.8258 | 50376.2961 | 5 | 64
2809 | 2024-07-15 16:31 | 1.9535 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0523 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.444 | 36944.6695 | 50363.0723 | 5 | 64
2810 | 2024-07-15 16:31 | 1.9695 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.068 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.419 | 36923.1541 | 50356.5299 | 5 | 64
2811 | 2024-07-15 16:31 | 1.9863 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0617 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.429 | 37039.4515 | 50375.1528 | 5 | 64
2812 | 2024-07-15 16:31 | 2.0032 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0636 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.426 | 37071.7783 | 50375.4921 | 5 | 64
2813 | 2024-07-15 16:31 | 2.02 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0661 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.422 | 37044.2269 | 50373.2265 | 5 | 64
2814 | 2024-07-15 16:31 | 2.0368 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0554 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.439 | 37078.6357 | 50376.8486 | 5 | 64
2815 | 2024-07-15 16:31 | 2.0528 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0605 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.431 | 37061.7515 | 50369.937 | 5 | 64