## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-07-15 16:40

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2816 | 2024-07-15 16:38 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8536 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.052 | 23821.6651 | 50319.4143 | 5 | 64
2817 | 2024-07-15 16:38 | 0.021038 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8925 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.032 | 23791.6711 | 50358.4018 | 5 | 64
2818 | 2024-07-15 16:38 | 0.036991 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8963 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 23702.0381 | 50364.5025 | 5 | 64
2819 | 2024-07-15 16:38 | 0.053838 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9139 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 23743.4108 | 50359.3485 | 5 | 64
2820 | 2024-07-15 16:38 | 0.070677 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9041 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 23754.2843 | 50343.1948 | 5 | 64
2821 | 2024-07-15 16:38 | 0.087494 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9236 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 23686.5529 | 50365.0163 | 5 | 64
2822 | 2024-07-15 16:38 | 0.10435 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.91 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 23714.6539 | 50365.8415 | 5 | 64
2823 | 2024-07-15 16:38 | 0.12031 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9255 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 23774.9041 | 50361.9313 | 5 | 64
2824 | 2024-07-15 16:38 | 0.13712 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8808 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.038 | 23761.8819 | 50368.3683 | 5 | 64
2825 | 2024-07-15 16:38 | 0.15397 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9255 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 23768.6679 | 50369.4364 | 5 | 64
2826 | 2024-07-15 16:38 | 0.17078 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.908 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 23760.3855 | 50363.2901 | 5 | 64
2827 | 2024-07-15 16:38 | 0.18762 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.873 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.042 | 23764.6543 | 50351.2038 | 5 | 64
2828 | 2024-07-15 16:38 | 0.20366 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8711 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.043 | 23779.3988 | 50357.3707 | 5 | 64
2829 | 2024-07-15 16:38 | 0.2205 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9041 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 23773.5171 | 50354.072 | 5 | 64
2830 | 2024-07-15 16:38 | 0.23732 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.945 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23767.0422 | 50340.2835 | 5 | 64
2831 | 2024-07-15 16:38 | 0.25412 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9314 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 23763.7597 | 50351.4391 | 5 | 64
2832 | 2024-07-15 16:38 | 0.27097 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9275 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 23759.9898 | 50349.2556 | 5 | 64
2833 | 2024-07-15 16:38 | 0.28695 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8949 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.02 | 23733.0324 | 50352.5488 | 5 | 64
2834 | 2024-07-15 16:38 | 0.30376 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9085 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 23713.0439 | 50334.2891 | 5 | 64
2835 | 2024-07-15 16:38 | 0.32063 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9144 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.01 | 23706.1438 | 50342.6221 | 5 | 64
2836 | 2024-07-15 16:38 | 0.3375 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8968 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 23733.2164 | 50358.0866 | 5 | 64
2837 | 2024-07-15 16:38 | 0.35435 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9124 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 23730.2 | 50348.1585 | 5 | 64
2838 | 2024-07-15 16:38 | 0.37038 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9007 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 23753.2776 | 50354.2308 | 5 | 64
2839 | 2024-07-15 16:38 | 0.38722 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8852 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 23744.8777 | 50350.3578 | 5 | 64
2840 | 2024-07-15 16:38 | 0.40402 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8794 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.028 | 23759.8442 | 50339.2022 | 5 | 64
2841 | 2024-07-15 16:38 | 0.42082 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9319 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 23751.2357 | 50347.1733 | 5 | 64
2842 | 2024-07-15 16:38 | 0.43762 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9066 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 23787.5373 | 50352.1766 | 5 | 64
2843 | 2024-07-15 16:38 | 0.45366 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9416 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 23724.7987 | 50347.2084 | 5 | 64
2844 | 2024-07-15 16:38 | 0.47049 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9105 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 23715.3835 | 50347.1923 | 5 | 64
2845 | 2024-07-15 16:38 | 0.48733 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.928 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.003 | 23754.6925 | 50343.0504 | 5 | 64
2846 | 2024-07-15 16:38 | 0.50418 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9684 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 23758.0679 | 50350.245 | 5 | 64
2847 | 2024-07-15 16:38 | 0.52103 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9255 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 23795.3847 | 50349.8137 | 5 | 64
2848 | 2024-07-15 16:38 | 0.53708 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9372 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 23813.5193 | 50345.9454 | 5 | 64
2849 | 2024-07-15 16:38 | 0.55397 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9431 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 23806.2222 | 50348.8402 | 5 | 64
2850 | 2024-07-15 16:38 | 0.5708 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9314 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 23828.8481 | 50340.3946 | 5 | 64
2851 | 2024-07-15 16:38 | 0.58767 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9333 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 23820.5837 | 50338.6636 | 5 | 64
2852 | 2024-07-15 16:38 | 0.60367 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9177 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.019 | 23826.7743 | 50343.4704 | 5 | 64
2853 | 2024-07-15 16:38 | 0.62052 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8944 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.031 | 23829.9964 | 50337.7903 | 5 | 64
2854 | 2024-07-15 16:38 | 0.63735 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9684 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 23837.1414 | 50345.6529 | 5 | 64
2855 | 2024-07-15 16:38 | 0.65419 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9392 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 23840.0817 | 50340.8584 | 5 | 64
2856 | 2024-07-15 16:38 | 0.67103 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.873 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.042 | 23834.3232 | 50336.2768 | 5 | 64
2857 | 2024-07-15 16:38 | 0.68704 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9528 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 23851.7057 | 50341.4845 | 5 | 64
2858 | 2024-07-15 16:38 | 0.70385 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9333 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 23851.2018 | 50330.989 | 5 | 64
2859 | 2024-07-15 16:38 | 0.7207 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9372 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 23856.2252 | 50344.0541 | 5 | 64
2860 | 2024-07-15 16:38 | 0.73753 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.91 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 23862.3171 | 50347.6214 | 5 | 64
2861 | 2024-07-15 16:38 | 0.75438 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.945 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23864.441 | 50346.2822 | 5 | 64
2862 | 2024-07-15 16:38 | 0.77038 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.91 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 23859.4996 | 50341.4692 | 5 | 64
2863 | 2024-07-15 16:38 | 0.78722 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9061 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.025 | 23870.9003 | 50343.6091 | 5 | 64
2864 | 2024-07-15 16:38 | 0.80408 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.945 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23874.2518 | 50344.818 | 5 | 64
2865 | 2024-07-15 16:38 | 0.82094 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.945 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23873.9293 | 50344.5755 | 5 | 64
2866 | 2024-07-15 16:38 | 0.83695 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9314 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 23877.7619 | 50344.4894 | 5 | 64
2867 | 2024-07-15 16:38 | 0.85379 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9314 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.012 | 23864.387 | 50348.5319 | 5 | 64
2868 | 2024-07-15 16:38 | 0.87059 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9392 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 23882.9831 | 50355.6661 | 5 | 64
2869 | 2024-07-15 16:39 | 0.88742 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9782 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 23875.7408 | 50346.2463 | 5 | 64
2870 | 2024-07-15 16:39 | 0.9043 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9294 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 23874.9596 | 50341.642 | 5 | 64
2871 | 2024-07-15 16:39 | 0.92031 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9275 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 23889.3099 | 50346.3302 | 5 | 64
2872 | 2024-07-15 16:39 | 0.9371 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9275 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 23894.7491 | 50350.8739 | 5 | 64
2873 | 2024-07-15 16:39 | 0.95403 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9216 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.017 | 23881.1599 | 50344.6089 | 5 | 64
2874 | 2024-07-15 16:39 | 0.97087 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.91 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.023 | 23855.4101 | 50343.5709 | 5 | 64
2875 | 2024-07-15 16:39 | 0.98769 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9294 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 23854.1524 | 50346.4143 | 5 | 64
2876 | 2024-07-15 16:39 | 1.0037 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9431 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 23867.973 | 50347.0146 | 5 | 64
2877 | 2024-07-15 16:39 | 1.0205 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9294 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.013 | 23871.0218 | 50338.5478 | 5 | 64
2878 | 2024-07-15 16:39 | 1.0374 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9119 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.022 | 23858.5944 | 50352.1134 | 5 | 64
2879 | 2024-07-15 16:39 | 1.0542 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9606 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.997 | 23843.74 | 50346.7207 | 5 | 64
2880 | 2024-07-15 16:39 | 1.071 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.945 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23841.6831 | 50344.684 | 5 | 64
2881 | 2024-07-15 16:39 | 1.087 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.945 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23807.0576 | 50343.1522 | 5 | 64
2882 | 2024-07-15 16:39 | 1.1039 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9645 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.995 | 23790.7234 | 50350.6218 | 5 | 64
2883 | 2024-07-15 16:39 | 1.1208 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9275 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 23814.6941 | 50346.5316 | 5 | 64
2884 | 2024-07-15 16:39 | 1.1376 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9333 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.011 | 23751.7029 | 50338.5293 | 5 | 64
2885 | 2024-07-15 16:39 | 1.1536 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9626 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 23774.7117 | 50343.9072 | 5 | 64
2886 | 2024-07-15 16:39 | 1.1704 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9528 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 23777.7083 | 50340.2714 | 5 | 64
2887 | 2024-07-15 16:39 | 1.1872 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9431 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 23810.5945 | 50347.6061 | 5 | 64
2888 | 2024-07-15 16:39 | 1.2041 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9255 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 23795.8314 | 50349.313 | 5 | 64
2889 | 2024-07-15 16:39 | 1.2209 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9528 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 23792.7566 | 50329.3589 | 5 | 64
2890 | 2024-07-15 16:39 | 1.2378 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9743 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 23804.806 | 50343.9199 | 5 | 64
2891 | 2024-07-15 16:39 | 1.2537 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9431 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 23806.0426 | 50346.2577 | 5 | 64
2892 | 2024-07-15 16:39 | 1.2706 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9509 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.002 | 23807.4344 | 50345.1123 | 5 | 64
2893 | 2024-07-15 16:39 | 1.2874 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.945 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23805.3684 | 50341.3226 | 5 | 64
2894 | 2024-07-15 16:39 | 1.3042 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9392 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 23790.548 | 50344.8755 | 5 | 64
2895 | 2024-07-15 16:39 | 1.3211 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9665 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 23792.1199 | 50338.1603 | 5 | 64
2896 | 2024-07-15 16:39 | 1.3372 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9782 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 23799.9598 | 50341.6521 | 5 | 64
2897 | 2024-07-15 16:39 | 1.3541 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.945 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.005 | 23795.1447 | 50325.973 | 5 | 64
2898 | 2024-07-15 16:39 | 1.371 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9626 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 23788.8078 | 50336.6905 | 5 | 64
2899 | 2024-07-15 16:39 | 1.387 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0017 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.976 | 23803.7168 | 50337.3356 | 5 | 64
2900 | 2024-07-15 16:39 | 1.4038 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9997 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.977 | 23801.3105 | 50335.2145 | 5 | 64
2901 | 2024-07-15 16:39 | 1.4207 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9592 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 23808.812 | 50337.5181 | 5 | 64
2902 | 2024-07-15 16:39 | 1.4376 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9358 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 23821.378 | 50337.8706 | 5 | 64
2903 | 2024-07-15 16:39 | 1.4545 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9592 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 23814.6781 | 50344.9318 | 5 | 64
2904 | 2024-07-15 16:39 | 1.4704 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9729 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.98 | 23827.7398 | 50347.9707 | 5 | 64
2905 | 2024-07-15 16:39 | 1.4873 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9299 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.002 | 23819.6697 | 50336.494 | 5 | 64
2906 | 2024-07-15 16:39 | 1.5041 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9455 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 23821.838 | 50333.1806 | 5 | 64
2907 | 2024-07-15 16:39 | 1.521 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9533 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 23830.1304 | 50340.8764 | 5 | 64
2908 | 2024-07-15 16:39 | 1.5369 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9963 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.968 | 23814.4058 | 50341.5804 | 5 | 64
2909 | 2024-07-15 16:39 | 1.5538 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9612 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.986 | 23830.3823 | 50344.0782 | 5 | 64
2910 | 2024-07-15 16:39 | 1.5706 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9572 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 23847.9863 | 50348.2729 | 5 | 64
2911 | 2024-07-15 16:39 | 1.5875 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0056 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 23835.266 | 50349.567 | 5 | 64
2912 | 2024-07-15 16:39 | 1.6043 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9684 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 23854.6665 | 50337.1341 | 5 | 64
2913 | 2024-07-15 16:39 | 1.6203 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9704 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.992 | 23854.1253 | 50333.1681 | 5 | 64
2914 | 2024-07-15 16:39 | 1.6372 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9802 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 23834.8593 | 50341.76 | 5 | 64
2915 | 2024-07-15 16:39 | 1.654 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9743 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 23843.2219 | 50341.5539 | 5 | 64
2916 | 2024-07-15 16:39 | 1.6708 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9665 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 23837.979 | 50344.8561 | 5 | 64
2917 | 2024-07-15 16:39 | 1.6876 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9841 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.985 | 23847.166 | 50350.8021 | 5 | 64
2918 | 2024-07-15 16:39 | 1.7044 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9723 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.991 | 23839.9116 | 50331.9299 | 5 | 64
2919 | 2024-07-15 16:39 | 1.7204 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9743 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 23851.1401 | 50341.3505 | 5 | 64
2920 | 2024-07-15 16:39 | 1.7372 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9899 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.982 | 23832.652 | 50343.9778 | 5 | 64
2921 | 2024-07-15 16:39 | 1.7541 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9723 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.991 | 23840.306 | 50349.4247 | 5 | 64
2922 | 2024-07-15 16:39 | 1.7709 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0056 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 23787.8883 | 50339.8116 | 5 | 64
2923 | 2024-07-15 16:39 | 1.7878 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9978 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 23788.5426 | 50339.2691 | 5 | 64
2924 | 2024-07-15 16:39 | 1.8037 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.988 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.983 | 23795.8461 | 50344.186 | 5 | 64
2925 | 2024-07-15 16:39 | 1.8206 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0056 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 23798.0989 | 50342.0455 | 5 | 64
2926 | 2024-07-15 16:39 | 1.8374 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9958 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 23810.2534 | 50329.2405 | 5 | 64
2927 | 2024-07-15 16:39 | 1.8543 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0252 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.964 | 23827.045 | 50345.0544 | 5 | 64
2928 | 2024-07-15 16:39 | 1.8703 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9919 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.981 | 23821.2222 | 50335.0951 | 5 | 64
2929 | 2024-07-15 16:40 | 1.8871 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9782 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 23817.4908 | 50340.5403 | 5 | 64
2930 | 2024-07-15 16:40 | 1.904 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9684 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 23824.8987 | 50337.5745 | 5 | 64
2931 | 2024-07-15 16:40 | 1.9208 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0056 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 23823.3648 | 50337.275 | 5 | 64
2932 | 2024-07-15 16:40 | 1.9376 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9684 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 23821.8541 | 50342.6327 | 5 | 64
2933 | 2024-07-15 16:40 | 1.9536 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0095 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.972 | 23828.1333 | 50340.4363 | 5 | 64
2934 | 2024-07-15 16:40 | 1.9705 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9763 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.989 | 23812.3646 | 50332.4338 | 5 | 64
2935 | 2024-07-15 16:40 | 1.9873 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0036 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.975 | 23830.473 | 50343.7259 | 5 | 64
2936 | 2024-07-15 16:40 | 2.0042 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9958 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 23853.8133 | 50341.4704 | 5 | 64
2937 | 2024-07-15 16:40 | 2.021 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9626 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.996 | 23845.3933 | 50352.636 | 5 | 64
2938 | 2024-07-15 16:40 | 2.037 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9899 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.982 | 23748.637 | 50343.9413 | 5 | 64
2939 | 2024-07-15 16:40 | 2.0539 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9587 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.998 | 23713.4987 | 50345.1887 | 5 | 64