## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-07-15 16:46

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2940 | 2024-07-15 16:43 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0134 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.97 | 23073.855 | 50326.4533 | 5 | 64
2941 | 2024-07-15 16:44 | 0.016033 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9528 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 23087.7676 | 50342.5333 | 5 | 64
2942 | 2024-07-15 16:44 | 0.0329 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9821 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.986 | 23105.3673 | 50355.1602 | 5 | 64
2943 | 2024-07-15 16:44 | 0.049787 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9978 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 23076.0969 | 50352.4755 | 5 | 64
2944 | 2024-07-15 16:44 | 0.065778 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0036 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.975 | 23058.5291 | 50345.7067 | 5 | 64
2945 | 2024-07-15 16:44 | 0.082594 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0095 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.972 | 23056.0001 | 50343.8836 | 5 | 64
2946 | 2024-07-15 16:44 | 0.099475 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9782 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.988 | 23056.6938 | 50349.702 | 5 | 64
2947 | 2024-07-15 16:44 | 0.11634 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9958 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 23077.4336 | 50343.6735 | 5 | 64
2948 | 2024-07-15 16:44 | 0.1323 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9548 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28 | 23076.8667 | 50346.577 | 5 | 64
2949 | 2024-07-15 16:44 | 0.14917 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9997 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.977 | 23097.8966 | 50341.0556 | 5 | 64
2950 | 2024-07-15 16:44 | 0.16598 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.986 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.984 | 23097.998 | 50347.5085 | 5 | 64
2951 | 2024-07-15 16:44 | 0.18282 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9899 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.982 | 23082.7447 | 50342.0198 | 5 | 64
2952 | 2024-07-15 16:44 | 0.19965 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9997 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.977 | 23072.6557 | 50335.4897 | 5 | 64
2953 | 2024-07-15 16:44 | 0.21645 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9978 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 23100.6013 | 50338.9258 | 5 | 64
2954 | 2024-07-15 16:44 | 0.23248 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0212 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.966 | 23091.1295 | 50342.4394 | 5 | 64
2955 | 2024-07-15 16:44 | 0.24932 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9978 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 23090.1021 | 50335.6828 | 5 | 64
2956 | 2024-07-15 16:44 | 0.26614 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9978 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 23096.9127 | 50344.9545 | 5 | 64
2957 | 2024-07-15 16:44 | 0.28297 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9802 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 23078.7776 | 50338.3077 | 5 | 64
2958 | 2024-07-15 16:44 | 0.29895 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0193 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 23062.8145 | 50339.0433 | 5 | 64
2959 | 2024-07-15 16:44 | 0.31584 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0193 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 23075.6768 | 50341.1669 | 5 | 64
2960 | 2024-07-15 16:44 | 0.33264 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9997 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.977 | 23081.2777 | 50345.1477 | 5 | 64
2961 | 2024-07-15 16:44 | 0.34945 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0428 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.955 | 23060.256 | 50330.2594 | 5 | 64
2962 | 2024-07-15 16:44 | 0.36632 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0193 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 23064.4065 | 50350.2247 | 5 | 64
2963 | 2024-07-15 16:44 | 0.38231 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.035 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.959 | 23043.9295 | 50339.9327 | 5 | 64
2964 | 2024-07-15 16:44 | 0.39912 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0154 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.969 | 23060.6735 | 50346.6164 | 5 | 64
2965 | 2024-07-15 16:44 | 0.41596 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9938 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.98 | 23070.5914 | 50336.5374 | 5 | 64
2966 | 2024-07-15 16:44 | 0.43279 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9958 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 23064.3575 | 50333.2042 | 5 | 64
2967 | 2024-07-15 16:44 | 0.44966 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0154 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.969 | 23074.7333 | 50337.4376 | 5 | 64
2968 | 2024-07-15 16:44 | 0.46567 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9919 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.981 | 23086.0062 | 50335.2435 | 5 | 64
2969 | 2024-07-15 16:44 | 0.48245 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0017 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.976 | 23092.0825 | 50331.0602 | 5 | 64
2970 | 2024-07-15 16:44 | 0.49928 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0115 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.971 | 23095.8965 | 50326.678 | 5 | 64
2971 | 2024-07-15 16:44 | 0.51616 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0075 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.973 | 23089.5023 | 50337.453 | 5 | 64
2972 | 2024-07-15 16:44 | 0.53299 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0389 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.957 | 23100.6228 | 50336.2798 | 5 | 64
2973 | 2024-07-15 16:44 | 0.54895 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0467 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.953 | 23099.5846 | 50331.3344 | 5 | 64
2974 | 2024-07-15 16:44 | 0.56579 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0193 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 23081.4012 | 50324.5613 | 5 | 64
2975 | 2024-07-15 16:44 | 0.58261 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0056 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.974 | 23083.153 | 50329.5681 | 5 | 64
2976 | 2024-07-15 16:44 | 0.59944 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0428 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.955 | 23096.5803 | 50337.8614 | 5 | 64
2977 | 2024-07-15 16:44 | 0.61628 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0546 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.949 | 23101.886 | 50333.4481 | 5 | 64
2978 | 2024-07-15 16:44 | 0.63231 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0193 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 23086.2587 | 50343.5585 | 5 | 64
2979 | 2024-07-15 16:44 | 0.64916 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0193 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 23073.3206 | 50326.2072 | 5 | 64
2980 | 2024-07-15 16:44 | 0.66603 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.033 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 23075.7101 | 50326.3723 | 5 | 64
2981 | 2024-07-15 16:44 | 0.68285 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0664 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.943 | 23085.6487 | 50332.4333 | 5 | 64
2982 | 2024-07-15 16:44 | 0.6997 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0154 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.969 | 23083.437 | 50329.7192 | 5 | 64
2983 | 2024-07-15 16:44 | 0.71571 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0173 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.968 | 23050.0198 | 50332.5556 | 5 | 64
2984 | 2024-07-15 16:44 | 0.73252 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0115 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.971 | 23046.7382 | 50329.8474 | 5 | 64
2985 | 2024-07-15 16:44 | 0.74934 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0467 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.953 | 23046.7853 | 50333.0742 | 5 | 64
2986 | 2024-07-15 16:44 | 0.76616 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0115 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.971 | 23025.0742 | 50327.4838 | 5 | 64
2987 | 2024-07-15 16:44 | 0.783 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.033 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 23030.9994 | 50317.8844 | 5 | 64
2988 | 2024-07-15 16:44 | 0.79898 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0487 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.952 | 23042.8478 | 50329.7187 | 5 | 64
2989 | 2024-07-15 16:44 | 0.81579 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0291 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.962 | 23015.5933 | 50328.1278 | 5 | 64
2990 | 2024-07-15 16:44 | 0.83262 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0605 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.946 | 23018.2731 | 50323.7381 | 5 | 64
2991 | 2024-07-15 16:44 | 0.84946 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0467 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.953 | 23023.9847 | 50331.1804 | 5 | 64
2992 | 2024-07-15 16:44 | 0.86631 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.035 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.959 | 22977.1977 | 50327.5683 | 5 | 64
2993 | 2024-07-15 16:44 | 0.88234 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0722 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.94 | 22969.9032 | 50328.4357 | 5 | 64
2994 | 2024-07-15 16:44 | 0.89921 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0624 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.945 | 22933.6074 | 50335.4213 | 5 | 64
2995 | 2024-07-15 16:44 | 0.91607 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0762 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.938 | 22903.8885 | 50327.0133 | 5 | 64
2996 | 2024-07-15 16:44 | 0.93294 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0722 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.94 | 22895.1068 | 50328.9031 | 5 | 64
2997 | 2024-07-15 16:44 | 0.94895 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0585 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.947 | 22894.1855 | 50325.7621 | 5 | 64
2998 | 2024-07-15 16:44 | 0.96581 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0624 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.945 | 22918.7425 | 50331.9837 | 5 | 64
2999 | 2024-07-15 16:44 | 0.98264 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0546 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.949 | 22900.1241 | 50318.4726 | 5 | 64
3000 | 2024-07-15 16:44 | 0.99945 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0507 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 22885.2488 | 50325.11 | 5 | 64
3001 | 2024-07-15 16:45 | 1.0163 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0821 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.935 | 22914.5562 | 50324.0939 | 5 | 64
3002 | 2024-07-15 16:45 | 1.0323 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0722 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.94 | 22902.9269 | 50327.7732 | 5 | 64
3003 | 2024-07-15 16:45 | 1.0492 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0801 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.936 | 22898.6129 | 50327.4632 | 5 | 64
3004 | 2024-07-15 16:45 | 1.066 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0669 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.932 | 22913.2653 | 50333.6016 | 5 | 64
3005 | 2024-07-15 16:45 | 1.0828 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0512 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.94 | 22913.5215 | 50332.0113 | 5 | 64
3006 | 2024-07-15 16:45 | 1.0997 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0492 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.941 | 22908.1408 | 50323.8324 | 5 | 64
3007 | 2024-07-15 16:45 | 1.1157 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0669 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.932 | 22927.2588 | 50332.4843 | 5 | 64
3008 | 2024-07-15 16:45 | 1.1326 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0689 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.931 | 22901.8877 | 50317.2472 | 5 | 64
3009 | 2024-07-15 16:45 | 1.1494 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0767 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.927 | 22908.4277 | 50328.8698 | 5 | 64
3010 | 2024-07-15 16:45 | 1.1662 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0473 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.942 | 22901.4874 | 50328.2771 | 5 | 64
3011 | 2024-07-15 16:45 | 1.1831 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0433 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.944 | 22885.0099 | 50331.1667 | 5 | 64
3012 | 2024-07-15 16:45 | 1.1991 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0669 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.932 | 22895.1155 | 50318.1446 | 5 | 64
3013 | 2024-07-15 16:45 | 1.2159 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0787 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.926 | 22902.7577 | 50326.792 | 5 | 64
3014 | 2024-07-15 16:45 | 1.2328 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0905 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.92 | 22891.6079 | 50329.6591 | 5 | 64
3015 | 2024-07-15 16:45 | 1.2496 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0767 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.927 | 22892.5213 | 50335.2945 | 5 | 64
3016 | 2024-07-15 16:45 | 1.2665 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0905 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.92 | 22895.6285 | 50332.7241 | 5 | 64
3017 | 2024-07-15 16:45 | 1.2825 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1023 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.914 | 22826.1763 | 50324.3985 | 5 | 64
3018 | 2024-07-15 16:45 | 1.2994 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0964 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.917 | 22879.1637 | 50324.8405 | 5 | 64
3019 | 2024-07-15 16:45 | 1.3162 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0571 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.937 | 22919.7844 | 50323.3249 | 5 | 64
3020 | 2024-07-15 16:45 | 1.333 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0866 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.922 | 22940.2659 | 50327.1589 | 5 | 64
3021 | 2024-07-15 16:45 | 1.349 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1234 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.914 | 22936.2723 | 50323.5143 | 5 | 64
3022 | 2024-07-15 16:45 | 1.3658 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1392 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.906 | 22924.4316 | 50327.0227 | 5 | 64
3023 | 2024-07-15 16:45 | 1.3826 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1096 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.921 | 22920.0236 | 50326.2931 | 5 | 64
3024 | 2024-07-15 16:45 | 1.3994 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1102 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.91 | 22927.9771 | 50323.6674 | 5 | 64
3025 | 2024-07-15 16:45 | 1.4163 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0905 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.92 | 22923.8239 | 50329.3968 | 5 | 64
3026 | 2024-07-15 16:45 | 1.4331 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1181 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.906 | 22916.6829 | 50327.7607 | 5 | 64
3027 | 2024-07-15 16:45 | 1.4492 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1121 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.909 | 22908.8299 | 50329.8084 | 5 | 64
3028 | 2024-07-15 16:45 | 1.4661 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1121 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.909 | 22916.8777 | 50332.2048 | 5 | 64
3029 | 2024-07-15 16:45 | 1.483 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1378 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.896 | 22899.8131 | 50333.131 | 5 | 64
3030 | 2024-07-15 16:45 | 1.4991 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.122 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.904 | 22914.9105 | 50325.9008 | 5 | 64
3031 | 2024-07-15 16:45 | 1.5158 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1259 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.902 | 22901.4052 | 50329.0232 | 5 | 64
3032 | 2024-07-15 16:45 | 1.5327 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1141 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.908 | 22901.7491 | 50323.3299 | 5 | 64
3033 | 2024-07-15 16:45 | 1.5495 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1023 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.914 | 22896.5455 | 50314.8337 | 5 | 64
3034 | 2024-07-15 16:45 | 1.5663 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0846 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.923 | 22898.0329 | 50324.4268 | 5 | 64
3035 | 2024-07-15 16:45 | 1.5831 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1003 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.915 | 22887.17 | 50323.0047 | 5 | 64
3036 | 2024-07-15 16:45 | 1.5991 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1338 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.898 | 22896.8029 | 50322.5518 | 5 | 64
3037 | 2024-07-15 16:45 | 1.616 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1352 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.908 | 22884.1804 | 50323.0022 | 5 | 64
3038 | 2024-07-15 16:45 | 1.6328 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1214 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.915 | 22878.8485 | 50320.3902 | 5 | 64
3039 | 2024-07-15 16:45 | 1.6497 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1352 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.908 | 22874.8469 | 50325.3144 | 5 | 64
3040 | 2024-07-15 16:45 | 1.6657 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1273 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.912 | 22885.0282 | 50328.7397 | 5 | 64
3041 | 2024-07-15 16:45 | 1.6825 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1372 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.907 | 22856.3598 | 50324.8153 | 5 | 64
3042 | 2024-07-15 16:45 | 1.6994 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1569 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.897 | 22880.4973 | 50328.1146 | 5 | 64
3043 | 2024-07-15 16:45 | 1.7162 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1411 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.905 | 22896.4105 | 50321.4884 | 5 | 64
3044 | 2024-07-15 16:45 | 1.7331 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1273 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.912 | 22838.6771 | 50318.6111 | 5 | 64
3045 | 2024-07-15 16:45 | 1.7491 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1451 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.903 | 22857.8217 | 50324.4011 | 5 | 64
3046 | 2024-07-15 16:45 | 1.7659 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1411 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.905 | 22851.0783 | 50322.5712 | 5 | 64
3047 | 2024-07-15 16:45 | 1.7828 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1569 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.897 | 22858.6127 | 50322.2332 | 5 | 64
3048 | 2024-07-15 16:45 | 1.7996 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1747 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.888 | 22848.589 | 50320.472 | 5 | 64
3049 | 2024-07-15 16:45 | 1.8164 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1476 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.891 | 22854.7733 | 50331.2915 | 5 | 64
3050 | 2024-07-15 16:45 | 1.8324 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1141 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.908 | 22850.6023 | 50323.5315 | 5 | 64
3051 | 2024-07-15 16:45 | 1.8493 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.12 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.905 | 22850.6215 | 50326.2252 | 5 | 64
3052 | 2024-07-15 16:45 | 1.8661 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1358 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.897 | 22853.4905 | 50333.7978 | 5 | 64
3053 | 2024-07-15 16:45 | 1.883 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1555 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.887 | 22856.5197 | 50323.9511 | 5 | 64
3054 | 2024-07-15 16:45 | 1.899 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1688 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.891 | 22845.7382 | 50319.0315 | 5 | 64
3055 | 2024-07-15 16:45 | 1.9158 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1338 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.898 | 22861.9752 | 50325.0747 | 5 | 64
3056 | 2024-07-15 16:45 | 1.9327 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1161 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.907 | 22793.4441 | 50320.6533 | 5 | 64
3057 | 2024-07-15 16:45 | 1.9496 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1378 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.896 | 23215.5728 | 50324.3811 | 5 | 64
3058 | 2024-07-15 16:45 | 1.9664 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1319 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.899 | 23361.895 | 50327.7174 | 5 | 64
3059 | 2024-07-15 16:45 | 1.9824 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1181 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.906 | 23357.825 | 50327.6028 | 5 | 64
3060 | 2024-07-15 16:45 | 1.9993 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1003 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.915 | 23345.4388 | 50324.0698 | 5 | 64
3061 | 2024-07-15 16:46 | 2.0161 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0984 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.916 | 23352.0672 | 50326.466 | 5 | 64
3062 | 2024-07-15 16:46 | 2.033 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1279 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.901 | 23343.0544 | 50333.0266 | 5 | 64
3063 | 2024-07-15 16:46 | 2.049 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0944 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.918 | 23345.6276 | 50324.7593 | 5 | 64
3064 | 2024-07-15 16:46 | 2.0658 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0669 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.932 | 23375.9484 | 50316.9118 | 5 | 64
3065 | 2024-07-15 16:46 | 2.0827 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0748 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.928 | 23404.3088 | 50322.5968 | 5 | 64