## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-07-15 16:52

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3066 | 2024-07-15 16:50 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9139 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.021 | 23719.8369 | 50309.5368 | 5 | 64
3067 | 2024-07-15 16:50 | 0.017714 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8963 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.03 | 23754.4844 | 50316.6993 | 5 | 64
3068 | 2024-07-15 16:50 | 0.03456 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9041 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 23665.0307 | 50325.0552 | 5 | 64
3069 | 2024-07-15 16:50 | 0.051423 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9041 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 23702.8314 | 50321.2925 | 5 | 64
3070 | 2024-07-15 16:50 | 0.068265 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.908 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 23670.2752 | 50318.2329 | 5 | 64
3071 | 2024-07-15 16:50 | 0.08427 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9236 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.016 | 23627.2565 | 50317.1844 | 5 | 64
3072 | 2024-07-15 16:50 | 0.10117 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9392 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.008 | 23619.2128 | 50320.1756 | 5 | 64
3073 | 2024-07-15 16:50 | 0.11802 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.908 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.024 | 23620.8588 | 50324.2756 | 5 | 64
3074 | 2024-07-15 16:50 | 0.13487 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8983 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.029 | 23600.3988 | 50310.4564 | 5 | 64
3075 | 2024-07-15 16:50 | 0.15171 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9587 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.998 | 23595.3122 | 50318.9077 | 5 | 64
3076 | 2024-07-15 16:50 | 0.1677 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9372 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.009 | 23605.6066 | 50315.7403 | 5 | 64
3077 | 2024-07-15 16:50 | 0.1846 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9275 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 23590.3517 | 50310.1989 | 5 | 64
3078 | 2024-07-15 16:50 | 0.20144 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9684 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.993 | 23641.357 | 50304.9633 | 5 | 64
3079 | 2024-07-15 16:50 | 0.21827 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9041 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.026 | 23595.5372 | 50302.4503 | 5 | 64
3080 | 2024-07-15 16:50 | 0.23426 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9255 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.015 | 23573.4603 | 50313.9262 | 5 | 64
3081 | 2024-07-15 16:50 | 0.2511 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9275 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.014 | 23604.8468 | 50304.6491 | 5 | 64
3082 | 2024-07-15 16:50 | 0.26795 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9431 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.006 | 23606.2853 | 50310.934 | 5 | 64
3083 | 2024-07-15 16:50 | 0.28482 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9606 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.997 | 23563.6638 | 50319.557 | 5 | 64
3084 | 2024-07-15 16:50 | 0.30172 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9358 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.999 | 23594.5035 | 50309.0875 | 5 | 64
3085 | 2024-07-15 16:50 | 0.3177 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9455 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 23561.7325 | 50324.2997 | 5 | 64
3086 | 2024-07-15 16:51 | 0.33452 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9319 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 28.001 | 23553.9715 | 50303.1512 | 5 | 64
3087 | 2024-07-15 16:51 | 0.35139 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9455 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.994 | 23582.765 | 50317.0107 | 5 | 64
3088 | 2024-07-15 16:51 | 0.36826 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9494 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.992 | 23565.1709 | 50309.5634 | 5 | 64
3089 | 2024-07-15 16:51 | 0.38432 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9885 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.972 | 23539.7341 | 50310.2021 | 5 | 64
3090 | 2024-07-15 16:51 | 0.40122 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9631 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.985 | 23537.5706 | 50312.2915 | 5 | 64
3091 | 2024-07-15 16:51 | 0.4181 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9533 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.99 | 23525.9837 | 50306.2858 | 5 | 64
3092 | 2024-07-15 16:51 | 0.43493 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9514 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.991 | 23510.8543 | 50309.8113 | 5 | 64
3093 | 2024-07-15 16:51 | 0.45095 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9494 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.992 | 23549.9656 | 50308.6742 | 5 | 64
3094 | 2024-07-15 16:51 | 0.46779 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9748 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 23533.3841 | 50307.4638 | 5 | 64
3095 | 2024-07-15 16:51 | 0.48468 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9592 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.987 | 23464.652 | 50308.5357 | 5 | 64
3096 | 2024-07-15 16:51 | 0.50154 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9709 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.981 | 23488.8321 | 50302.444 | 5 | 64
3097 | 2024-07-15 16:51 | 0.51839 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9826 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.975 | 23490.7264 | 50305.8418 | 5 | 64
3098 | 2024-07-15 16:51 | 0.53439 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0017 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.976 | 23476.307 | 50309.9497 | 5 | 64
3099 | 2024-07-15 16:51 | 0.55124 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.035 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.959 | 23509.3156 | 50313.8034 | 5 | 64
3100 | 2024-07-15 16:51 | 0.5681 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0017 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.976 | 23528.3426 | 50311.462 | 5 | 64
3101 | 2024-07-15 16:51 | 0.58494 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0095 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.972 | 23523.8694 | 50308.5656 | 5 | 64
3102 | 2024-07-15 16:51 | 0.60095 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0017 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.976 | 23552.0841 | 50310.4907 | 5 | 64
3103 | 2024-07-15 16:51 | 0.61778 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0193 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 23533.0348 | 50314.9306 | 5 | 64
3104 | 2024-07-15 16:51 | 0.63463 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0291 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.962 | 23515.5989 | 50297.1004 | 5 | 64
3105 | 2024-07-15 16:51 | 0.65147 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9919 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.981 | 23493.9981 | 50314.7298 | 5 | 64
3106 | 2024-07-15 16:51 | 0.66833 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.6588 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.153 | 23709.3525 | 50307.1132 | 5 | 64
3107 | 2024-07-15 16:51 | 0.68435 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 14.4707 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 32.123 | 28142.7154 | 50310.1532 | 5 | 64
3108 | 2024-07-15 16:51 | 0.70114 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 10.6211 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 35.717 | 32055.625 | 50298.4799 | 5 | 64
3109 | 2024-07-15 16:51 | 0.718 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.7801 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 37.937 | 34483.1928 | 50307.2193 | 5 | 64
3110 | 2024-07-15 16:51 | 0.73479 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.8938 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 39.164 | 35756.2255 | 50310.0289 | 5 | 64
3111 | 2024-07-15 16:51 | 0.75164 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.4665 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 39.799 | 36407.2397 | 50311.4517 | 5 | 64
3112 | 2024-07-15 16:51 | 0.7677 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.2721 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.098 | 36713.1224 | 50311.1574 | 5 | 64
3113 | 2024-07-15 16:51 | 0.78465 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1672 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.262 | 36831.7733 | 50315.3318 | 5 | 64
3114 | 2024-07-15 16:51 | 0.80158 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1266 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.326 | 36886.1408 | 50311.0766 | 5 | 64
3115 | 2024-07-15 16:51 | 0.81762 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1001 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.368 | 36921.7504 | 50312.8556 | 5 | 64
3116 | 2024-07-15 16:51 | 0.83444 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0913 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.382 | 36962.5229 | 50313.0839 | 5 | 64
3117 | 2024-07-15 16:51 | 0.85128 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0755 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.407 | 36968.958 | 50308.1302 | 5 | 64
3118 | 2024-07-15 16:51 | 0.86812 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0844 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.393 | 36938.0377 | 50309.5367 | 5 | 64
3119 | 2024-07-15 16:51 | 0.88494 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0869 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.389 | 36950.7123 | 50304.694 | 5 | 64
3120 | 2024-07-15 16:51 | 0.90097 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0875 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.388 | 36979.618 | 50317.654 | 5 | 64
3121 | 2024-07-15 16:51 | 0.91784 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.08 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.4 | 36949.0168 | 50308.7692 | 5 | 64
3122 | 2024-07-15 16:51 | 0.93473 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0894 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.385 | 36953.7838 | 50303.9286 | 5 | 64
3123 | 2024-07-15 16:51 | 0.95156 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0831 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.395 | 36946.8231 | 50310.4165 | 5 | 64
3124 | 2024-07-15 16:51 | 0.96842 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0793 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.401 | 36927.3393 | 50306.4703 | 5 | 64
3125 | 2024-07-15 16:51 | 0.98442 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0869 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.389 | 36923.9092 | 50307.9377 | 5 | 64
3126 | 2024-07-15 16:51 | 1.0013 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.071 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.403 | 36904.4401 | 50306.1052 | 5 | 64
3127 | 2024-07-15 16:51 | 1.0181 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0798 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.389 | 36930.1097 | 50318.0008 | 5 | 64
3128 | 2024-07-15 16:51 | 1.035 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0785 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.391 | 36973.8308 | 50315.1836 | 5 | 64
3129 | 2024-07-15 16:51 | 1.051 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0911 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.371 | 36941.9536 | 50305.2148 | 5 | 64
3130 | 2024-07-15 16:51 | 1.0678 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0892 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.374 | 36973.4219 | 50296.3664 | 5 | 64
3131 | 2024-07-15 16:51 | 1.0847 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0848 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.381 | 36947.8693 | 50311.0951 | 5 | 64
3132 | 2024-07-15 16:51 | 1.1016 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0785 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.391 | 36973.0725 | 50301.3643 | 5 | 64
3133 | 2024-07-15 16:51 | 1.1176 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0867 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.378 | 36908.7327 | 50310.6266 | 5 | 64
3134 | 2024-07-15 16:51 | 1.1345 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0892 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.374 | 36894.6783 | 50303.0977 | 5 | 64
3135 | 2024-07-15 16:51 | 1.1513 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0886 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.375 | 36933.2406 | 50305.5501 | 5 | 64
3136 | 2024-07-15 16:51 | 1.1681 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.088 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.376 | 36881.6699 | 50310.5444 | 5 | 64
3137 | 2024-07-15 16:51 | 1.185 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0899 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.373 | 36876.3798 | 50302.0282 | 5 | 64
3138 | 2024-07-15 16:51 | 1.201 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0911 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.371 | 36865.3575 | 50306.7452 | 5 | 64
3139 | 2024-07-15 16:51 | 1.2178 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0911 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.371 | 36862.9374 | 50306.7142 | 5 | 64
3140 | 2024-07-15 16:51 | 1.2346 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1033 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.363 | 36883.5803 | 50310.1905 | 5 | 64
3141 | 2024-07-15 16:51 | 1.2515 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1052 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.36 | 36873.7828 | 50306.8955 | 5 | 64
3142 | 2024-07-15 16:51 | 1.2683 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1064 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.358 | 36893.6742 | 50303.457 | 5 | 64
3143 | 2024-07-15 16:51 | 1.2843 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.102 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.365 | 36878.8857 | 50312.4873 | 5 | 64
3144 | 2024-07-15 16:51 | 1.3011 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0951 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.376 | 36898.7179 | 50296.2413 | 5 | 64
3145 | 2024-07-15 16:51 | 1.318 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1039 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.362 | 36898.5058 | 50315.7032 | 5 | 64
3146 | 2024-07-15 16:52 | 1.3348 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.2907 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.069 | 36593.8223 | 50304.1861 | 5 | 64
3147 | 2024-07-15 16:52 | 1.3517 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 13.4147 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 32.996 | 29089.4346 | 50310.8999 | 5 | 64
3148 | 2024-07-15 16:52 | 1.3677 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 17.3315 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 30.08 | 25825.6533 | 50307.5339 | 5 | 64
3149 | 2024-07-15 16:52 | 1.3846 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.3627 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.856 | 24439.724 | 50300.9455 | 5 | 64
3150 | 2024-07-15 16:52 | 1.4014 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.2684 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.359 | 23796.9631 | 50300.415 | 5 | 64
3151 | 2024-07-15 16:52 | 1.4182 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.7222 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.12 | 23552.8174 | 50307.0698 | 5 | 64
3152 | 2024-07-15 16:52 | 1.4343 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9509 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.002 | 23444.5683 | 50295.3348 | 5 | 64
3153 | 2024-07-15 16:52 | 1.4511 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0944 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.918 | 23345.8097 | 50301.3137 | 5 | 64
3154 | 2024-07-15 16:52 | 1.4679 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1338 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.898 | 23307.3205 | 50302.659 | 5 | 64
3155 | 2024-07-15 16:52 | 1.4848 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1516 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.889 | 23298.9864 | 50310.2752 | 5 | 64
3156 | 2024-07-15 16:52 | 1.5016 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1674 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.881 | 23292.7041 | 50306.7062 | 5 | 64
3157 | 2024-07-15 16:52 | 1.5176 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1694 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.88 | 23278.2445 | 50290.0764 | 5 | 64
3158 | 2024-07-15 16:52 | 1.5344 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1378 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.896 | 23251.9991 | 50293.2566 | 5 | 64
3159 | 2024-07-15 16:52 | 1.5512 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1536 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.888 | 23276.2702 | 50298.4717 | 5 | 64
3160 | 2024-07-15 16:52 | 1.5681 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.201 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.864 | 23269.1444 | 50309.1048 | 5 | 64
3161 | 2024-07-15 16:52 | 1.5849 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1733 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.878 | 23236.4638 | 50294.172 | 5 | 64
3162 | 2024-07-15 16:52 | 1.6009 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1674 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.881 | 23254.6691 | 50304.0929 | 5 | 64
3163 | 2024-07-15 16:52 | 1.6177 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1753 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.877 | 23246.7597 | 50309.2951 | 5 | 64
3164 | 2024-07-15 16:52 | 1.6346 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.205 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.862 | 23251.7025 | 50300.2049 | 5 | 64
3165 | 2024-07-15 16:52 | 1.6514 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1654 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.882 | 23330.1073 | 50304.1258 | 5 | 64
3166 | 2024-07-15 16:52 | 1.6682 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1885 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.881 | 23275.3758 | 50305.169 | 5 | 64
3167 | 2024-07-15 16:52 | 1.6851 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2103 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.87 | 23302.2995 | 50306.4264 | 5 | 64
3168 | 2024-07-15 16:52 | 1.7011 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1516 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.889 | 23280.4845 | 50302.3892 | 5 | 64
3169 | 2024-07-15 16:52 | 1.7179 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2149 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.857 | 23262.8476 | 50299.7528 | 5 | 64
3170 | 2024-07-15 16:52 | 1.7347 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.201 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.864 | 23271.4886 | 50303.6669 | 5 | 64
3171 | 2024-07-15 16:52 | 1.7516 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1891 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.87 | 23265.1403 | 50302.8501 | 5 | 64
3172 | 2024-07-15 16:52 | 1.7676 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.1911 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.869 | 23277.6391 | 50304.0555 | 5 | 64
3173 | 2024-07-15 16:52 | 1.7844 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2367 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.846 | 23274.8592 | 50309.2433 | 5 | 64
3174 | 2024-07-15 16:52 | 1.8013 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2268 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.851 | 23268.9353 | 50305.1797 | 5 | 64
3175 | 2024-07-15 16:52 | 1.8181 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.203 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.863 | 23242.4733 | 50301.2186 | 5 | 64
3176 | 2024-07-15 16:52 | 1.835 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2466 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.841 | 23231.3967 | 50312.7208 | 5 | 64
3177 | 2024-07-15 16:52 | 1.8509 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2109 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 27.859 | 23232.2469 | 50294.5533 | 5 | 64
3178 | 2024-07-15 16:52 | 1.8678 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2242 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.863 | 23234.2421 | 50307.531 | 5 | 64
3179 | 2024-07-15 16:52 | 1.8846 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2321 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.859 | 23228.5655 | 50298.8955 | 5 | 64
3180 | 2024-07-15 16:52 | 1.9015 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2559 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.847 | 23226.4793 | 50301.304 | 5 | 64
3181 | 2024-07-15 16:52 | 1.9183 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.248 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.851 | 23219.2066 | 50309.0987 | 5 | 64
3182 | 2024-07-15 16:52 | 1.9343 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2361 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.857 | 23197.6761 | 50305.9565 | 5 | 64
3183 | 2024-07-15 16:52 | 1.9512 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2321 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.859 | 23198.6141 | 50300.3333 | 5 | 64
3184 | 2024-07-15 16:52 | 1.968 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2083 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.871 | 23190.4637 | 50307.8166 | 5 | 64
3185 | 2024-07-15 16:52 | 1.9849 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.242 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.854 | 23186.4386 | 50308.874 | 5 | 64
3186 | 2024-07-15 16:52 | 2.0009 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2103 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.87 | 23194.4907 | 50308.9143 | 5 | 64
3187 | 2024-07-15 16:52 | 2.0177 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.2282 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.861 | 23216.3142 | 50299.0171 | 5 | 64