## Devices
Name | Type | Serial | FW-Version | Channels
SACJ0003000365 | OXY-1 SMA | SACJ0003000365 | ADP1.0.0.12 | 1

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
POF w/ SS 7% | O2 | 208523316 | PSt3 | 000000-000 | 0000-00 | 2024-04-24 16:18

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | 59 | 21 | °C | 40.494 | 21 | °C | 0.99 | atm | 7 | %O2 | Dry | 0.808 | 29.87 | 0.000433 | 0 | -0.0803 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 3.0.3.1703
Exported at | 2024-07-15 16:58

## SACJ0003000365, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Error Code | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3188 | 2024-07-15 16:56 | 0 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0036 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.975 | 21990.999 | 50292.3455 | 5 | 64
3189 | 2024-07-15 16:56 | 0.019384 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0369 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.958 | 21957.1157 | 50305.9152 | 5 | 64
3190 | 2024-07-15 16:56 | 0.036201 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0507 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 21978.5757 | 50309.9568 | 5 | 64
3191 | 2024-07-15 16:56 | 0.053051 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0605 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.946 | 21971.9833 | 50309.8109 | 5 | 64
3192 | 2024-07-15 16:56 | 0.069078 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0507 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 21988.3384 | 50300.9982 | 5 | 64
3193 | 2024-07-15 16:56 | 0.085892 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0095 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.972 | 21988.2146 | 50312.4881 | 5 | 64
3194 | 2024-07-15 16:56 | 0.10274 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0389 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.957 | 21956.6472 | 50305.6304 | 5 | 64
3195 | 2024-07-15 16:56 | 0.11955 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0212 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.966 | 21966.1626 | 50297.5271 | 5 | 64
3196 | 2024-07-15 16:56 | 0.1364 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0173 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.968 | 21952.3396 | 50301.3289 | 5 | 64
3197 | 2024-07-15 16:56 | 0.1524 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.033 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 21942.2305 | 50307.997 | 5 | 64
3198 | 2024-07-15 16:56 | 0.16921 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0467 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.953 | 21983.43 | 50306.1087 | 5 | 64
3199 | 2024-07-15 16:56 | 0.18603 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0154 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.969 | 21994.9556 | 50316.9616 | 5 | 64
3200 | 2024-07-15 16:56 | 0.20286 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0546 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.949 | 21980.071 | 50308.5971 | 5 | 64
3201 | 2024-07-15 16:56 | 0.21966 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0291 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.962 | 21969.9959 | 50302.5349 | 5 | 64
3202 | 2024-07-15 16:56 | 0.23564 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0173 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.968 | 21984.6435 | 50302.3339 | 5 | 64
3203 | 2024-07-15 16:56 | 0.25247 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0291 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.962 | 21956.7288 | 50308.1626 | 5 | 64
3204 | 2024-07-15 16:56 | 0.26933 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9958 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 21970.6721 | 50301.8347 | 5 | 64
3205 | 2024-07-15 16:56 | 0.28615 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0252 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.964 | 21990.1379 | 50303.2816 | 5 | 64
3206 | 2024-07-15 16:56 | 0.30298 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0369 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.958 | 21966.7858 | 50292.3965 | 5 | 64
3207 | 2024-07-15 16:56 | 0.31899 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.033 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 21978.3659 | 50307.8251 | 5 | 64
3208 | 2024-07-15 16:56 | 0.33581 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0428 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.955 | 21973.8786 | 50297.3996 | 5 | 64
3209 | 2024-07-15 16:56 | 0.35261 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0565 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.948 | 21984.8884 | 50295.2064 | 5 | 64
3210 | 2024-07-15 16:56 | 0.36942 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0291 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.962 | 21950.4165 | 50298.6805 | 5 | 64
3211 | 2024-07-15 16:56 | 0.38627 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0428 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.955 | 21955.1003 | 50293.6599 | 5 | 64
3212 | 2024-07-15 16:56 | 0.40229 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9958 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.979 | 21959.3093 | 50298.6815 | 5 | 64
3213 | 2024-07-15 16:56 | 0.41916 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.031 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.961 | 21948.1859 | 50289.7741 | 5 | 64
3214 | 2024-07-15 16:56 | 0.43604 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0193 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.967 | 21965.7502 | 50291.1888 | 5 | 64
3215 | 2024-07-15 16:56 | 0.45291 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0369 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.958 | 21934.9435 | 50279.7796 | 5 | 64
3216 | 2024-07-15 16:56 | 0.46892 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0271 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.963 | 21898.9746 | 50301.6268 | 5 | 64
3217 | 2024-07-15 16:56 | 0.48576 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.031 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.961 | 21923.7437 | 50294.3055 | 5 | 64
3218 | 2024-07-15 16:56 | 0.5026 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.031 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.961 | 21917.4739 | 50297.3719 | 5 | 64
3219 | 2024-07-15 16:56 | 0.51942 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0154 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.969 | 21882.0213 | 50295.84 | 5 | 64
3220 | 2024-07-15 16:56 | 0.53623 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0644 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.944 | 21918.3704 | 50297.6433 | 5 | 64
3221 | 2024-07-15 16:56 | 0.55226 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0448 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 21906.4001 | 50292.5233 | 5 | 64
3222 | 2024-07-15 16:57 | 0.5691 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0408 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.956 | 21880.4634 | 50297.8461 | 5 | 64
3223 | 2024-07-15 16:57 | 0.58595 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0291 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.962 | 21922.5186 | 50290.8877 | 5 | 64
3224 | 2024-07-15 16:57 | 0.60281 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0526 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.95 | 21892.6658 | 50294.2169 | 5 | 64
3225 | 2024-07-15 16:57 | 0.61968 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0232 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.965 | 21865.2539 | 50297.1565 | 5 | 64
3226 | 2024-07-15 16:57 | 0.63569 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0448 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 21889.0847 | 50296.8373 | 5 | 64
3227 | 2024-07-15 16:57 | 0.65255 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0487 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.952 | 21878.1192 | 50295.0732 | 5 | 64
3228 | 2024-07-15 16:57 | 0.66937 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.7955 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.082 | 22021.2974 | 50297.4461 | 5 | 64
3229 | 2024-07-15 16:57 | 0.68622 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 14.3352 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 32.231 | 26317.8012 | 50293.4751 | 5 | 64
3230 | 2024-07-15 16:57 | 0.70303 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 10.5568 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 35.788 | 29975.427 | 50293.7267 | 5 | 64
3231 | 2024-07-15 16:57 | 0.71906 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 8.7998 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 37.911 | 32150.5292 | 50289.8486 | 5 | 64
3232 | 2024-07-15 16:57 | 0.73589 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.8883 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 39.172 | 33317.4963 | 50290.5933 | 5 | 64
3233 | 2024-07-15 16:57 | 0.75276 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.4704 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 39.793 | 33919.858 | 50296.1303 | 5 | 64
3234 | 2024-07-15 16:57 | 0.76965 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.2618 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.114 | 34245.5301 | 50289.0545 | 5 | 64
3235 | 2024-07-15 16:57 | 0.78576 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.159 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.275 | 34368.7975 | 50291.4948 | 5 | 64
3236 | 2024-07-15 16:57 | 0.80271 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1203 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.336 | 34449.2066 | 50288.887 | 5 | 64
3237 | 2024-07-15 16:57 | 0.81967 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0957 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.375 | 34491.5102 | 50296.0572 | 5 | 64
3238 | 2024-07-15 16:57 | 0.83577 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0711 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.414 | 34497.5838 | 50297.8945 | 5 | 64
3239 | 2024-07-15 16:57 | 0.85272 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0686 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.418 | 34527.3693 | 50291.955 | 5 | 64
3240 | 2024-07-15 16:57 | 0.86967 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0793 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.401 | 34504.9638 | 50288.1249 | 5 | 64
3241 | 2024-07-15 16:57 | 0.88578 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0642 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.425 | 34523.3313 | 50293.7617 | 5 | 64
3242 | 2024-07-15 16:57 | 0.90273 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0711 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.414 | 34544.5267 | 50292.7268 | 5 | 64
3243 | 2024-07-15 16:57 | 0.91962 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0686 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.418 | 34523.7242 | 50286.0313 | 5 | 64
3244 | 2024-07-15 16:57 | 0.9356 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0774 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.404 | 34520.4309 | 50289.3708 | 5 | 64
3245 | 2024-07-15 16:57 | 0.95242 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0711 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.414 | 34565.6776 | 50293.6671 | 5 | 64
3246 | 2024-07-15 16:57 | 0.96924 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0699 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.416 | 34537.16 | 50290.9087 | 5 | 64
3247 | 2024-07-15 16:57 | 0.9861 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0699 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.416 | 34506.8011 | 50298.0417 | 5 | 64
3248 | 2024-07-15 16:57 | 1.003 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0749 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.408 | 34563.9398 | 50296.1623 | 5 | 64
3249 | 2024-07-15 16:57 | 1.0191 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0749 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.408 | 34504.7651 | 50302.5018 | 5 | 64
3250 | 2024-07-15 16:57 | 1.036 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.058 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.435 | 34500.1696 | 50288.5937 | 5 | 64
3251 | 2024-07-15 16:57 | 1.0528 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0705 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.415 | 34524.7886 | 50292.7776 | 5 | 64
3252 | 2024-07-15 16:57 | 1.0696 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0592 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.433 | 34520.9423 | 50299.556 | 5 | 64
3253 | 2024-07-15 16:57 | 1.0857 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0655 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.423 | 34491.9692 | 50296.726 | 5 | 64
3254 | 2024-07-15 16:57 | 1.1025 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0642 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.425 | 34576.9611 | 50293.5245 | 5 | 64
3255 | 2024-07-15 16:57 | 1.1193 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0617 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.429 | 34506.577 | 50286.4538 | 5 | 64
3256 | 2024-07-15 16:57 | 1.1362 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0624 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.428 | 34549.8409 | 50285.0902 | 5 | 64
3257 | 2024-07-15 16:57 | 1.153 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0567 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.437 | 34561.0986 | 50291.0646 | 5 | 64
3258 | 2024-07-15 16:57 | 1.169 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0661 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.422 | 34512.31 | 50293.933 | 5 | 64
3259 | 2024-07-15 16:57 | 1.1858 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0655 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.423 | 34533.3344 | 50293.7338 | 5 | 64
3260 | 2024-07-15 16:57 | 1.2027 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0768 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.405 | 34557.4856 | 50301.6456 | 5 | 64
3261 | 2024-07-15 16:57 | 1.2195 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0636 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.426 | 34509.3773 | 50303.9469 | 5 | 64
3262 | 2024-07-15 16:57 | 1.2364 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0743 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 40.409 | 34544.9263 | 50288.145 | 5 | 64
3263 | 2024-07-15 16:57 | 1.2524 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0584 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.423 | 34512.109 | 50298.4108 | 5 | 64
3264 | 2024-07-15 16:57 | 1.2692 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0566 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.426 | 34511.9693 | 50291.2695 | 5 | 64
3265 | 2024-07-15 16:57 | 1.286 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0584 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.423 | 34528.2524 | 50289.1647 | 5 | 64
3266 | 2024-07-15 16:57 | 1.3029 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0528 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.432 | 34485.277 | 50286.3853 | 5 | 64
3267 | 2024-07-15 16:57 | 1.3197 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.0591 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.422 | 34466.7327 | 50287.3624 | 5 | 64
3268 | 2024-07-15 16:57 | 1.3357 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 7.1893 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 40.216 | 34304.931 | 50285.7959 | 5 | 64
3269 | 2024-07-15 16:57 | 1.3525 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 13.1785 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 33.19 | 27368.2117 | 50291.7607 | 5 | 64
3270 | 2024-07-15 16:57 | 1.3694 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 17.2879 | %O2 | 21 | °C | 0.988 | atm | Dry | 0 | 0 |  | 0 | 30.097 | 24127.456 | 50290.556 | 5 | 64
3271 | 2024-07-15 16:57 | 1.3863 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 19.2796 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.903 | 22861.6219 | 50287.2424 | 5 | 64
3272 | 2024-07-15 16:57 | 1.4022 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.1657 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.414 | 22307.3055 | 50291.6617 | 5 | 64
3273 | 2024-07-15 16:57 | 1.4191 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.6263 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.17 | 22027.0061 | 50281.3575 | 5 | 64
3274 | 2024-07-15 16:57 | 1.436 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.8517 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.053 | 21936.9547 | 50290.7981 | 5 | 64
3275 | 2024-07-15 16:57 | 1.4528 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9197 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 28.018 | 21868.1533 | 50290.9191 | 5 | 64
3276 | 2024-07-15 16:57 | 1.4696 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 20.9978 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.978 | 21808.227 | 50291.4901 | 5 | 64
3277 | 2024-07-15 16:57 | 1.4856 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.033 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 21798.8906 | 50281.2005 | 5 | 64
3278 | 2024-07-15 16:57 | 1.5025 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0115 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.971 | 21809.831 | 50285.8355 | 5 | 64
3279 | 2024-07-15 16:57 | 1.5193 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0546 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.949 | 21775.168 | 50293.0041 | 5 | 64
3280 | 2024-07-15 16:57 | 1.5361 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0448 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 21788.5979 | 50292.8559 | 5 | 64
3281 | 2024-07-15 16:57 | 1.553 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.033 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.96 | 21765.0431 | 50280.1478 | 5 | 64
3282 | 2024-07-15 16:58 | 1.5689 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0624 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.945 | 21756.1582 | 50282.1642 | 5 | 64
3283 | 2024-07-15 16:58 | 1.5858 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0252 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.964 | 21761.8002 | 50281.5279 | 5 | 64
3284 | 2024-07-15 16:58 | 1.6026 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0467 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.953 | 21758.0815 | 50283.773 | 5 | 64
3285 | 2024-07-15 16:58 | 1.6195 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0232 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.965 | 21792.2504 | 50289.133 | 5 | 64
3286 | 2024-07-15 16:58 | 1.6363 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0939 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.929 | 21778.0833 | 50294.7064 | 5 | 64
3287 | 2024-07-15 16:58 | 1.6523 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0389 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.957 | 21749.6135 | 50292.7776 | 5 | 64
3288 | 2024-07-15 16:58 | 1.6691 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0271 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.963 | 21784.5549 | 50291.5798 | 5 | 64
3289 | 2024-07-15 16:58 | 1.686 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0389 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.957 | 21807.755 | 50290.1169 | 5 | 64
3290 | 2024-07-15 16:58 | 1.7028 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0821 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.935 | 21775.5262 | 50287.9155 | 5 | 64
3291 | 2024-07-15 16:58 | 1.7196 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0232 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.965 | 21800.8626 | 50290.7436 | 5 | 64
3292 | 2024-07-15 16:58 | 1.7356 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0036 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.975 | 21824.6771 | 50286.291 | 5 | 64
3293 | 2024-07-15 16:58 | 1.7525 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0605 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.946 | 21833.8533 | 50288.1657 | 5 | 64
3294 | 2024-07-15 16:58 | 1.7693 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0271 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.963 | 21851.2732 | 50292.7437 | 5 | 64
3295 | 2024-07-15 16:58 | 1.7862 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0526 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.95 | 21863.3347 | 50286.6688 | 5 | 64
3296 | 2024-07-15 16:58 | 1.803 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0507 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 21845.1496 | 50278.9438 | 5 | 64
3297 | 2024-07-15 16:58 | 1.819 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0624 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.945 | 21842.5418 | 50290.8744 | 5 | 64
3298 | 2024-07-15 16:58 | 1.8359 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0507 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 21824.7122 | 50278.5697 | 5 | 64
3299 | 2024-07-15 16:58 | 1.8527 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0291 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.962 | 21806.6788 | 50290.9813 | 5 | 64
3300 | 2024-07-15 16:58 | 1.8696 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0271 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.963 | 21809.0135 | 50285.8423 | 5 | 64
3301 | 2024-07-15 16:58 | 1.8864 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0722 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.94 | 21806.7015 | 50290.2652 | 5 | 64
3302 | 2024-07-15 16:58 | 1.9024 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0683 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.942 | 21779.3407 | 50281.7293 | 5 | 64
3303 | 2024-07-15 16:58 | 1.9192 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0507 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.951 | 21808.6815 | 50291.1858 | 5 | 64
3304 | 2024-07-15 16:58 | 1.9361 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0252 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.964 | 21813.6058 | 50284.2676 | 5 | 64
3305 | 2024-07-15 16:58 | 1.9529 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0448 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.954 | 21791.3443 | 50281.0093 | 5 | 64
3306 | 2024-07-15 16:58 | 1.9697 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0526 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.95 | 21807.7583 | 50292.3763 | 5 | 64
3307 | 2024-07-15 16:58 | 1.9857 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0526 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.95 | 21799.2842 | 50277.0071 | 5 | 64
3308 | 2024-07-15 16:58 | 2.0026 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0408 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.956 | 21818.4721 | 50281.8293 | 5 | 64
3309 | 2024-07-15 16:58 | 2.0195 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0017 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.976 | 21813.7814 | 50286.9142 | 5 | 64
3310 | 2024-07-15 16:58 | 2.0363 | POF w/ SS 7% (PSt3) | 2024-04-24 16:19 | default | 21.0017 | %O2 | 21 | °C | 0.987 | atm | Dry | 0 | 0 |  | 0 | 27.976 | 21757.382 | 50281.0074 | 5 | 64